## O'Brien 2023
METROPOLITAN WATER RECLAMATION DISTRICT OF GREATER CHICAGO
TABLE A
MONITORING OF ORGANIC PRIORITY POLLUTANTS IN O'BRIEN WRP SAMPLES (µg/L, ppb)
LAB ID: 23-088, 23-089 & 23-090 LIMS ID: 9295457-1, 9295464-1, 9295523-1
DATE SAMPLED: February 21, 2023
|  | Reporting |  |  | Waste
|  | Limit |  | Raw | Activated
| Compound | µg/L (ppb) | Effluent | Sewage | Sludge #,*,**
|  |  | 9295457-1 | 9295464-1 | 9295523-1
PURGEABLES
1 | Acrolein | 50 | -- | -- | --
2 | Acrylonitrile | 10 | -- | -- | --
3 | Benzene | 2 | -- | -- | --
4 | Bromoform | 5 | -- | -- | --
5 | Carbon tetrachloride | 5 | -- | -- | --
6 | Chlorobenzene | 5 | -- | -- | --
7 | Chlorodibromomethane | 2 | -- | -- | --
8 | Chloroethane | 5 | -- | -- | --
9 | 2-Chloroethylvinyl ether | 5 | -- | -- | --
10 | Chloroform | 2 | -- | -- | --
11 | 1,2-Dichlorobenzene | 5 | -- | -- | --
12 | 1,3-Dichlorobenzene | 5 | -- | -- | --
13 | 1,4-Dichlorobenzene | 5 | -- | -- | --
14 | Dichlorobromomethane | 2 | -- | -- | --
15 | 1,1-Dichloroethane | 5 | -- | -- | --
16 | 1,2-Dichloroethane | 5 | -- | -- | --
17 | 1,1-Dichloroethylene | 5 | -- | -- | --
18 | 1,2-Dichloropropane | 5 | -- | -- | --
19 | 1,3-Dichloropropene | 5 | -- | -- | --
20 | Ethyl benzene | 2 | -- | -- | --
21 | Methyl bromide | 5 | -- | -- | --
22 | Methyl chloride | 5 | -- | -- | --
23 | Methylene chloride | 5 | -- | -- | --
24 | 1,1,2,2-Tetrachloroethane | 5 | -- | -- | --
25 | Tetrachloroethylene | 5 | -- | -- | --
26 | Toluene | 2 | -- | -- | --
27 | 1,2-trans-Dichloroethylene | 5 | -- | -- | --
28 | 1,1,1-Trichloroethane | 5 | -- | -- | --
29 | 1,1,2-Trichloroethane | 5 | -- | -- | --
30 | Trichloroethylene | 5 | -- | -- | --
31 | Trichlorofluoromethane | 5 | -- | -- | --
32 | Vinyl chloride | 5 | -- | -- | --
ACID EXTRACTABLES
1 | 2-Chlorophenol | 10 | -- | -- | --
2 | 2,4-Dichlorophenol | 5 | -- | -- | --
3 | 2,4-Dimethylphenol | 10 | -- | -- | --
4 | 4,6-Dinitro-o-cresol | 25 | -- | -- | --
5 | 2,4-Dinitrophenol | 40 | -- | -- | --
6 | 2-Nitrophenol | 10 | -- | -- | --
7 | 4-Nitrophenol | 20 | -- | -- | --
8 | p-Chloro-m-cresol | 5 | -- | -- | --
9 | Pentachlorophenol | 30 | -- | -- | --
10 | Phenol | 5 | -- | -- | --
11 | 2,4,6-Trichlorophenol | 10 | -- | -- | --
BASE/NEUTRAL EXTRACTABLES
1 | Acenaphthene | 5 | -- | -- | --
2 | Acenaphthylene | 5 | -- | -- | --
3 | Anthracene | 5 | -- | -- | --
4 | Benzidine | 25 | -- | -- | --
5 | Benzo(a)anthracene | 5 | -- | -- | --
6 | Benzo(a)pyrene | 5 | -- | -- | --
7 | 3,4-Benzofluoranthene | 5 | -- | -- | 26.8
8 | Benzo(ghi)perylene | 5 | -- | -- | --
9 | Benzo(k)fluoranthene | 5 | -- | -- | --
10 | Bis(2-chloroethoxy)methane | 10 | -- | -- | --
11 | Bis(2-chloroethyl)ether | 10 | -- | -- | --
12 | Bis(2-chloro-iso-propyl)ether | 10 | -- | -- | --
13 | Bis(2-ethylhexyl)phthalate | 15 | -- | -- | 151
14 | 4-Bromophenyl phenyl ether | 5 | -- | -- | --
15 | Butyl-benzyl phthalate | 10 | -- | -- | --
16 | 2-Chloronaphthalene | 5 | -- | -- | --
17 | 4-Chlorophenyl phenyl ether | 5 | -- | -- | --
18 | Chrysene | 5 | -- | -- | --
19 | Dibenzo(a,h)anthracene | 5 | -- | -- | --
20 | 3,3'-Dichlorobenzidine | 15 | -- | -- | --
21 | Diethyl phthalate | 10 | -- | -- | --
22 | Dimethyl phthalate | 5 | -- | -- | --
23 | Di-n-butyl phthalate | 5 | -- | -- | --
24 | 2,4-Dinitrotoluene | 5 | -- | -- | --
25 | 2,6-Dinitrotoluene | 5 | -- | -- | --
26 | Di-n-octyl phthalate | 10 | -- | -- | --
| 1,2-Diphenylhydrazine | 5 | -- | -- | --
27 | Fluoranthene | 5 | -- | -- | --
28 | Fluorene | 5 | -- | -- | --
29 | Hexachlorobenzene | 5 | -- | -- | --
30 | Hexachlorobutadiene | 5 | -- | -- | --
31 | Hexachlorocyclopentadiene | 30 | -- | -- | --
32 | Hexachloroethane | 10 | -- | -- | --
33 | Indeno(1,2,3-cd)pyrene | 5 | -- | -- | 29.3
34 | Isophorone | 10 | -- | -- | --
35 | Naphthalene | 5 | -- | -- | --
36 | Nitrobenzene | 10 | -- | -- | --
37 | N-Nitrosodimethylamine | 5 | -- | -- | --
38 | N-Nitrosodi-n-propylamine | 10 | -- | -- | --
39 | N-Nitrosodiphenylamine | 5 | -- | -- | --
40 | Phenanthrene | 5 | -- | -- | --
41 | Pyrene | 5 | -- | -- | --
42 | 1,2,4-Trichlorobenzene | 5 | -- | -- | --
PESTICIDES & PCBs
1 | Aldrin | 0.05 | -- | -- | --
2 | a-BHC-alpha | 0.05 | -- | -- | --
3 | b-BHC-beta | 0.07 | -- | -- | --
4 | BHC-gamma | 0.05 | -- | -- | --
5 | BHC-delta | 0.05 | -- | -- | --
6 | Chlordane | 0.5 | -- | -- | --
7 | 4,4'-DDT | 0.05 | -- | -- | --
8 | 4,4'-DDE | 0.05 | -- | -- | --
9 | 4,4'-DDD | 0.05 | -- | -- | --
10 | Dieldrin | 0.05 | -- | -- | --
11 | a-Endosulfan-alpha | 0.05 | -- | -- | --
12 | b-Endosulfan-beta | 0.05 | -- | -- | --
13 | Endosulfan sulfate | 0.05 | -- | -- | --
14 | Endrin | 0.05 | -- | -- | --
15 | Endrin aldehyde | 0.05 | -- | -- | --
16 | Heptachlor | 0.07 | -- | -- | --
17 | Heptachlor epoxide | 0.05 | -- | -- | --
18 | PCB-1242 | 0.8 | -- | -- | --
19 | PCB-1254 | 0.8 | -- | -- | --
20 | PCB-1221 | 0.8 | -- | -- | --
21 | PCB-1232 | 0.8 | -- | -- | --
22 | PCB-1248 | 0.8 | -- | -- | --
23 | PCB-1260 | 0.8 | -- | -- | --
24 | PCB-1016 | 0.8 | -- | -- | --
| (Total PCB) | 0.8 | -- | -- | --
25 | Toxaphene | 1 | -- | -- | --
# Reporting limits for acids and base/neutrals in the sludge sample are 5 times highter than listed, and
for pesticides and PCBs are 20 times higher than listed.
* | The percent solids for sludge is 1.15 %. The unit for sludge is µg/kg, wet weight.
-- | Not found, below reporting limit.
** One BNA surrogate failed criteria due to matrix effects.