## Design DRC
MWRDGC | [8 empty] | Key: | Notes:
Stormwater Design Retention Capacity (DRC) Calculations | [8 empty] | user input | 1. For questions, please contact MWRD Engineer at GelderM@mwrd.org 2. How "Volume Factor" is assigned for each layer: - If below the invert of a pipe draining the area/underdrain, it is counted at 100% - If no pipe/underdrain in your GI installation, all volume can be considered "below invert" and counted at 100% - If above the invert, it is counted at 50% - For bioretention areas with depressions for ponding, ponding layer is always counted at 100% (with or without an underdrain) 3. Please reference all user-input data using Notes, Reference Column 4. 6-hr infiltrated volume (cf) = infiltration rate (in/hr) * surface area (sf) * 6[hrs]/12[in/ft]. Maximum infiltration rate to be used in this calculation is 3.6 in/hr. 5. Add more Layer rows or Retention Areas as necessary, making sure the Total DRC is calculating correctly.
For Green Infrastructure (GI) | [8 empty] | calculated |  |  | Standard Assumptions:
[12 empty] | Media | Porosity
Project Name: | [11 empty] | CA-1 | 0.41
Project / IGA Number: | [11 empty] | CA-7 | 0.38
Design Stage: | [11 empty] | CA-16/ASTM 8 | 0.28
Total Constructed Volume: |  | 0 | gallons | Runoff Volume Check: | [7 empty] | FA-1 | 0.28
Total Infiltration Volume: |  | 0 | gallons | Please fill in CN & Runoff Volume tab | [7 empty] | Engineered Soil | 0.25
Design DRC: |  | 0 | gallons
Design DRC (Capped): |  | 0 | gallons
Infiltration Volume (Capped): |  | 0
Reimbursement Rates: |  |  | per gallon (Constructed) |  |  | per gallon (Infiltration)
Calculated MWRD Contribution: |  | 0
Construction Cost Estimate: |  | 0
MWRD Max. Cost Share: |  |  | % | MWRD Max. Contribution: |  | TBD
Resulting Potential MWRD Contribution: |  | 0
Engineer's Signature (Final Design only): |  |  |  |  | IL PE License No.:
Retention Area #1 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #2 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #3 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #4 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #5 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Note on A13: MWRDGC: Varies depending on type of project and location
Note on A16: MWRDGC: Varies depending on type of project and location
Note on D23: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D46: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D69: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D92: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D115: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on E23: MWRDGC: See explanation listed in the Notes, above.
Note on E46: MWRDGC: See explanation listed in the Notes, above.
Note on E69: MWRDGC: See explanation listed in the Notes, above.
Note on E92: MWRDGC: See explanation listed in the Notes, above.
Note on E115: MWRDGC: See explanation listed in the Notes, above.

## Final Constructed DRC
MWRDGC | [8 empty] | Key: | Notes:
Stormwater Design Retention Capacity (DRC) Calculations | [8 empty] | user input | 1. For questions, please contact MWRD Engineer at GelderM@mwrd.org 2. How "Volume Factor" is assigned for each layer: - If below the invert of a pipe draining the area/underdrain, it is counted at 100% - If no pipe/underdrain in your GI installation, all volume can be considered "below invert" and counted at 100% - If above the invert, it is counted at 50% - For bioretention areas with depressions for ponding, ponding layer is always counted at 100% (with or without an underdrain) 3. Please reference all user-input data using Notes, Reference Column 4. 6-hr infiltrated volume (cf) = infiltration rate (in/hr) * surface area (sf) * 6[hrs]/12[in/ft]. Maximum infiltration rate to be used in this calculation is 3.6 in/hr. 5. Add more Layer rows or Retention Areas as necessary, making sure the Total DRC is calculating correctly.
For Green Infrastructure (GI) | [8 empty] | calculated |  |  | Standard Assumptions:
[12 empty] | Media | Porosity
Project Name: | [11 empty] | CA-1 | 0.41
Project / IGA Number: | [11 empty] | CA-7 | 0.38
Design Stage: |  | Construction Complete | [9 empty] | CA-16/ASTM 8 | 0.28
Total Constructed Volume: |  | 0 | gallons | Runoff Volume Check: | [7 empty] | FA-1 | 0.28
Total Infiltration Volume: |  | 0 | gallons | Please fill in CN & Runoff Volume tab | [7 empty] | Engineered Soil | 0.25
Final Constructed DRC: |  | 0 | gallons
Constructed DRC (Capped): |  | 0 | gallons
Infiltration Volume (Capped): |  | 0 | gallons
Amount Outside 10% Allowance: |  | Constructed Volume |  | Infiltration Volume
|  | 0 | gallons | 0 | gallons
Calculated MWRD Contribution: |  | 0
Construction Cost Estimate:
MWRD Max. Cost Share: |  |  | % | MWRD Max. Contribution: |  | TBD
Resulting MWRD Contribution: |  | 0
Engineer's Signature: |  |  |  |  | IL PE License No.:
Retention Area #1 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #2 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #3 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #4 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #5 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Note on A17: MWRDGC: Varies depending on type of project and location
Note on D24: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D47: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D70: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D93: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D116: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on E24: MWRDGC: See explanation listed in the Notes, above.
Note on E47: MWRDGC: See explanation listed in the Notes, above.
Note on E70: MWRDGC: See explanation listed in the Notes, above.
Note on E93: MWRDGC: See explanation listed in the Notes, above.
Note on E116: MWRDGC: See explanation listed in the Notes, above.

## CN & Runoff Volume
PROJECT: | [7 empty] | DESIGN STAGE: |  |  |  | ENGINEER'S SIGNATURE |  |  | IL PE LICENSE NO.:
COMPOSITE RUNOFF CURVE NUMBER (CN) | [11 empty] | RUNOFF VOLUME
RUNOFF CURVE NUMBER (LIST ALL SURFACES THAT DRAIN INTO PROPOSED GREEN INFRASTRUCTURE AND ATTACH AN EXHIBIT OUTLINING THE AREAS AND SHOWING HOW THEY DRAIN INTO PROPOSED GI) | [11 empty] | DEVELOPMENT INFORMTION
| Surface Description |  |  | Hydrologic Soil Group (HSG) |  | CN (see options below) |  |  | Area (acres) |  | Product (CN)(Area) |  | 1. | Area, A |  |  | acres
[13 empty] | 2. | Curve Number, CN
[13 empty] | 3. | 10-year, 24-hr Rainfall Depth, P |  | 5.15 | inches
[13 empty] | 4. | 100-year, 24-hr Rainfall Depth, P |  | 8.57 | inches
RUNOFF DEPTH (NRCS RUNOFF EQUATIONS)
[13 empty] | 5. | Maximum Retention, S |  |  | inches
[13 empty] | 6. | 10-Year Runoff Depth, QD10 |  |  | inches
[13 empty] | 6. | 100-Year Runoff Depth, QD100 |  |  | inches
TOTALS: | [11 empty] | RUNOFF VOLUME
COMPOSITE RUNOFF CURVE NUMBER | [12 empty] | 7. | 10-Year Runoff Volume, VR10 |  |  | ac-ft
| Composite CN | = | Total Product |  | = |  | → | Composite CN |  | = | [6 empty] | cf
|  |  | Total Area | [13 empty] | gallons
[13 empty] | 7. | 100-Year Runoff Volume, VR100 |  |  | ac-ft
cf
gallons
𝑆=1000/𝐶𝑁−10
𝑄_𝐷=(𝑃−0.2𝑆)^2/((𝑃+0.8𝑆) )
𝑉_𝑅=𝑄_𝐷 𝐴(1/(12□(64&𝑖𝑛/𝑓𝑡)))
𝑄_𝐷=(𝑃−0.2𝑆)^2/((𝑃+0.8𝑆) )
𝑉_𝑅=𝑄_𝐷 𝐴(1/(12□(64&𝑖𝑛/𝑓𝑡)))

## Example Design DRC
MWRDGC | [8 empty] | Key: | Notes:
Stormwater Design Retention Capacity (DRC) Calculations | [8 empty] | user input | 1. For questions, please contact MWRD Engineer at GelderM@mwrd.org 2. How "Volume Factor" is assigned for each layer: - If below the invert of a pipe draining the area/underdrain, it is counted at 100% - If no pipe/underdrain in your GI installation, all volume can be considered "below invert" and counted at 100% - If above the invert, it is counted at 50% - For bioretention areas with depressions for ponding, ponding layer is always counted at 100% (with or without an underdrain) 3. Please reference all user-input data using Notes, Reference Column 4. 6-hr infiltrated volume (cf) = infiltration rate (in/hr) * surface area (sf) * 6[hrs]/12[in/ft]. Maximum infiltration rate to be used in this calculation is 3.6 in/hr. 5. Add more Layer rows or Retention Areas as necessary, making sure the Total DRC is calculating correctly.
For Green Infrastructure (GI) | [8 empty] | calculated |  |  | Standard Assumptions:
[12 empty] | Media | Porosity
Project Name: |  | Green Alley & Bioretention in Gotham | [9 empty] | CA-1 | 0.41
Project / IGA Number: |  | 24-IGA-00 | [9 empty] | CA-7 | 0.38
Design Stage: |  | 100% | [9 empty] | CA-16/ASTM 8 | 0.28
Total Constructed Volume: |  | 106669.7867 | gallons | Runoff Volume Check: | [7 empty] | FA-1 | 0.28
Total Infiltration Volume: |  | 137669.4 | gallons | DRC exceeds the 100-yr runoff volume - DRC will be capped to calculate MWRD Contribution | [7 empty] | Engineered Soil | 0.25
Design DRC: |  | 244339.1867 | gallons
Design DRC (Capped): |  | 169186.2023 | gallons
Infiltration Volume (Capped): |  | 62516.4157 | gallons
Reimbursement Rates: |  | 4 | per gallon (Constructed) |  | 1 | per gallon (Infiltration)
Calculated MWRD Contribution: |  | 489195.5623
Construction Cost Estimate: |  | 1000000
MWRD Max. Cost Share: |  | 50% |  | MWRD Max. Contribution: |  | 500000
Resulting Potential MWRD Contribution: |  | 489195.5623
Engineer's Signature (Final Design only): |  |  |  |  | IL PE License No.:
Retention Area #1 (Green Alley) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 | bedding course, CA-16 |  | 0.28 | below invert | 100% | 0.16667 | 800 | 4 | 3200 | 149.3333 | alley length of 800' (sheet 4); 4' width beneath pavers; 12' width for full alley (see typ. section, sheet 3)
2 | aggregate base, CA-7 |  | 0.38 | below invert | 100% | 0.33333 | 800 | 4 | 3200 | 405.3333
3 | full alley width, CA-7 |  | 0.38 | below invert | 100% | 0.33333 | 800 | 12 | 9600 | 1216
4 | aggregate, CA-1 |  | 0.41 | below invert | 100% | 2.5 | 800 | 12 | 9600 | 9840
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 11610.6667
[9 empty] | Subtotal Constructed Volume (gallons) | 86847.7867
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft) | [9 empty] | 10 | sheet 2
Groundwater elevation (ft) | [9 empty] | 6 | see geotech report
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 4
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation) | [9 empty] | 5.3 | see geotech report
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 3.6
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf) | 9600 | same as the CA-1 layer in this case
6-hr infiltrated volume (cf) | [9 empty] | 17280
[9 empty] | Infiltration Volume (gallons) | 129254.4
Retention Area #2 (Bioretention) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 | ponding |  | 1 | ponding | 100% | 1 | 50 | 35 | 1750 | 1750 | bioretention length of 20' and top width of 10' (sheet 6); adjusted surface area for ponding due to the sloped sides (optional to adjust equation to add in the extra triangles of soil); aggregate above invert varies, see sheets 6-8
2 | soil media mix |  | 0.25 | above invert | 50% | 1 | 50 | 30 | 1500 | 187.5
3 | aggregate storage bed, CA-7 |  | 0.38 | above invert | 50% | 0.5 | 50 | 30 | 1500 | 142.5
4 | aggregate storage bed, CA-7 |  | 0.38 | below invert | 100% | 1 | 50 | 30 | 1500 | 570
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 2650
[9 empty] | Subtotal Constructed Volume (gallons) | 19822
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft) | [9 empty] | 10 | sheet 2
Groundwater elevation (ft) | [9 empty] | 6 | see geotech report
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 4
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation) | [9 empty] | 1.5 | see geotech report
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 1.5
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf) | 1500 | same as the CA-7 layer in this case
6-hr infiltrated volume (cf) | [9 empty] | 1125
[9 empty] | Infiltration Volume (gallons) | 8415
Retention Area #3 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #4 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #5 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Note on D23: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D46: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D69: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D92: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D115: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on E23: MWRDGC: See explanation listed in the Notes, above.
Note on E46: MWRDGC: See explanation listed in the Notes, above.
Note on E69: MWRDGC: See explanation listed in the Notes, above.
Note on E92: MWRDGC: See explanation listed in the Notes, above.
Note on E115: MWRDGC: See explanation listed in the Notes, above.

## Example Final Constructed DRC
MWRDGC | [8 empty] | Key: | Notes:
Stormwater Design Retention Capacity (DRC) Calculations | [8 empty] | user input | 1. For questions, please contact MWRD Engineer at GelderM@mwrd.org 2. How "Volume Factor" is assigned for each layer: - If below the invert of a pipe draining the area/underdrain, it is counted at 100% - If no pipe/underdrain in your GI installation, all volume can be considered "below invert" and counted at 100% - If above the invert, it is counted at 50% - For bioretention areas with depressions for ponding, ponding layer is always counted at 100% (with or without an underdrain) 3. Please reference all user-input data using Notes, Reference Column 4. 6-hr infiltrated volume (cf) = infiltration rate (in/hr) * surface area (sf) * 6[hrs]/12[in/ft]. Maximum infiltration rate to be used in this calculation is 3.6 in/hr. 5. Add more Layer rows or Retention Areas as necessary, making sure the Total DRC is calculating correctly.
For Green Infrastructure (GI) | [8 empty] | calculated |  |  | Standard Assumptions:
[12 empty] | Media | Porosity
Project Name: |  | Green Alley & Bioretention in Gotham | [9 empty] | CA-1 | 0.41
Project / IGA Number: |  | 24-IGA-00 | [9 empty] | CA-7 | 0.38
Design Stage: |  | Construction Complete | [9 empty] | CA-16/ASTM 8 | 0.28
Total Constructed Volume: |  | 86847.7867 | gallons | Runoff Volume Check: | [7 empty] | FA-1 | 0.28
Total Infiltration Volume: |  | 129254.4 | gallons | DRC exceeds the 100-yr runoff volume - DRC will be capped to calculate MWRD Contribution | [7 empty] | Engineered Soil | 0.25
Final Constructed DRC: |  | 216102.1867 | gallons
Constructed DRC (Capped): |  | 169186.2023 | gallons
Infiltration Volume (Capped): |  | 82338.4157 | gallons
Amount Outside 10% Allowance: |  | Constructed Volume |  | Infiltration Volume
|  | -9155.0213 | gallons | 13570.3584 | gallons
Calculated MWRD Contribution: |  | 466145.8354
Construction Cost Estimate: |  | 1000000
MWRD Max. Cost Share: |  | 50% |  | MWRD Max. Contribution: |  | 500000
Resulting MWRD Contribution: |  | 466145.8354
Engineer's Signature: |  |  |  |  | IL PE License No.:
Retention Area #1 (Green Alley) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 | bedding course, CA-16 |  | 0.28 | below invert | 100% | 0.16667 | 800 | 4 | 3200 | 149.3333 | alley length of 800' (sheet 4); 4' width beneath pavers; 12' width for full alley (see typ. section, sheet 3)
2 | aggregate base, CA-7 |  | 0.38 | below invert | 100% | 0.33333 | 800 | 4 | 3200 | 405.3333
3 | full alley width, CA-7 |  | 0.38 | below invert | 100% | 0.33333 | 800 | 12 | 9600 | 1216
4 | aggregate, CA-1 |  | 0.41 | below invert | 100% | 2.5 | 800 | 12 | 9600 | 9840
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 11610.6667
[9 empty] | Subtotal Constructed Volume (gallons) | 86847.7867
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft) | [9 empty] | 10 | sheet 2
Groundwater elevation (ft) | [9 empty] | 6 | see geotech report
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 4
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation) | [9 empty] | 5.3 | see geotech report
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 3.6
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf) | 9600 | same as the CA-1 layer in this case
6-hr infiltrated volume (cf) | [9 empty] | 17280
[9 empty] | Infiltration Volume (gallons) | 129254.4
Retention Area #2 (Bioretention) |  |  | COULD NOT BUILD DUE TO UNFORESEEN CIRCUMSTANCES DURING CONSTRUCTION | [8 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #3 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #4 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Retention Area #5 (____________________________) | [11 empty] | Insert image of typical section here:
Stone, Soil, Ponding Layers Volume ("Constructed Volume")
Layer # | Layer Description (Aggregate Size, Soil, Ponding) |  | Porosity | Location relative to underdrain | Volume Factor | Depth (ft) | Length (ft) | Width (ft) | Surface Area (sf) | Layer Volume (cf) | Notes, References
1 |  |  |  |  | 0% |  |  |  | 0 | 0
2 |  |  |  |  | 0% |  |  |  | 0 | 0
3 |  |  |  |  | 0% |  |  |  | 0 | 0
4 |  |  |  |  | 0% |  |  |  | 0 | 0
5 |  |  |  |  | 0% |  |  |  | 0 | 0
[9 empty] | Subtotal Constructed Volume (cf) | 0
[9 empty] | Subtotal Constructed Volume (gallons) | 0
Groundwater Check | [10 empty] | Notes, References
Elevation of bottom of BMP (the infiltration surface) IF there is no underdrain, OR the lowest underdrain invert elevation (ft)
Groundwater elevation (ft)
Depth to seasonal groundwater level (ft) (Must be 2 feet or greater, or 3.5 feet or greater if draining to combined sewer) | [9 empty] | 0
Infiltration Volume | [10 empty] | Notes, References
Vertical infiltration rate of surrounding soil (in/hr) (preferred to be estimated/measured at the lowest excavation elevation)
[9 empty] | Infiltration rate to be used for calculation (in/hr) | 0
Surface Area across which infiltration occurs (sf) | [8 empty] | Surface Area across which infiltration occurs (sf)
6-hr infiltrated volume (cf) | [9 empty] | 0
[9 empty] | Infiltration Volume (gallons) | 0
Note on D24: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D47: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D70: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D93: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on D116: MWRDGC: See standard assumptions in top right of this sheet to help fill this in.
Note on E24: MWRDGC: See explanation listed in the Notes, above.
Note on E47: MWRDGC: See explanation listed in the Notes, above.
Note on E70: MWRDGC: See explanation listed in the Notes, above.
Note on E93: MWRDGC: See explanation listed in the Notes, above.
Note on E116: MWRDGC: See explanation listed in the Notes, above.

## Example CN & Runoff Volume
PROJECT: | [8 empty] | DESIGN STAGE: |  |  |  | ENGINEER'S SIGNATURE |  |  | IL PE LICENSE NO.:
COMPOSITE RUNOFF CURVE NUMBER (CN) | [12 empty] | RUNOFF VOLUME
RUNOFF CURVE NUMBER (LIST ALL SURFACES THAT DRAIN INTO PROPOSED GREEN INFRASTRUCTURE AND ATTACH AN EXHIBIT OUTLINING THE AREAS AND SHOWING HOW THEY DRAIN INTO PROPOSED GI) | [12 empty] | DEVELOPMENT INFORMTION
| Surface Description |  |  | Hydrologic Soil Group (HSG) |  |  | CN (see options below) |  |  | Area (acres) |  | Product (CN)(Area) |  | 1. | Area, A |  | 0.8 | acres
| roof |  |  | D |  |  | 98 |  |  | 0.1 |  | 9.8 |  | 2. | Curve Number, CN |  | 93.5
| backyards |  |  | D |  |  | 80 |  |  | 0.2 |  | 16 |  | 3. | 10-year, 24-hr Rainfall Depth, P |  | 5.15 | inches
| roadway |  |  | D |  |  | 98 |  |  | 0.5 |  | 49 |  | 4. | 100-year, 24-hr Rainfall Depth, P |  | 8.57 | inches
RUNOFF DEPTH (NRCS RUNOFF EQUATIONS)
[14 empty] | 5. | Maximum Retention, S |  | 0.69519 | inches
[14 empty] | 6. | 10-Year Runoff Depth, QD10 |  | 4.4005 | inches
[14 empty] | 6. | 100-Year Runoff Depth, QD100 |  | 7.7887 | inches
TOTALS: | [9 empty] | 0.8 |  | 74.8 | RUNOFF VOLUME
COMPOSITE RUNOFF CURVE NUMBER | [13 empty] | 7. | 10-Year Runoff Volume, VR10 |  | 0.29336 | ac-ft
| Composite CN | = | Total Product |  | = | 74.8 |  | → | Composite CN |  | = | 93.5 |  |  |  |  | 12778.9675 | cf
|  |  | Total Area |  |  | 0.8 | [10 empty] | 95586.6768 | gallons
[14 empty] | 7. | 100-Year Runoff Volume, VR100 |  | 0.51925 | ac-ft
[17 empty] | 22618.4762 | cf
[17 empty] | 169186.2023 | gallons
𝑆=1000/𝐶𝑁−10
𝑄_𝐷=(𝑃−0.2𝑆)^2/((𝑃+0.8𝑆) )
𝑉_𝑅=𝑄_𝐷 𝐴(1/(12□(64&𝑖𝑛/𝑓𝑡)))
𝑄_𝐷=(𝑃−0.2𝑆)^2/((𝑃+0.8𝑆) )
𝑉_𝑅=𝑄_𝐷 𝐴(1/(12□(64&𝑖𝑛/𝑓𝑡)))