## Lemont Raw 2021
| pH | BOD5 | CBOD5 | FOG | SS | VSS | TS | VTS | TKN | NH3-N | NO2-N + NO3-N | P-TOT | CN | Phenol | F | As | Ba | Cd | Cr | Cu | Fe | Fe-S | Pb | Mn | Hg | Ni | Se | Ag | Zn | Sb | Be | Tl | Cr+6 | TOC
Date |  | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | mg/l | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L
2021-01-01 | 7.3 | N/S | N/S | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-02 | 7.5 | N/S | N/S | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-03 | 7.4 | T/X | T/X | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-04 | 7.5 | 81 | 58 | 15 | 88 | 79 | T/X | T/X | T/X | T/X | T/X | T/X | 0.011 | T/X | 0.7 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-01-05 | 7.5 | T/X | T/X | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | <0.002 | 0.072 | <0.002 | <0.004 | 0.127 | 1.39 | 0.12 | 0.003 | 0.062 | T/X | 0.003 | <0.004 | <0.004 | 0.216 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-01-06 | 7.3 | T/X | T/X | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-07 | 7.5 | 255 | 172 | N/S | 235 | 205 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-08 | 7.5 | N/S | N/S | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-09 | 7.4 | N/S | N/S | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-10 | 7.5 | T/X | T/X | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-11 | 7.5 | 182 | 139 | 13 | 282 | 252 | T/X | T/X | T/X | T/X | T/X | T/X | 0.013 | 15 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-01-12 | 7.4 | T/X | T/X | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | <0.002 | 0.054 | <0.002 | <0.004 | 0.1 | 0.89 | N/S | 0.002 | 0.057 | T/X | 0.003 | <0.004 | <0.004 | 0.144 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-01-13 | 7.5 | T/X | T/X | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-14 | 7.5 | T/X | T/X | N/S | 524 | 450 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-15 | 7.5 | N/S | N/S | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-16 | 7.5 | N/S | N/S | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-17 | 7.6 | T/X | T/X | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-18 | 7.6 | 113 | 68 | 11 | 58 | 54 | T/X | T/X | T/X | T/X | T/X | T/X | 0.007 | 14 | 0.8 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-19 | 7.4 | T/X | T/X | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | <0.002 | 0.077 | <0.002 | <0.004 | 0.117 | 1.18 | N/S | 0.003 | 0.057 | T/X | 0.004 | <0.004 | <0.004 | 0.223 | 0.002 | <0.002 | <0.002 | <3 | N/S
2021-01-20 | 7.5 | T/X | T/X | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-21 | 7.7 | 123 | 87 | N/S | 106 | 86 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-22 | 7.5 | N/S | N/S | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-23 | 7.6 | N/S | N/S | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-24 | 7.6 | T/X | T/X | N/S | T/X | T/X | T/X | T/X | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-25 | 7.7 | T/X | T/X | 10 | 120 | 95 | 1174 | 260 | T/X | 22 | 1.24 | T/X | <0.005 | 19 | 1 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-01-26 | 7.4 | T/X | T/X | N/S | 368 | 324 | 1950 | 354 | T/X | 21.3 | 1.76 | T/X | N/S | N/S | N/S | <0.002 | 0.068 | <0.002 | <0.004 | 0.111 | 1.19 | N/S | 0.002 | 0.084 | T/X | 0.003 | <0.004 | <0.004 | 0.159 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-01-27 | 7.5 | T/X | T/X | N/S | 468 | 416 | 1672 | 516 | T/X | 23.3 | 1.01 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-28 | 7.8 | 202 | 136 | N/S | 262 | 246 | 1340 | 370 | T/X | 22.5 | 0.7 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-29 | 7.7 | N/S | N/S | N/S | 206 | 178 | 1212 | 320 | T/X | 22.3 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-30 | 7.7 | N/S | N/S | N/S | 244 | 210 | 1790 | 328 | T/X | 21 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-31 | 7.7 | T/X | T/X | N/S | 352 | 308 | 2414 | 424 | T/X | 21.5 | 1.39 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-01 | 7.7 | T/X | T/X | 11 | 256 | 196 | 2124 | 286 | T/X | 19.6 | 1.26 | T/X | 0.014 | 18 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-02-02 | 7.7 | T/X | T/X | N/S | 314 | 286 | 1892 | 380 | T/X | 20.9 | 0.7 | T/X | N/S | N/S | N/S | <0.002 | 0.073 | <0.002 | <0.004 | 0.104 | 0.76 | 0.11 | 0.002 | 0.074 | T/X | 0.003 | <0.004 | <0.004 | 0.137 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-02-03 | 7.5 | T/X | T/X | N/S | T/X | T/X | T/X | T/X | T/X | 20.2 | 1.88 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-04 | 7.7 | T/X | T/X | N/S | 208 | 184 | 2044 | 256 | T/X | 20.6 | 1.24 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-05 | 7.7 | N/S | N/S | N/S | 136 | 112 | 1762 | 204 | T/X | 20.9 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-06 | 7.5 | N/S | N/S | N/S | 9300 | T/X | 9678 | 7722 | T/X | 31.7 | 0.34 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-07 | 7.6 | T/X | T/X | N/S | 820 | 752 | 1968 | 830 | T/X | 19.4 | 0.77 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-08 | 7.7 | 84 | 41 | 16 | 63 | 58 | 1416 | 168 | T/X | 15.9 | 4.14 | T/X | 0.005 | 14 | 1 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-02-09 | 7.7 | T/X | T/X | N/S | 230 | 200 | 1402 | 342 | T/X | 21.3 | 0.88 | T/X | N/S | N/S | N/S | <0.002 | 0.059 | <0.002 | <0.004 | 0.071 | 0.68 | N/S | <0.002 | 0.053 | T/X | 0.002 | <0.004 | <0.004 | 0.118 | 0.002 | <0.002 | <0.002 | N/S | N/S
2021-02-10 | 7.6 | 178 | 108 | N/S | 190 | 172 | 1286 | 280 | T/X | 20.9 | 1.28 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-11 | T/X | T/X | T/X | N/S | 170 | 148 | 1270 | 256 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-12 | T/X | N/S | N/S | N/S | 206 | 188 | 1250 | 296 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-13 | T/X | N/S | N/S | N/S | 128 | 132 | 1200 | 230 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-14 | T/X | T/X | T/X | N/S | 118 | 112 | 1180 | 248 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-15 | T/X | 167 | 84 | 10 | 184 | 162 | 1312 | 280 | T/X | 21.3 | 0.98 | T/X | 0.008 | 16 | 1 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-16 | T/X | T/X | T/X | N/S | 572 | 512 | 1768 | 632 | T/X | 19.1 | 0.97 | T/X | N/S | N/S | N/S | <0.002 | 0.076 | <0.002 | <0.004 | 0.128 | 1.18 | N/S | 0.003 | 0.068 | T/X | 0.004 | <0.004 | <0.004 | 0.231 | <0.002 | <0.002 | <0.002 | T/X | N/S
2021-02-17 | T/X | T/X | T/X | N/S | 124 | 116 | T/X | T/X | T/X | 21.5 | 0.9 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-18 | T/X | 214 | 206 | N/S | 134 | 106 | 1340 | 230 | T/X | 20.7 | 1.2 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-19 | T/X | N/S | N/S | N/S | 136 | 108 | 1336 | 252 | T/X | 21.5 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-20 | T/X | N/S | N/S | N/S | 170 | 156 | 1342 | 334 | T/X | 21.5 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-21 | T/X | T/X | T/X | N/S | 152 | 132 | 1844 | 286 | T/X | 20.6 | 0.37 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-22 | T/X | 107 | 64 | 10 | 98 | 88 | 2638 | 290 | T/X | 15.5 | 1.22 | T/X | 0.007 | 13 | 0.8 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-02-23 | T/X | T/X | T/X | N/S | 78 | 66 | 2690 | 270 | T/X | 12.7 | 1.12 | T/X | N/S | N/S | N/S | <0.002 | 0.075 | <0.002 | <0.004 | 0.026 | 0.45 | N/S | <0.002 | 0.036 | T/X | 0.002 | <0.004 | <0.004 | 0.065 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-02-24 | T/X | T/X | T/X | N/S | 50 | 45 | 2442 | 286 | T/X | 7.7 | 2.02 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-25 | 7.7 | 41 | 29 | N/S | 47 | 37 | 2178 | 290 | T/X | 8.5 | 2.17 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-26 | 7.4 | N/S | N/S | N/S | 332 | 292 | 2206 | 520 | T/X | 10.4 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-27 | 7.4 | N/S | N/S | N/S | 180 | 160 | 1682 | 290 | T/X | 9.6 | 1.18 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-28 | 7.5 | T/X | T/X | N/S | 82 | 60 | 1382 | 180 | T/X | 6.1 | 2.45 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-01 | 7.6 | T/X | T/X | 8 | 58 | 48 | 1186 | 176 | T/X | 6.7 | 2.67 | T/X | <0.005 | <5 | 0.5 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-03-02 | 7.5 | T/X | T/X | N/S | 35 | 33 | 1314 | 196 | 11 | 7.6 | 1.79 | 1.45 | N/S | N/S | N/S | <0.002 | 0.051 | <0.002 | <0.004 | 0.023 | 0.27 | 0.08 | <0.002 | 0.02 | T/X | 0.002 | <0.004 | <0.004 | 0.031 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-03-03 | 7.5 | T/X | T/X | N/S | 37 | 32 | 1344 | 182 | T/X | 9.6 | 1.45 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-04 | 7.4 | 54 | 36 | N/S | 44 | 35 | 1312 | 156 | T/X | 10.3 | 1.52 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-05 | 7.3 | N/S | N/S | N/S | 46 | 40 | 1518 | 204 | T/X | 9.4 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-06 | 7.4 | N/S | N/S | N/S | 86 | 68 | 1414 | 242 | T/X | 11.3 | 0.47 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-07 | 7.5 | T/X | T/X | N/S | 37 | 25 | 1324 | 190 | T/X | 12 | 1.12 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-08 | 7.3 | 104 | 75 | T/X | 118 | 110 | 1322 | 232 | T/X | 12.5 | <0.25 | T/X | T/X | 11 | 0.7 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | T/X | N/S
2021-03-09 | 7.4 | T/X | T/X | 34 | 78 | 71 | 1210 | 160 | T/X | 11.9 | 0.71 | T/X | 0.012 | N/S | N/S | <0.002 | 0.051 | <0.002 | <0.004 | 0.027 | 0.41 | N/S | <0.002 | 0.026 | T/X | 0.002 | <0.004 | <0.004 | 0.051 | <0.002 | <0.002 | <0.002 | <3 | N/S
2021-03-10 | 7.4 | T/X | T/X | N/S | 356 | 294 | 1488 | 432 | T/X | 14.6 | 1.13 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-11 | 7.6 | 169 | 114 | N/S | 210 | 198 | 1436 | 378 | T/X | 15.8 | 0.68 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-12 | 7.1 | N/S | N/S | N/S | 792 | 700 | 1936 | 812 | T/X | 19.5 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-13 | 7.5 | N/S | N/S | N/S | 123 | 109 | 1272 | 254 | T/X | 16.9 | 0.41 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-14 | 7.5 | T/X | T/X | N/S | 200 | 174 | 1350 | 308 | T/X | 18.8 | 0.97 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-15 | 7.5 | 192 | 109 | 15 | 204 | 204 | 1484 | 284 | T/X | 17.8 | 0.44 | T/X | 0.022 | 9 | 0.8 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-03-16 | 7.5 | T/X | T/X | N/S | 110 | 100 | 1526 | 216 | T/X | 15.6 | 1.02 | T/X | N/S | N/S | N/S | <0.002 | 0.057 | <0.002 | <0.004 | 0.044 | 0.44 | N/S | <0.002 | 0.043 | T/X | 0.002 | <0.004 | <0.004 | 0.063 | 0.002 | <0.002 | <0.002 | N/S | N/S
2021-03-17 | 7.5 | T/X | T/X | N/S | 69 | 53 | 1278 | 170 | T/X | 11.8 | 0.74 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-18 | 7.4 | 57 | 39 | N/S | 54 | 34 | 1182 | 152 | T/X | 8.1 | 1.91 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-19 | 7.5 | N/S | N/S | N/S | 62 | 52 | 1158 | 136 | T/X | 9.9 | 0.68 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-20 | 7.5 | N/S | N/S | N/S | 66 | 61 | 1166 | 174 | T/X | 12.2 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-21 | 7.6 | T/X | T/X | N/S | 294 | 252 | 1380 | 302 | T/X | 16 | 0.27 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-22 | 7.5 | 177 | 119 | 8 | 340 | 332 | 1574 | 434 | T/X | 16.4 | <0.25 | T/X | 0.015 | 16 | 0.8 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-03-23 | 7.1 | T/X | T/X | N/S | 272 | 232 | 1448 | 356 | T/X | 15 | 1.67 | T/X | N/S | N/S | N/S | <0.002 | 0.074 | <0.002 | <0.004 | 0.079 | 1.11 | N/S | 0.003 | 0.096 | T/X | 0.004 | <0.004 | <0.004 | 0.13 | 0.002 | <0.002 | <0.002 | N/S | N/S
2021-03-24 | 7.5 | T/X | T/X | N/S | 244 | 200 | 1368 | 294 | T/X | 12.4 | 1.17 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-25 | 7.6 | T/X | T/X | N/S | 96 | 68 | 1196 | 202 | T/X | 15.9 | 0.49 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-26 | 7.6 | N/S | N/S | N/S | 310 | 270 | 1364 | 372 | T/X | 14.4 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-27 | 7.4 | N/S | N/S | N/S | 424 | 322 | 1312 | 422 | T/X | 15.9 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-28 | 7.6 | T/X | T/X | N/S | 120 | 110 | 1148 | 260 | T/X | 16.6 | 1.94 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-29 | 7.2 | 140 | 92 | 34 | 228 | 188 | 1180 | 334 | T/X | 17.1 | 1.17 | T/X | 0.026 | 14 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | T/X | N/S
2021-03-30 | 7.5 | T/X | T/X | N/S | 156 | 126 | 1334 | 228 | T/X | 14.4 | 3.1 | T/X | N/S | N/S | N/S | <0.002 | 0.059 | <0.002 | <0.004 | 0.042 | 0.55 | N/S | <0.002 | 0.04 | T/X | 0.002 | <0.004 | <0.004 | 0.07 | 0.002 | <0.002 | <0.002 | N/S | N/S
2021-03-31 | 7.7 | T/X | T/X | N/S | 164 | 146 | 1146 | 304 | T/X | 17.4 | 1.55 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-01 | 7.7 | 211 | 103 | N/S | 212 | 186 | 1124 | 310 | T/X | 17.7 | 1.69 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-04-02 | 7.6 | N/S | N/S | N/S | 216 | 178 | 1164 | 328 | T/X | 18.4 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-03 | 7.8 | N/S | N/S | N/S | 162 | 146 | 1038 | 208 | T/X | 18.5 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-04 | 7.8 | T/X | T/X | N/S | 312 | 276 | 1228 | 420 | T/X | 21.5 | 1.04 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-05 | 7.7 | 137 | 131 | 12 | 256 | 234 | 1184 | 382 | T/X | 20.6 | 0.77 | T/X | 0.009 | 19 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-04-06 | 7.8 | T/X | T/X | N/S | 180 | 144 | 1112 | 354 | T/X | 19.5 | 1.05 | T/X | N/S | N/S | N/S | <0.002 | 0.055 | <0.002 | <0.004 | 0.058 | 1.24 | 0.1 | 0.004 | 0.07 | <0.5 | 0.003 | <0.004 | <0.004 | 0.11 | 0.002 | <0.002 | <0.002 | N/S | N/S
2021-04-07 | 7.7 | T/X | T/X | N/S | 160 | 156 | 1134 | 362 | T/X | 19.1 | 1.56 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-08 | 7.6 | 142 | 100 | N/S | 194 | 170 | 1196 | 334 | T/X | 16.7 | 1.02 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-09 | 7.6 | N/S | N/S | N/S | 144 | 120 | 1120 | 278 | T/X | 17.6 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-10 | 7.5 | N/S | N/S | N/S | 396 | 336 | 1254 | 460 | T/X | 17.3 | 0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-11 | 7.6 | T/X | T/X | N/S | 300 | 268 | 1212 | 340 | T/X | 16.3 | 1.79 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-12 | 7.7 | 146 | 73 | 20 | 76 | 68 | 1058 | 250 | T/X | 18 | 1.34 | T/X | 0.012 | 14 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-04-13 | 7.3 | T/X | T/X | N/S | 356 | 296 | 1244 | 440 | T/X | 19.5 | 0.3 | T/X | N/S | N/S | N/S | <0.002 | 0.057 | <0.002 | <0.004 | 0.078 | 0.83 | N/S | 0.002 | 0.046 | <0.5 | 0.003 | <0.004 | <0.004 | 0.158 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-04-14 | 7.7 | T/X | T/X | N/S | 196 | 176 | 1116 | 304 | T/X | 20.7 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-15 | 7.8 | 265 | 124 | N/S | 272 | 228 | 1154 | 360 | T/X | 19.6 | 0.65 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-16 | 7.6 | N/S | N/S | N/S | 318 | 272 | 1238 | 418 | T/X | 21.8 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-17 | 7.4 | N/S | N/S | N/S | 396 | 332 | 1326 | 452 | T/X | 21.6 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-18 | 7.7 | T/X | T/X | N/S | 318 | 278 | 1304 | 432 | T/X | 22.9 | 0.41 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-19 | 7.6 | 219 | 108 | 8 | 260 | 228 | 1194 | 344 | T/X | 21.5 | 0.37 | T/X | 0.014 | 5 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-04-20 | 7.7 | T/X | T/X | N/S | 1250 | 1080 | 2284 | 1190 | T/X | 18 | <0.25 | T/X | N/S | N/S | N/S | 0.003 | 0.138 | <0.002 | 0.009 | 0.31 | 3.52 | N/S | 0.009 | 0.148 | <0.5 | 0.009 | <0.004 | <0.004 | 0.558 | 0.002 | <0.002 | <0.002 | N/S | N/S
2021-04-21 | 7.5 | T/X | T/X | N/S | 468 | 372 | 1540 | 504 | T/X | 18.3 | 0.91 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-22 | 7.7 | 327 | 137 | N/S | 376 | 332 | 1332 | 462 | T/X | 20.8 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-23 | 7.6 | N/S | N/S | N/S | 188 | 136 | 1410 | 290 | T/X | 22.1 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-24 | 7.6 | N/S | N/S | N/S | 220 | 180 | 1570 | 384 | T/X | 21.5 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-25 | 7.6 | T/X | T/X | N/S | 232 | 204 | 1316 | 294 | T/X | 23 | 0.53 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-26 | 7.6 | 95 | 58 | 18 | 244 | 212 | 1378 | 316 | T/X | 21.6 | <0.25 | T/X | 0.017 | <5 | 1 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-04-27 | 7.5 | T/X | T/X | N/S | 304 | 264 | 1398 | 354 | T/X | 20.7 | 0.93 | T/X | N/S | N/S | N/S | <0.002 | 0.072 | <0.002 | <0.004 | 0.098 | 1.01 | N/S | 0.002 | 0.091 | <0.5 | 0.003 | <0.004 | <0.004 | 0.148 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-04-28 | 7.5 | T/X | T/X | N/S | 128 | 116 | 1048 | 192 | T/X | 14.1 | 2.65 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-29 | 7.6 | 71 | 53 | N/S | 50 | 50 | 1148 | 196 | T/X | 15.9 | 1.73 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-30 | 7.5 | N/S | N/S | N/S | 142 | 126 | 1800 | 288 | T/X | 19.3 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-01 | 7.3 | N/S | N/S | N/S | 334 | 298 | 1526 | 434 | T/X | 21.2 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-02 | 7.6 | T/X | T/X | N/S | 222 | 202 | 1348 | 354 | T/X | 21.2 | 0.5 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-03 | 7.5 | 196 | 106 | 34 | 210 | 178 | 1878 | 300 | T/X | 18.8 | 0.41 | T/X | T/X | 5 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-05-04 | 7.6 | T/X | T/X | N/S | 258 | 200 | 1022 | 260 | T/X | 18.2 | 1.52 | T/X | N/S | N/S | N/S | <0.002 | 0.085 | <0.002 | <0.004 | 0.083 | 1.59 | 0.18 | 0.006 | 0.077 | 0.7 | 0.004 | <0.004 | <0.004 | 0.222 | 0.002 | <0.002 | <0.002 | N/S | N/S
2021-05-05 | 7.5 | T/X | T/X | N/S | 348 | 328 | 1768 | 434 | T/X | 24.8 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-06 | 7.5 | 255 | 102 | N/S | 260 | 206 | 1652 | 424 | T/X | 19.1 | 1.17 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-07 | 7.6 | N/S | N/S | N/S | 254 | 224 | 1450 | 326 | T/X | 20.7 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-08 | 7.5 | N/S | N/S | N/S | 106 | 100 | 1140 | 206 | T/X | 17.4 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-09 | 7.3 | T/X | T/X | N/S | 60 | 47 | 744 | 146 | T/X | 6.3 | 1.93 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-10 | 7.5 | 76 | 31 | 7 | 68 | 52 | 980 | 166 | T/X | 8.8 | 1.66 | T/X | 0.005 | <5 | 0.5 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-05-11 | 7.4 | T/X | T/X | N/S | 170 | 136 | 1098 | 252 | T/X | 11.4 | 0.59 | T/X | N/S | N/S | N/S | <0.002 | 0.051 | <0.002 | <0.004 | 0.073 | 0.93 | N/S | 0.002 | 0.043 | <0.5 | 0.003 | <0.004 | <0.004 | 0.113 | 0.002 | <0.002 | <0.002 | N/S | N/S
2021-05-12 | 7.5 | T/X | T/X | N/S | 328 | 276 | 1298 | 402 | T/X | 16.3 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-13 | 7.2 | 298 | 154 | N/S | 524 | 376 | 1740 | 618 | T/X | 18 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-14 | 7.5 | N/S | N/S | N/S | 292 | 240 | 1566 | 530 | T/X | 15.1 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-15 | 7.3 | N/S | N/S | N/S | 146 | 122 | 1322 | 320 | T/X | 15.3 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-16 | 7.2 | T/X | T/X | N/S | 248 | 208 | 1522 | 398 | T/X | 18.3 | 0.65 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-17 | 7.5 | 162 | 100 | 16 | 158 | 130 | 1406 | 286 | T/X | 19.3 | 0.5 | T/X | 0.015 | 10 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-05-18 | 7.6 | T/X | T/X | N/S | 304 | 248 | 1572 | 438 | T/X | 19.4 | 0.6 | T/X | N/S | N/S | N/S | <0.002 | 0.076 | <0.002 | <0.004 | 0.093 | 1.27 | N/S | 0.003 | 0.087 | <0.5 | 0.003 | <0.004 | <0.004 | 0.175 | 0.002 | <0.002 | <0.002 | N/S | N/S
2021-05-19 | 7.4 | T/X | T/X | N/S | 488 | 412 | 1762 | 604 | T/X | 18.8 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-20 | 7.4 | T/X | T/X | N/S | 460 | 412 | 1732 | 572 | T/X | 20.5 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-21 | 7.5 | N/S | N/S | N/S | 344 | 308 | 1638 | 546 | T/X | 20.7 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-22 | 7.5 | N/S | N/S | N/S | 424 | 360 | 1554 | 504 | T/X | 21.5 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-23 | 7.5 | T/X | T/X | N/S | 514 | 380 | 1530 | 508 | T/X | 22.6 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-24 | 7.4 | T/X | T/X | 25 | 376 | 332 | 1548 | 472 | T/X | 22.5 | <0.25 | T/X | 0.031 | 8 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-05-25 | 7.5 | T/X | T/X | N/S | 200 | 180 | 1262 | 348 | T/X | 19.1 | <0.25 | T/X | N/S | N/S | N/S | <0.002 | 0.061 | <0.002 | <0.004 | 0.07 | 1.11 | N/S | 0.002 | 0.074 | <0.5 | 0.003 | <0.004 | <0.004 | 0.13 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-05-26 | 7.4 | T/X | T/X | N/S | 236 | 184 | 1176 | 278 | T/X | 14.3 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-27 | 7.4 | 184 | 88 | N/S | 240 | 198 | 1248 | 278 | T/X | 18.2 | 0.6 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-28 | 7.6 | N/S | N/S | N/S | 170 | 146 | 1000 | 206 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-29 | 7.3 | N/S | N/S | N/S | 88 | 72 | 964 | 172 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-30 | 7.6 | T/X | T/X | N/S | 80 | 70 | 1018 | 178 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-31 | 7.5 | 275 | 99 | 12 | 242 | 216 | 1180 | 348 | T/X | 19.1 | <0.25 | T/X | T/X | 5 | 0.8 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-01 | 7.4 | 156 | 101 | N/S | 160 | 134 | 1068 | 238 | 33 | 19.5 | <0.25 | 4.45 | N/S | N/S | N/S | <0.002 | 0.051 | <0.002 | <0.004 | 0.064 | 0.93 | 0.15 | 0.002 | 0.053 | <0.5 | 0.003 | <0.004 | <0.004 | 0.097 | <0.002 | <0.002 | <0.002 | <3 | N/S
2021-06-02 | 7.5 | 104 | 75 | N/S | 96 | 86 | 1108 | 224 | 31 | 22.9 | <0.25 | 4.14 | 0.007 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-03 | 7.4 | 208 | 86 | N/S | 208 | 180 | 1376 | 452 | 39 | 21.8 | <0.25 | 5.36 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-04 | 7.3 | N/S | N/S | N/S | 600 | 532 | 1972 | 860 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-05 | 7.2 | N/S | N/S | N/S | 390 | 355 | 1818 | 694 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-06 | 7.5 | 296 | 163 | N/S | 530 | 460 | 1830 | 686 | 56 | 24.7 | <0.25 | 8.45 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-07 | 7.5 | 220 | 123 | 12 | 312 | 248 | 1434 | 442 | 39 | 20.6 | <0.25 | 6 | 0.008 | 11 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-06-08 | 7.5 | 92 | 65 | N/S | 72 | 58 | 1288 | 282 | 31 | 18.8 | <0.25 | 4.02 | N/S | N/S | N/S | <0.002 | 0.055 | <0.002 | <0.004 | 0.036 | 0.45 | N/S | <0.002 | 0.047 | <0.5 | 0.002 | <0.004 | <0.004 | 0.061 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-06-09 | 7.5 | 299 | 134 | N/S | 174 | 146 | 1300 | 282 | 33 | 21.4 | <0.25 | 4.79 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-10 | 7.6 | T/X | 119 | N/S | 232 | 216 | 1390 | 378 | 35 | 21.2 | <0.25 | 5.43 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-11 | 7.5 | N/S | N/S | N/S | 416 | 392 | 1572 | 500 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-12 | 7.7 | N/S | N/S | N/S | 512 | 448 | 1502 | 608 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-13 | 7.5 | 379 | 198 | N/S | 444 | 372 | 1508 | 578 | 54 | 22.1 | <0.25 | 8.94 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-14 | 7.6 | 213 | 119 | 8 | 220 | 140 | 1514 | 454 | 40 | 22.3 | <0.25 | 6.28 | <0.005 | 16 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-06-15 | 7.5 | 175 | 99 | N/S | 260 | 252 | 1458 | 438 | 42 | 23.1 | <0.25 | 6.7 | N/S | N/S | N/S | <0.002 | 0.07 | <0.002 | <0.004 | 0.076 | 1.13 | N/S | 0.002 | 0.069 | <0.5 | 0.003 | <0.004 | <0.004 | 0.143 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-06-16 | 7.5 | 340 | 161 | N/S | 452 | 372 | 1582 | 530 | 53 | 24.6 | <0.25 | 8.61 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-17 | 7.5 | 332 | 146 | N/S | 456 | 408 | 1654 | 592 | 54 | 24.6 | <0.25 | 8.89 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-18 | 7.6 | N/S | N/S | N/S | 344 | 300 | 1444 | 446 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-19 | 7.5 | N/S | N/S | N/S | 512 | 440 | 1422 | 554 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-20 | 7.5 | 316 | 150 | N/S | 440 | 364 | 1260 | 506 | 51 | 19.2 | <0.25 | 8.34 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-21 | 7.4 | 270 | 129 | 14 | 428 | 336 | 1232 | 462 | 38 | 15.4 | <0.25 | 6.35 | 0.008 | <5 | 0.7 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-06-22 | 7.5 | 229 | 126 | N/S | 230 | 200 | 1364 | 548 | 48 | 19.2 | <0.25 | 7.49 | N/S | N/S | N/S | <0.002 | 0.068 | <0.002 | <0.004 | 0.095 | 2.13 | N/S | 0.006 | 0.085 | <0.5 | 0.004 | <0.004 | <0.004 | 0.251 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-06-23 | 7.5 | 221 | 128 | N/S | 312 | 264 | 1206 | 412 | 41 | 21.6 | <0.25 | 6.31 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-24 | 7.6 | 85 | 55 | N/S | 41 | 35 | 900 | 188 | 26 | 19.2 | <0.25 | 3.64 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-25 | 7.3 | N/S | N/S | N/S | 2560 | 1832 | 2794 | 1750 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-26 | 7.3 | N/S | N/S | N/S | 94 | 86 | 732 | 214 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-27 | 7.3 | 56 | 39 | N/S | 134 | 106 | 806 | 222 | 19 | 9.2 | 0.97 | 2.95 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-28 | 7.3 | 92 | 45 | 13 | 100 | 84 | 764 | 176 | 20 | 11.4 | 0.39 | 2.35 | 0.005 | <5 | 0.6 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-06-29 | 7.4 | 64 | 22 | N/S | 72 | 58 | 674 | 176 | 13 | 5.7 | 1.82 | 1.55 | N/S | N/S | N/S | <0.002 | 0.042 | <0.002 | <0.004 | 0.041 | 0.79 | N/S | <0.002 | 0.032 | <0.5 | 0.003 | <0.004 | <0.004 | 0.06 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-06-30 | 7.3 | 65 | 26 | N/S | 56 | 50 | 760 | 174 | 14 | 7.6 | 1.45 | 1.84 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-01 | 7.3 | 101 | 42 | N/S | 114 | 86 | 826 | 202 | 19 | 10.2 | 1 | 2.83 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-02 | 7.4 | N/S | N/S | N/S | 102 | 84 | 984 | 212 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-03 | 7.4 | N/S | N/S | N/S | 132 | 108 | 1014 | 234 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-04 | 7.4 | T/X | T/X | N/S | 158 | 130 | 942 | 176 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-05 | 7.5 | 166 | 73 | <5 | 228 | 180 | 1042 | 256 | 30 | 15.3 | <0.25 | 4.48 | 0.008 | <5 | 0.7 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-06 | 7.4 | 157 | 89 | N/S | 152 | 140 | 1000 | 270 | 33 | 18.6 | <0.25 | 4.59 | N/S | N/S | N/S | <0.002 | 0.052 | <0.002 | <0.004 | 0.056 | 0.93 | 0.17 | <0.002 | 0.048 | <0.5 | 0.003 | <0.004 | <0.004 | 0.121 | <0.002 | <0.002 | <0.002 | T/X | N/S
2021-07-07 | 7 | 250 | 119 | N/S | 292 | 248 | 1250 | 384 | 36 | 19.5 | <0.25 | 5.36 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-08 | 6.9 | 342 | 242 | N/S | 584 | 496 | 1602 | 628 | 38 | 21.7 | <0.25 | 6.78 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-07-09 | 7.1 | N/S | N/S | N/S | 150 | 124 | 1030 | 260 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-10 | 7.3 | N/S | N/S | N/S | 96 | 85 | 1020 | 206 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-11 | 7.4 | 194 | 84 | N/S | 191 | 157 | 1210 | 276 | 32 | 18.9 | <0.25 | 4.53 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-12 | 7.3 | 122 | 79 | 18 | 104 | 92 | 1118 | 222 | 28 | 21.1 | <0.25 | 3.8 | <0.005 | 14 | 0.8 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-07-13 | 7.1 | 192 | 103 | N/S | T/X | T/X | 1230 | 318 | 32 | 18.6 | <0.25 | 5.1 | N/S | N/S | N/S | <0.002 | 0.061 | <0.002 | <0.004 | 0.078 | 1.2 | N/S | 0.003 | 0.061 | <0.5 | 0.003 | <0.004 | <0.004 | 0.138 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-07-14 | 7.1 | 376 | 195 | N/S | 560 | 496 | 1632 | 652 | 42 | 21.5 | <0.25 | 7.92 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-15 | 7.2 | 169 | 93 | N/S | 190 | 156 | 1354 | 310 | 30 | 17.8 | <0.25 | 4.57 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-16 | 7.5 | N/S | N/S | N/S | 232 | 204 | 1406 | 366 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-17 | 7.4 | N/S | N/S | N/S | 236 | 192 | 1386 | 348 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-18 | 7.3 | 349 | 137 | N/S | 570 | 430 | 1838 | 594 | 59 | 19.1 | 1.21 | 9.09 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-19 | 7.4 | 234 | 136 | 11 | 308 | 272 | 1360 | 392 | 34 | 21.7 | <0.25 | 4.89 | 0.013 | 11 | 1 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-07-20 | 7.4 | 264 | 130 | N/S | 304 | 260 | 1304 | 402 | 49 | 21.8 | <0.25 | 6.27 | N/S | N/S | N/S | <0.002 | 0.059 | <0.002 | <0.004 | 0.103 | 1.52 | N/S | 0.003 | 0.069 | <0.5 | 0.004 | <0.004 | <0.004 | 0.183 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-07-21 | 7.4 | 187 | 132 | N/S | 324 | 260 | 1270 | 408 | 41 | 22.6 | <0.25 | 5.57 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-22 | 7.5 | 184 | 97 | N/S | 316 | 272 | 1278 | 434 | 40 | 23 | <0.25 | 6.1 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-23 | 7.3 | N/S | N/S | N/S | S/X | S/X | S/X | S/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-24 | 7.4 | N/S | N/S | N/S | S/X | S/X | S/X | S/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-25 | 7.5 | 339 | 227 | N/S | 472 | 404 | 1396 | 558 | 54 | 21.7 | <0.25 | 8.22 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-26 | 7.4 | 258 | 175 | 10 | 364 | 320 | 1386 | 432 | T/X | 22 | <0.25 | T/X | 0.005 | 8 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-07-27 | 7.4 | 207 | 226 | N/S | 420 | 352 | 1494 | 450 | T/X | 22.2 | <0.25 | T/X | N/S | N/S | N/S | <0.002 | 0.081 | <0.002 | <0.004 | 0.139 | 1.92 | N/S | 0.004 | 0.093 | <0.5 | 0.005 | <0.004 | <0.004 | 0.248 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-07-28 | 6.9 | 216 | 123 | N/S | 336 | 260 | 1042 | 344 | 30 | 14.9 | 0.68 | 5.12 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-29 | 7.4 | 173 | 81 | N/S | 176 | 132 | 1184 | 252 | 30 | 16.8 | <0.25 | 4.4 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-30 | 7.5 | N/S | N/S | N/S | 152 | 124 | 1388 | 326 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-31 | 7.4 | N/S | N/S | N/S | 496 | 420 | 1652 | 596 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-01 | 7.5 | 160 | 126 | N/S | 312 | 264 | 1428 | 412 | 47 | 22.8 | <0.25 | 5.76 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-02 | 7.4 | 166 | 123 | 20 | 206 | 178 | 1204 | 320 | 35 | 23 | <0.25 | 5.08 | 0.012 | 10 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-08-03 | 7.5 | 138 | 85 | N/S | 484 | 408 | 1458 | 560 | 49 | 22.8 | <0.25 | 7.39 | N/S | N/S | N/S | <0.002 | 0.088 | <0.002 | <0.004 | 0.181 | 2.17 | 0.17 | 0.005 | 0.107 | <0.5 | 0.005 | <0.004 | <0.004 | 0.275 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-08-04 | 7.4 | 81 | 66 | N/S | 200 | 164 | 1290 | 338 | 31 | 21.8 | <0.25 | 4.83 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-05 | 7.4 | T/X | 93 | N/S | 388 | 324 | 1572 | 554 | 38 | 21.3 | <0.25 | 7.03 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-06 | 7.4 | N/S | N/S | N/S | 260 | 228 | 1474 | 382 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-07 | 7.4 | N/S | N/S | N/S | 1130 | 920 | 2112 | 988 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-08 | 7.4 | T/X | T/X | N/S | 410 | 340 | 1524 | 482 | 39 | 21.4 | <0.25 | 6.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-09 | 7.3 | 86 | 77 | 18 | 320 | 276 | 1440 | 418 | 38 | 22.7 | <0.25 | 6.17 | 0.013 | 15 | 1 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-08-10 | 7.3 | 80 | 51 | N/S | 272 | 192 | 1410 | 356 | 33 | 21.1 | <0.25 | 5.5 | N/S | N/S | N/S | <0.002 | 0.067 | <0.002 | <0.004 | 0.094 | 1.28 | N/S | 0.003 | 0.083 | <0.5 | 0.003 | <0.004 | <0.004 | 0.157 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-08-11 | 7.3 | 95 | 68 | N/S | 320 | 228 | 1286 | 364 | 32 | 19 | <0.25 | 5.2 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-12 | 7.3 | 129 | 77 | N/S | 152 | 144 | 1174 | 270 | 35 | 19.7 | 0.29 | 5.38 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-13 | 7.3 | N/S | N/S | N/S | 376 | 316 | 1462 | 464 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-14 | 7.4 | N/S | N/S | N/S | 228 | 176 | 1238 | 370 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-15 | 7.4 | 116 | 84 | N/S | 316 | 264 | 1256 | 400 | 57 | 24.6 | <0.25 | 9.93 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-16 | 7.3 | 75 | 54 | 10 | 200 | 156 | 1188 | 366 | 31 | 22.3 | <0.25 | 5.13 | <0.005 | 15 | 1 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-08-17 | 7.3 | 78 | 81 | N/S | 160 | 140 | 1162 | 316 | 34 | 22.6 | 0.31 | 5.24 | N/S | N/S | N/S | <0.002 | 0.05 | <0.002 | <0.004 | 0.056 | 0.62 | N/S | <0.002 | 0.054 | <0.5 | 0.002 | <0.004 | <0.004 | 0.106 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-08-18 | 7.3 | 107 | 90 | N/S | 188 | 156 | 1198 | 342 | 36 | 22.2 | <0.25 | 5.67 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-19 | 7.4 | 85 | 60 | N/S | 200 | 172 | 1220 | 366 | 30 | 21.8 | 0.3 | 5.48 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-20 | 7.2 | N/S | N/S | N/S | 220 | 192 | 1200 | 348 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-21 | 7 | N/S | N/S | N/S | 288 | 248 | 1120 | 414 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-22 | 7.7 | 78 | 64 | N/S | 204 | 156 | 1072 | 302 | 30 | 17.8 | <0.25 | 2.39 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-23 | 7.2 | 76 | 59 | 17 | 204 | 160 | 1184 | 360 | 35 | 21.2 | <0.25 | 5.56 | <0.005 | 19 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-08-24 | 7.1 | 68 | 54 | N/S | 148 | 112 | 1078 | 260 | 31 | 18.8 | 0.58 | 4.72 | N/S | N/S | N/S | <0.002 | 0.048 | <0.002 | <0.004 | 0.055 | 0.73 | N/S | 0.002 | 0.055 | <0.5 | 0.003 | <0.004 | <0.004 | 0.102 | 0.002 | <0.002 | <0.002 | N/S | N/S
2021-08-25 | 7.2 | 68 | 54 | N/S | 76 | 61 | 854 | 188 | 21 | 14.1 | 1.4 | 3.06 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-26 | 7.5 | 65 | 36 | N/S | 96 | 68 | 812 | 186 | 16 | 10.1 | 1.68 | 2.48 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-27 | 7.1 | N/S | N/S | N/S | 75 | 57 | 1024 | 198 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-28 | 7.4 | N/S | N/S | N/S | 130 | 108 | 1218 | 320 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-29 | 7.2 | T/X | T/X | N/S | 110 | 92 | 1194 | 286 | 29 | 17.7 | <0.25 | 4.37 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-30 | 7 | T/X | T/X | 19 | 126 | 110 | 1364 | 344 | 25 | 17.9 | <0.25 | 3.76 | 0.009 | 15 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-08-31 | 7.1 | T/X | T/X | N/S | 100 | 80 | 1300 | 282 | 28 | 19.3 | <0.25 | 4.12 | N/S | N/S | N/S | <0.002 | 0.044 | <0.002 | <0.004 | 0.037 | 0.53 | N/S | <0.002 | 0.061 | <0.5 | 0.002 | <0.004 | <0.004 | 0.067 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-09-01 | 7.1 | T/X | T/X | N/S | 176 | 156 | 1532 | 380 | 35 | 21.3 | <0.25 | 5.35 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-02 | 7.1 | T/X | T/X | N/S | 990 | 810 | 2410 | 1014 | 66 | 17.9 | 0.4 | 11.91 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-03 | 7.1 | N/S | N/S | N/S | 244 | 178 | 1468 | 354 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-04 | 7.1 | N/S | N/S | N/S | 72 | 68 | 1306 | 230 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-05 | 7.2 | T/X | T/X | N/S | 328 | 300 | 1572 | 474 | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-06 | 7.3 | 188 | 96 | 17 | 138 | 124 | 1312 | 296 | 33 | 22 | <0.25 | 11.28 | 0.016 | 9 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-07 | 7.3 | 274 | 126 | N/S | 216 | 172 | 1224 | 340 | 34 | 17.9 | 0.98 | 5.26 | N/S | N/S | N/S | <0.002 | 0.064 | <0.002 | <0.004 | 0.105 | 1.48 | 0.05 | 0.004 | 0.093 | <0.5 | 0.003 | <0.004 | <0.004 | 0.172 | <0.002 | <0.002 | <0.002 | <3 | N/S
2021-09-08 | 7.3 | 250 | 134 | N/S | 268 | 224 | 1266 | 408 | 35 | 19.7 | <0.25 | 5.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-09 | 7 | 187 | 130 | N/S | 212 | 168 | 1238 | 368 | 32 | 21.6 | <0.25 | 4.66 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-10 | 7.3 | N/S | N/S | N/S | T/X | T/X | 1066 | 184 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-11 | 7.3 | N/S | N/S | N/S | 46 | 41 | 1066 | 184 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-12 | 7.3 | N/S | N/S | N/S | 109 | 85 | 1164 | 228 | 29 | 23.1 | <0.25 | 4.09 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-13 | 7.2 | T/X | T/X | 22 | 970 | 610 | 2200 | 766 | 52 | 22.4 | <0.25 | 9.05 | <0.005 | 8 | 1 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-09-14 | 7.2 | T/X | T/X | N/S | 160 | 156 | 1234 | 302 | 35 | 22.1 | 0.59 | 5.12 | N/S | N/S | N/S | <0.002 | 0.054 | <0.002 | <0.004 | 0.072 | 0.98 | N/S | 0.003 | 0.071 | <0.5 | 0.003 | <0.004 | <0.004 | 0.125 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-09-15 | 7.2 | T/X | T/X | N/S | 188 | 172 | 1416 | 376 | 41 | 24 | <0.25 | 6.13 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-16 | 7.1 | T/X | T/X | N/S | 470 | 440 | 1790 | 678 | 49 | 23.4 | <0.25 | 7.93 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-17 | 7.2 | N/S | N/S | N/S | 320 | 276 | 1746 | 612 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-18 | 7.3 | N/S | N/S | N/S | 340 | 292 | 1618 | 534 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-19 | 7.4 | N/S | N/S | N/S | 300 | 248 | 1706 | 596 | 42 | 27.3 | 0.37 | 6.84 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-20 | 7.4 | T/X | 109 | 14 | 208 | 172 | 1488 | 454 | 33 | 21.7 | <0.25 | 5.22 | 0.005 | 12 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-09-21 | 7.4 | 152 | 86 | N/S | 112 | 88 | 1318 | 328 | 25 | 17.3 | 1.35 | 3.74 | N/S | N/S | N/S | <0.002 | 0.052 | <0.002 | <0.004 | 0.046 | 0.61 | N/S | <0.002 | 0.058 | <0.5 | 0.002 | <0.004 | <0.004 | 0.073 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-09-22 | 7.3 | 196 | 86 | N/S | 158 | 132 | 1344 | 292 | 29 | 18.1 | 1.08 | 4.37 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-23 | 7.1 | 229 | 125 | N/S | 132 | 108 | 1492 | 324 | 34 | 22.3 | <0.25 | 4.78 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-24 | 7.3 | N/S | N/S | N/S | T/X | T/X | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-25 | 7.3 | N/S | N/S | N/S | 860 | 700 | 2090 | 882 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-26 | 7.3 | N/S | N/S | N/S | 110 | 94 | 1318 | 262 | 32 | 23 | <0.25 | 4.4 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-27 | 7.2 | 191 | 119 | 7 | 216 | 168 | 1512 | 380 | 33 | 20.8 | 0.83 | 5.1 | 0.006 | 8 | 0.9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S
2021-09-28 | 7.2 | 328 | 182 | N/S | 284 | 252 | 1502 | 444 | 28 | 22.9 | 0.63 | 4.43 | N/S | N/S | N/S | <0.002 | 0.064 | <0.002 | <0.004 | 0.097 | 1.16 | N/S | 0.003 | 0.095 | <0.5 | 0.003 | <0.004 | <0.004 | 0.148 | <0.002 | <0.002 | <0.002 | N/S | N/S
2021-09-29 | 7.1 | T/X | 116 | N/S | 160 | 132 | 1434 | 316 | 32 | 18.5 | 1.25 | 4.85 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-30 | 7.4 | T/X | 128 | N/S | 214 | 164 | 1480 | 354 | 35 | 21 | 0.79 | 5.33 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
RL effective 1/1/21 |  | 2 | 2 | 5 | 4 | 4 | 25 |  | 1 | 0.3 | 0.25 | 0.15 | 0.005 | 5 | 0.1 | 0.001 | 0.001 | 0.001 | 0.002 | 0.001 | 0.01 | 0.01 | 0.001 | 0.001 | 0.5 | 0.001 | 0.002 | 0.002 | 0.005 | 0.001 | 0.001 | 0.001 | 3
Observations | 259 | 103 | 108 | 39 | 249 | 248 | 244 | 244 | 85 | 206 | 206 | 85 | 38 | 38 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 9 | 39 | 39 | 26 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 38 | 0
Minimum | 6.9 | 41 | 22 | <5 | 35 | 25 | 674 | 136 | 11 | 5.7 | <0.25 | 1.45 | <0.005 | <5 | 0.5 | <0.002 | 0.042 | <0.002 | <0.004 | 0.023 | 0.27 | 0.05 | <0.002 | 0.02 | <0.5 | 0.002 | <0.004 | <0.004 | 0.031 | <0.002 | <0.002 | <0.002 | <3
Mean | 7.4 | 176 | 103 | <15 | 298 | 220 | 1423 | 401 | 36 | 18.5 | <0.63 | 5.53 | <0.010 | <11 | 0.9 | <0.001 | 0.064 | <0.001 | <0.003 | 0.084 | 1.09 | 0.13 | <0.003 | 0.066 | <0.4 | 0.003 | <0.003 | <0.003 | 0.148 | <0.002 | <0.001 | <0.001 | <2
Maximum | 7.8 | 379 | 242 | 34 | 9300 | 1832 | 9678 | 7722 | 66 | 31.7 | 4.14 | 11.91 | 0.031 | 19 | 1 | 0.003 | 0.138 | <0.002 | 0.009 | 0.31 | 3.52 | 0.18 | 0.009 | 0.148 | 0.7 | 0.009 | <0.004 | <0.004 | 0.558 | 0.002 | <0.002 | <0.002 | <3
*Effective 1/1/21, means are no longer calculated using the Reporting Limit value in place of non-detect/<LOQ results and are now calculated by replacing any non-detect/<LOQ results with the Reporting Limit/(SQRT2).
January 1-24, 2021, TS, VTS, NH3, NO2+NO3, T/X: Minimal staffing due to COVID-19.
January 4, 2021, PHENOL, T/X: Sample was not sent to lab for analysis.
January 14, 2021, BOD5, CBOD, T/X: LCS failure.
January 25, 2021, BOD5, CBOD, T/X: Dilution water blank failure.
January, 2021, ALL OTHER BOD5, CBOD, SS, VSS, T/X: Minimal staffing due to COVID-19.
February 1, 4, 2021, BOD5, CBOD, T/X: Dilution water blank failure.
February 3, 2021, SS, VSS, TS, VTS, T/X: Sample discared before analysis could take place.
February 6, 2021, VSS, T/X: VSS>VTS, holding time exceeded for retest.
February, 11, 12, 2021, MULTPLE TESTS, T/X: Holiday.
February, 11, 12, 2021, pH, T/X: Sampling error.
February, 13, 14, 2021, MULTPLE TESTS, T/X: Sample holding time exceeded.
February 13-24, 2021, pH, T/X: pH probe out of service.
February 16, 2021, CR6+, T/X: LCS failure.
February 17, 2021, TS, VTS, T/X: Thermal preservation compromised.
February, 2021, ALL OTHER BOD5, CBOD: Minimal staffing due to COVID-19.
March 1, 25, 2021, BOD5, CBOD, T/X: LCS failure.
March 8, 2021, FOG, CN, CR6+, T/X: No chain of custody.
March 13, 14, 2021, BOD5, CBOD, T/X: Dilution water blank failure.
March 29, 2021, CR6+, T/X: Sample analyzed on a different date.
March 2021, ALL OTHER BOD5, CBOD, T/X: Minimal staffing due to COVID-19.
January-March 2021, Hg, T/X: Digestion thermometer not calibrated.
April 24, 2021, NO2+NO3: Sample MS recovery failed but LCS passed.
April 2021, BOD5, CBOD, T/X: Minimal staffing due to COVID-19.
January-May 2021, TKN, P-TOT, T/X: Minimal staffing due to COVID-19.
May 3, 2021, CN, T/X: Analytical error, expired stock standard used.
May 20, 24, 2021, BOD5, CBOD, T/X: Incubator malfunction.
May 24, 2021, FOG: Sample MS recovery failed but LCS passed.
May 28, 29, 30, 2021, NH3, NO2+NO3, T/X: Minimal staffing due to COVID-19.
May 31, 2021, CN, T/X: Sample was not preserved within acceptable time. Resampled later to meet weekly requirement.
May 2021, ALL OTHER BOD5, CBOD, T/X: Minimal staffing due to COVID-19.
June 1, 2021, TKN: Sample MS recovery failed but LCS passed.
June 4, 5, 11, 12, 2021, TKN, TOT-P, NH3, NO2+NO3, T/X: Sample holding time exceeded.
June 8, 2021, NH3, NO2+NO3: Sample MS recovery failed but LCS passed.
June 10, 2021, BOD5, T/X: None of the dilutions met the acceptance criteria.
June 21, 2021, FOG: Sample MS recovery failed but LCS passed.
July 4, 2021, BOD5, CBOD, TKN , NH3, NO2+NO3, TOT-P, T/X: Delivered outside holding time.
July 6, 2021, CR6+, T/X: Sample analyzed on a different date.
July 12, 20, 2021, TKN: Sample MS recovery failed but LCS passed.
July 13, 2021, SS, VSS, T/X: Precision failure.
July 23, 24, 2021, SS, VSS, TS, VTS, S/X: Sample was not received in the LIMS.
July 26, 27, 2021, TKN, P-TOT, T/X: Thermal preservation compromised.
August 5, 2021, BOD5, T/X: Precision failure.
August 8, 2021, BOD5, CBOD, T/X: LCS failure.
August 29, 2021, BOD5, CBOD, T/X: Final DO were not analyzed.
August 30, 31, 2021, BOD5, CBOD, T/X: Expired phosphate buffer used.
September 1, 2, 2021, BOD5, CBOD, T/X: Expired phosphate buffer used.
September 5, 2021, BOD5, CBOD, T/X: Sample not analyzed within holding time.
September 5, 2021, TKN, NH3, NO2+NO3, P-TOT, T/X: Sample was not chemically preserved.
September 10, 2021, SS, VSS, T/X: VSS>SS.
September 13, 14, 15, 16, 2021, BOD5, CBOD, T/X: Blank failure.
September 20, 29, 2021, BOD5, T/X: Precision failure.
September 24, 2021, SS, VSS, TS, VTS, T/X: Oily matrix noted as interference.
September 30, 2021, BOD5, T/X: Improper dilution.