## O'Brien Raw 2021
| BOD5 | CBOD5 | TS | SS | TKN | NH3-N | NO2+NO3 | P-TOT | P-SOL | Cl | F | FOG | Phenol | CN (GRAB) | CN AM | As | Ba | Cd | Cr_Tot | Cu | Fe_Tot | Pb | Mn | Hg | Ni | Se | Ag | Zn | Sb | Be | Tl | Cr_+6 | Fe_Sol | TOC
Date | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/l | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | mg/L
2021-01-01 | 84 | N/S | T/X | 92 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-02 | 62 | N/S | T/X | 84 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-03 | 71 | N/S | T/X | 59 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-04 | 71 | N/S | T/X | 63 | N/S | 12.45 | 0.65 | N/S | N/S | 265.43 | 0.5 | 22 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-05 | 81 | N/S | T/X | 65 | 19 | T/X | T/X | 2.43 | N/S | N/S | N/S | N/S | N/S | 0.02 | <0.005 | <0.002 | 0.035 | <0.002 | <0.004 | 0.025 | 0.5 | 0.002 | 0.037 | T/X | 0.087 | <0.004 | <0.004 | 0.065 | <0.002 | <0.002 | <0.002 | <3 | 0.12 | N/S
2021-01-06 | 83 | N/S | T/X | 80 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 11 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-07 | 85 | N/S | T/X | 80 | N/S | 14.2 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-08 | 119 | N/S | T/X | 108 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-09 | 102 | N/S | T/X | 80 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-10 | 89 | N/S | T/X | 90 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-11 | 83 | N/S | T/X | 74 | N/S | 15.39 | <0.25 | N/S | N/S | 138.24 | 0.6 | S/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-12 | 101 | N/S | T/X | 82 | 23 | T/X | T/X | 2.98 | N/S | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.033 | <0.002 | <0.004 | 0.031 | 0.43 | 0.002 | 0.039 | T/X | 0.035 | <0.004 | <0.004 | 0.067 | <0.002 | <0.002 | <0.002 | <3 | 0.13 | N/S
2021-01-13 | 125 | N/S | T/X | 120 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 17 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-14 | 140 | N/S | T/X | 130 | N/S | 16.31 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-15 | 187 | N/S | T/X | 317 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-16 | 65 | N/S | T/X | 57 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-17 | 79 | N/S | T/X | 80 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-18 | 79 | N/S | T/X | 88 | N/S | 15.5 | 0.56 | N/S | N/S | 212.54 | 0.6 | 21 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-19 | 100 | N/S | T/X | 88 | 24 | T/X | T/X | 3.18 | N/S | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.04 | <0.002 | <0.004 | 0.036 | 0.67 | 0.002 | 0.044 | T/X | 0.015 | <0.004 | <0.004 | 0.074 | <0.002 | <0.002 | <0.002 | <3 | 0.13 | N/S
2021-01-20 | S/X | N/S | S/X | S/X | N/S | S/X | S/X | N/S | N/S | S/X | N/S | N/S | 15 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-21 | 106 | N/S | T/X | 78 | N/S | 14.96 | 0.4 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-22 | 113 | N/S | T/X | 114 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-23 | 103 | N/S | T/X | 90 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-24 | 125 | N/S | T/X | 116 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-25 | 100 | N/S | T/X | 94 | N/S | 17.31 | <0.25 | N/S | N/S | 145.09 | 0.7 | 32 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-26 | 110 | N/S | T/X | 122 | 26 | T/X | T/X | 3.67 | N/S | N/S | N/S | N/S | N/S | 0.006 | <0.005 | <0.002 | 0.05 | <0.002 | <0.004 | 0.028 | 0.63 | 0.002 | 0.048 | T/X | 0.011 | <0.004 | <0.004 | 0.065 | <0.002 | <0.002 | <0.002 | <3 | 0.16 | N/S
2021-01-27 | 98 | N/S | T/X | 84 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 15 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-28 | 122 | N/S | T/X | 96 | N/S | 16.55 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-29 | 107 | N/S | T/X | 102 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-30 | 89 | N/S | T/X | 82 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-31 | 111 | N/S | T/X | 102 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-01 | 73 | N/S | T/X | 122 | N/S | 14.44 | <0.25 | N/S | N/S | 2019.69 | 0.5 | 27 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-02 | 74 | N/S | T/X | 92 | 20 | T/X | T/X | 2.74 | N/S | N/S | N/S | N/S | N/S | 0.017 | <0.005 | <0.002 | 0.052 | <0.002 | <0.004 | 0.032 | 0.68 | 0.002 | 0.047 | T/X | 0.011 | <0.004 | <0.004 | 0.064 | <0.002 | <0.002 | <0.002 | <3 | 0.14 | N/S
2021-02-03 | 95 | N/S | T/X | 112 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 17 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-04 | 139 | N/S | T/X | 188 | N/S | 14.99 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-05 | 104 | N/S | T/X | 118 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-06 | 96 | N/S | T/X | 82 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-07 | 78 | N/S | T/X | 66 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-08 | 80 | N/S | T/X | 58 | N/S | 14.32 | <0.25 | N/S | N/S | 274.3 | 0.7 | 27 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-09 | 108 | N/S | T/X | 108 | 26 | T/X | T/X | 3.41 | N/S | N/S | N/S | N/S | N/S | 0.005 | <0.005 | <0.002 | 0.043 | <0.002 | <0.004 | 0.039 | 0.6 | 0.002 | 0.046 | T/X | 0.011 | <0.004 | <0.004 | 0.071 | <0.002 | <0.002 | <0.002 | <3 | 0.13 | N/S
2021-02-10 | 105 | N/S | T/X | 94 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 20 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-11 | 110 | N/S | T/X | 98 | N/S | 16.02 | 0.29 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-12 | 108 | N/S | T/X | 88 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-13 | 101 | N/S | T/X | 112 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-14 | 103 | N/S | T/X | 110 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-15 | 103 | N/S | T/X | 90 | N/S | 15.96 | 0.36 | N/S | N/S | 383.95 | 0.7 | 26 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-16 | 89 | N/S | T/X | 86 | 23 | T/X | T/X | 3.23 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <0.002 | 0.039 | <0.002 | <0.004 | 0.035 | 0.51 | <0.002 | 0.039 | T/X | 0.008 | <0.004 | <0.004 | 0.058 | <0.002 | <0.002 | <0.002 | N/S | 0.11 | N/S
2021-02-17 | 107 | N/S | T/X | 100 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 19 | 0.009 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-02-18 | 103 | N/S | T/X | 106 | N/S | 15.1 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-19 | 121 | N/S | T/X | 120 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-20 | 97 | N/S | T/X | 94 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-21 | 110 | N/S | T/X | 112 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-22 | 96 | N/S | T/X | 136 | N/S | 13.12 | 0.43 | N/S | N/S | 1968.62 | 0.9 | 34 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-23 | 107 | N/S | T/X | 198 | 19 | T/X | T/X | 2.85 | N/S | N/S | N/S | N/S | N/S | 0.013 | <0.005 | 0.002 | 0.076 | <0.002 | <0.004 | 0.049 | 1.42 | 0.006 | 0.063 | T/X | 0.007 | <0.004 | <0.004 | 0.125 | 0.002 | <0.002 | <0.002 | <3 | 0.13 | N/S
2021-02-24 | 65 | N/S | T/X | 100 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | <5 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-25 | 71 | N/S | T/X | 84 | N/S | 7.62 | 1.91 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-26 | 62 | N/S | T/X | 75 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-27 | 56 | N/S | T/X | 76 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-28 | 40 | N/S | T/X | 53 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-01 | 101 | N/S | T/X | 94 | N/S | 5.94 | 2.29 | N/S | N/S | 509.66 | 0.4 | 9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-02 | 110 | N/S | T/X | 79 | 15 | T/X | T/X | 2.18 | N/S | N/S | N/S | N/S | N/S | 0.007 | <0.005 | <0.002 | 0.062 | <0.002 | <0.004 | 0.028 | 0.58 | 0.002 | 0.052 | T/X | 0.007 | <0.004 | <0.004 | 0.047 | <0.002 | <0.002 | <0.002 | <3 | 0.09 | N/S
2021-03-03 | 79 | N/S | T/X | 76 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 5 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-04 | 72 | N/S | T/X | 71 | N/S | 9 | 1.5 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-05 | T/X | N/S | T/X | 172 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-06 | 75 | N/S | T/X | 70 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-07 | 79 | N/S | T/X | 80 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-08 | 69 | N/S | T/X | 69 | N/S | 10.67 | 0.71 | N/S | N/S | 313.69 | 0.6 | 23 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-09 | 71 | N/S | T/X | 84 | 16 | T/X | T/X | 2.5 | N/S | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.051 | <0.002 | 0.004 | 0.034 | 0.76 | 0.002 | 0.052 | T/X | 0.008 | <0.004 | <0.004 | 0.057 | <0.002 | <0.002 | <0.002 | <3 | 0.11 | N/S
2021-03-10 | 72 | N/S | T/X | 89 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 8 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-11 | 104 | N/S | T/X | 182 | N/S | 11.6 | 0.38 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-12 | 84 | N/S | T/X | 74 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-13 | 86 | N/S | T/X | 82 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-14 | 101 | N/S | T/X | 90 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-15 | 82 | N/S | T/X | 86 | N/S | 13.83 | <0.25 | N/S | N/S | 252.54 | 0.6 | 22 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-16 | 89 | N/S | T/X | 134 | 18 | T/X | T/X | 2.97 | N/S | N/S | N/S | N/S | N/S | 0.017 | <0.005 | <0.002 | 0.055 | <0.002 | <0.004 | 0.043 | 0.93 | 0.005 | 0.058 | T/X | 0.006 | <0.004 | <0.004 | 0.088 | 0.002 | <0.002 | <0.002 | <3 | 0.13 | N/S
2021-03-17 | 79 | N/S | T/X | 88 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 9 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-18 | 68 | N/S | T/X | 108 | N/S | 6.68 | 1.33 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-19 | T/X | N/S | T/X | 91 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-20 | T/X | N/S | T/X | 94 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-21 | T/X | N/S | T/X | 92 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-22 | T/X | N/S | T/X | 92 | N/S | 14.34 | <0.25 | N/S | N/S | 282.92 | 0.6 | 15 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-23 | 103 | N/S | T/X | 140 | 24 | T/X | T/X | 3.8 | N/S | N/S | N/S | N/S | N/S | 0.006 | <0.005 | <0.002 | 0.056 | <0.002 | <0.004 | 0.053 | 0.83 | 0.003 | 0.056 | T/X | 0.007 | <0.004 | <0.004 | 0.093 | 0.002 | <0.002 | <0.002 | <3 | 0.14 | N/S
2021-03-24 | 188 | N/S | T/X | 296 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 8 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-25 | 102 | N/S | T/X | 108 | N/S | 12.73 | 0.44 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-26 | 124 | N/S | T/X | 135 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-27 | 147 | N/S | T/X | 114 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-28 | 88 | N/S | T/X | 72 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-29 | 83 | N/S | T/X | 76 | N/S | 14.66 | <0.25 | N/S | N/S | 242.02 | 0.6 | 23 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-30 | 104 | N/S | T/X | 112 | 25 | T/X | T/X | 3.53 | N/S | N/S | N/S | N/S | N/S | 0.014 | <0.005 | <0.002 | 0.054 | <0.002 | <0.004 | 0.041 | 0.73 | 0.002 | 0.063 | T/X | 0.006 | <0.004 | <0.004 | 0.071 | 0.002 | <0.002 | <0.002 | <3 | 0.13 | N/S
2021-03-31 | 107 | N/S | T/X | 148 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 17 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-01 | 102 | N/S | T/X | 120 | N/S | 15.95 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-02 | 92 | N/S | T/X | 120 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-03 | 92 | N/S | T/X | 100 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-04 | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | N/S | S/X | S/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-05 | 96 | N/S | T/X | 98 | N/S | 15.49 | <0.25 | N/S | N/S | 200.61 | 0.6 | 33 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-06 | 131 | N/S | T/X | 344 | 29 | T/X | T/X | 4.96 | N/S | N/S | N/S | N/S | N/S | 0.006 | <0.005 | 0.003 | 0.064 | <0.002 | 0.004 | 0.061 | 3.01 | 0.007 | 0.126 | <0.5 | 0.011 | <0.004 | <0.004 | 0.122 | 0.002 | <0.002 | <0.002 | <3 | 0.13 | N/S
2021-04-07 | 129 | N/S | T/X | 176 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 24 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-08 | 165 | N/S | T/X | 417 | N/S | 12.16 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-09 | 240 | N/S | T/X | 338 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-10 | 169 | N/S | T/X | 229 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-11 | 73 | N/S | T/X | 98 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-12 | 88 | N/S | T/X | 88 | N/S | 14.74 | <0.25 | N/S | N/S | 210.07 | 0.5 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-13 | 98 | N/S | T/X | 104 | 27 | T/X | T/X | 3.67 | N/S | N/S | N/S | N/S | N/S | 0.006 | <0.005 | <0.002 | 0.049 | <0.002 | <0.004 | 0.042 | 0.78 | 0.005 | 0.055 | <0.5 | 0.006 | <0.004 | <0.004 | 0.111 | <0.002 | <0.002 | <0.002 | <3 | 0.13 | N/S
2021-04-14 | 130 | N/S | T/X | 182 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 18 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-15 | 145 | N/S | T/X | 138 | N/S | 18.31 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-16 | 101 | N/S | T/X | 120 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-17 | 129 | N/S | T/X | 146 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-18 | 127 | N/S | T/X | 142 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-19 | 143 | N/S | T/X | 130 | N/S | 17.67 | <0.25 | N/S | N/S | 181.35 | 0.6 | 31 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-20 | 113 | N/S | T/X | 108 | 26 | 16.26 | <0.25 | 3.58 | N/S | N/S | N/S | N/S | N/S | 0.006 | <0.005 | <0.002 | 0.044 | <0.002 | <0.004 | 0.041 | 0.67 | 0.003 | 0.048 | <0.5 | 0.005 | <0.004 | <0.004 | 0.082 | 0.002 | <0.002 | <0.002 | <3 | 0.17 | N/S
2021-04-21 | 289 | N/S | T/X | 317 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | S/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-22 | 229 | N/S | T/X | 362 | N/S | 17.67 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-23 | 109 | N/S | T/X | 98 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-24 | 109 | N/S | T/X | 94 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-25 | 120 | N/S | T/X | 106 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-26 | 114 | N/S | T/X | 120 | N/S | 18.61 | <0.25 | N/S | N/S | 163.52 | 0.6 | 29 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-27 | 108 | N/S | T/X | 129 | 31 | T/X | T/X | 4.53 | N/S | N/S | N/S | N/S | N/S | 0.007 | <0.005 | <0.002 | 0.05 | <0.002 | <0.004 | 0.046 | 0.83 | 0.003 | 0.056 | <0.5 | 0.019 | <0.004 | <0.004 | 0.105 | 0.002 | <0.002 | <0.002 | <3 | 0.16 | N/S
2021-04-28 | 111 | N/S | T/X | 133 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 24 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-29 | 101 | N/S | T/X | 110 | N/S | 16.3 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-30 | 112 | N/S | N/S | 122 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-01 | 106 | N/S | N/S | 146 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-02 | S/X | N/S | S/X | S/X | S/X | S/X | S/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-03 | 130 | N/S | N/S | 198 | N/S | 17.56 | <0.25 | N/S | N/S | 140.95 | 0.6 | 54 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-04 | 97 | N/S | N/S | 118 | 27 | 17.46 | <0.25 | 4.11 | N/S | N/S | N/S | N/S | N/S | 0.006 | <0.005 | <0.002 | 0.042 | <0.002 | <0.004 | 0.036 | 0.69 | 0.004 | 0.052 | <0.5 | 0.006 | <0.004 | <0.004 | 0.089 | 0.002 | <0.002 | <0.002 | <3 | 0.18 | N/S
2021-05-05 | S/X | N/S | S/X | S/X | S/X | S/X | S/X | N/S | N/S | N/S | N/S | N/S | 26 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-06 | 122 | N/S | N/S | 120 | N/S | 16.39 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-07 | 109 | N/S | N/S | 110 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-08 | 123 | N/S | N/S | 108 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-09 | 141 | N/S | N/S | 210 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-10 | 154 | N/S | N/S | 182 | N/S | 16.72 | <0.25 | N/S | N/S | 154.82 | 0.5 | 37 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-11 | 94 | N/S | N/S | 90 | 26 | 16.84 | <0.25 | 3.55 | N/S | N/S | N/S | N/S | N/S | 0.005 | <0.005 | <0.002 | 0.039 | <0.002 | <0.004 | 0.036 | 0.63 | 0.003 | 0.043 | <0.5 | 0.006 | <0.004 | <0.004 | 0.072 | 0.002 | <0.002 | <0.002 | <3 | 0.15 | N/S
2021-05-12 | 107 | N/S | N/S | 92 | N/S | T/X | T/X | N/S | N/S | N/S | N/S | N/S | 25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-13 | 111 | N/S | N/S | 128 | N/S | 19.02 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-14 | 112 | N/S | N/S | 134 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-15 | 122 | N/S | N/S | 150 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-16 | 126 | N/S | N/S | 146 | N/S | 18.13 | <0.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-17 | T/X | N/S | N/S | 124 | N/S | 18.75 | <0.25 | N/S | N/S | 143.16 | 0.6 | 30 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-18 | T/X | N/S | N/S | 144 | 28 | 18.29 | <0.25 | 3.8 | N/S | N/S | N/S | N/S | N/S | 0.009 | <0.005 | 0.002 | 0.039 | <0.002 | <0.004 | 0.032 | 0.85 | 0.003 | 0.049 | <0.5 | 0.006 | <0.004 | <0.004 | 0.095 | 0.002 | <0.002 | <0.002 | <3 | 0.12 | N/S
2021-05-19 | T/X | N/S | 910 | 342 | N/S | 15.55 | <0.25 | N/S | N/S | N/S | N/S | N/S | 30 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-20 | T/X | N/S | 808 | 156 | 26 | 17.46 | <0.25 | 4.38 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-21 | T/X | N/S | 740 | 142 | 29 | N/S | N/S | 4.55 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-22 | T/X | N/S | 724 | 122 | 29 | N/S | N/S | 4.12 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-23 | T/X | N/S | 742 | 164 | 33 | 18.87 | <0.25 | 5.25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-24 | 112 | N/S | 732 | 146 | 26 | 17.52 | <0.25 | 4.36 | N/S | 146.11 | 0.6 | 39 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-25 | 110 | N/S | 686 | 116 | 27 | 17.42 | <0.25 | 4.14 | 2.37 | N/S | N/S | N/S | N/S | 0.015 | 0.008 | <0.002 | 0.039 | <0.002 | <0.004 | 0.033 | 0.7 | 0.003 | 0.048 | <0.5 | 0.006 | <0.004 | <0.004 | 0.088 | <0.002 | <0.002 | <0.002 | <3 | 0.16 | N/S
2021-05-26 | 137 | N/S | 670 | 226 | 20 | 8.09 | 0.43 | 2.69 | N/S | N/S | N/S | N/S | 33 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-27 | 78 | N/S | 688 | 72 | 20 | 15.01 | <0.25 | 2.88 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-28 | 94 | N/S | 664 | 120 | 21 | N/S | N/S | 3.06 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-29 | 65 | N/S | 682 | 60 | 19 | N/S | N/S | 2.47 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-30 | 73 | N/S | 712 | 82 | 23 | 17.42 | <0.25 | 3.85 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-31 | 75 | N/S | 680 | 76 | 27 | 18.33 | <0.25 | 3.76 | N/S | 167.06 | 0.6 | 24 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-01 | 94 | N/S | 684 | 108 | 27 | 21.01 | <0.25 | 4.77 | 2.72 | N/S | N/S | N/S | N/S | 0.005 | <0.005 | <0.002 | 0.042 | <0.002 | <0.004 | 0.04 | 0.72 | 0.003 | 0.052 | <0.5 | 0.004 | <0.004 | <0.004 | 0.088 | <0.002 | <0.002 | <0.002 | <3 | 0.16 | N/S
2021-06-02 | 114 | N/S | 714 | 108 | 30 | 20.48 | <0.25 | 4.17 | N/S | N/S | N/S | N/S | 25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-03 | 103 | N/S | 750 | 106 | T/X | 19.28 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-04 | 109 | N/S | T/X | T/X | 30 | N/S | N/S | 4.28 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-05 | 113 | N/S | 698 | 132 | 28 | N/S | N/S | 3.95 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-06 | 89 | N/S | 688 | 130 | 27 | 19.71 | <0.25 | 3.78 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-07 | 126 | N/S | 736 | 196 | 34 | 22.68 | <0.25 | 5.06 | N/S | 137.88 | 0.6 | 30 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-08 | 121 | N/S | 722 | 164 | 34 | 22.65 | <0.25 | 4.91 | 2.68 | N/S | N/S | N/S | N/S | T/X | T/X | <0.002 | 0.057 | <0.002 | <0.004 | 0.07 | 1.1 | 0.006 | 0.068 | <0.5 | 0.009 | <0.004 | <0.004 | 0.12 | 0.002 | <0.002 | <0.002 | <3 | 0.17 | N/S
2021-06-09 | 132 | N/S | 730 | 146 | 27 | 19.75 | <0.25 | 5.13 | N/S | N/S | N/S | N/S | 32 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-10 | 127 | N/S | 680 | 138 | 28 | 18.35 | <0.25 | 3.85 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-11 | 125 | N/S | 698 | 164 | 31 | N/S | N/S | 4.92 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-12 | 150 | N/S | 732 | 250 | 26 | N/S | N/S | 4.55 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-13 | 84 | N/S | 684 | 82 | 23 | 15.15 | <0.25 | 3.06 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-14 | 111 | N/S | 668 | 94 | 27 | 17.72 | <0.25 | 3.66 | N/S | 144.93 | 0.6 | 25 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-15 | 84 | N/S | 650 | 68 | 25 | 17.05 | <0.25 | 3.75 | 2.01 | N/S | N/S | N/S | N/S | 0.005 | <0.005 | <0.002 | 0.04 | <0.002 | <0.004 | 0.039 | 0.73 | 0.004 | 0.052 | <0.5 | 0.008 | <0.004 | <0.004 | 0.08 | <0.002 | <0.002 | <0.002 | <3 | 0.16 | N/S
2021-06-16 | 111 | N/S | 714 | 130 | 29 | 19.17 | <0.25 | 4.69 | N/S | N/S | N/S | N/S | 22 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-17 | 123 | N/S | 676 | 122 | 29 | 19.06 | <0.25 | 4.3 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-18 | 158 | N/S | 750 | 296 | 22 | N/S | N/S | 4.6 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-19 | 193 | N/S | 784 | 252 | 29 | N/S | N/S | 4.73 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-20 | 86 | N/S | 584 | 48 | 22 | 16.38 | <0.25 | 3.19 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-21 | 49 | N/S | 724 | 114 | 11 | 5.8 | 2.09 | 1.53 | N/S | 171.85 | 0.4 | 8 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-22 | 124 | N/S | T/X | T/X | 23 | 14.62 | <0.25 | 3.57 | 1.42 | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.052 | <0.002 | <0.004 | 0.042 | 0.93 | 0.003 | 0.073 | <0.5 | 0.006 | <0.004 | <0.004 | 0.113 | <0.002 | <0.002 | <0.002 | <3 | 0.14 | N/S
2021-06-23 | 154 | N/S | 930 | 213 | 34 | 17.77 | <0.25 | 5.62 | N/S | N/S | N/S | N/S | 12 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-24 | 278 | N/S | 982 | 410 | 36 | 17.31 | <0.25 | 7.58 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-25 | 66 | N/S | 478 | 110 | 7 | N/S | N/S | 1.16 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-26 | 34 | N/S | 518 | 78 | 6 | N/S | N/S | 0.99 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-27 | 45 | N/S | 826 | 37 | 10 | 5.07 | 2.69 | 1.18 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-28 | 60 | N/S | 820 | 82 | 14 | 8.29 | 0.59 | 1.97 | N/S | 173.26 | 0.5 | 13 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-29 | 49 | N/S | 766 | 70 | 14 | 9 | 0.37 | 2.28 | 0.84 | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.049 | <0.002 | <0.004 | 0.033 | 0.64 | 0.003 | 0.058 | <0.5 | 0.005 | <0.004 | <0.004 | 0.065 | <0.002 | <0.002 | <0.002 | <3 | 0.14 | N/S
2021-06-30 | 51 | N/S | 704 | 61 | 14 | 9.05 | <0.25 | 1.89 | N/S | N/S | N/S | N/S | 5 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-01 | 54 | N/S | 750 | 78 | 15 | 9.64 | 1.31 | 2.33 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-02 | 72 | N/S | 828 | 114 | 22 | N/S | N/S | 3.28 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-03 | 71 | N/S | 808 | 110 | 20 | N/S | N/S | 3.69 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-04 | 81 | N/S | 782 | 114 | 21 | 16.91 | <0.25 | 4.16 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-05 | 67 | N/S | 768 | 110 | 25 | 16.89 | <0.25 | 4.12 | N/S | 178.58 | 0.6 | 16 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-06 | 72 | N/S | 744 | 98 | 24 | 16.03 | <0.25 | 3.67 | 1.77 | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.052 | <0.002 | <0.004 | 0.045 | 0.85 | 0.003 | 0.059 | <0.5 | 0.005 | <0.004 | <0.004 | 0.093 | <0.002 | <0.002 | <0.002 | S/X | 0.15 | N/S
2021-07-07 | 127 | N/S | 762 | 134 | 25 | 15.11 | <0.25 | 3.67 | N/S | N/S | N/S | N/S | 32 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-07-08 | 90 | N/S | 780 | 72 | 21 | 15.32 | <0.25 | 3.22 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-09 | 99 | N/S | 676 | 84 | 22 | N/S | N/S | 2.91 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-10 | 104 | N/S | 672 | 94 | 23 | N/S | N/S | 3.16 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-11 | 203 | N/S | 788 | 267 | 23 | 12.33 | <0.25 | 3.68 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-12 | 139 | N/S | 726 | 114 | 23 | 14.09 | <0.25 | 3.26 | N/S | 154.67 | 0.6 | 24 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-13 | 95 | N/S | 756 | 80 | 23 | 14.95 | <0.25 | 3.12 | 1.73 | N/S | N/S | N/S | N/S | 0.006 | <0.005 | <0.002 | 0.04 | <0.002 | <0.004 | 0.036 | 0.67 | 0.003 | 0.053 | <0.5 | 0.006 | <0.004 | <0.004 | 0.083 | <0.002 | <0.002 | <0.002 | <3 | 0.17 | N/S
2021-07-14 | 116 | N/S | 724 | 96 | 25 | 16.11 | <0.25 | 3.69 | N/S | N/S | N/S | N/S | 27 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-15 | 124 | N/S | 764 | 163 | 30 | 19.36 | <0.25 | 5.15 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-16 | 89 | N/S | 568 | 186 | 15 | N/S | N/S | 2.53 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-17 | 67 | N/S | 686 | 76 | 18 | N/S | N/S | 2.37 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-18 | 90 | N/S | 742 | 113 | 26 | 17.94 | <0.25 | 3.99 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-19 | 92 | N/S | 746 | 114 | 27 | 18.71 | <0.25 | 4.67 | N/S | 152.3 | 0.6 | 26 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-20 | 97 | N/S | 702 | 76 | 24 | 16.58 | <0.25 | 3.38 | 2.16 | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.041 | <0.002 | <0.004 | 0.034 | 0.64 | 0.002 | 0.049 | <0.5 | 0.004 | <0.004 | <0.004 | 0.07 | <0.002 | <0.002 | <0.002 | <3 | 0.15 | N/S
2021-07-21 | 91 | N/S | 716 | 72 | 23 | 16.11 | <0.25 | 3.22 | N/S | N/S | N/S | N/S | 29 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-22 | 95 | N/S | 660 | 104 | 27 | 18.17 | <0.25 | 3.96 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-23 | 94 | N/S | 660 | 120 | 23 | N/S | N/S | 3.47 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-24 | 109 | N/S | 656 | 102 | 23 | N/S | N/S | 3.22 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-25 | 70 | N/S | 582 | 94 | 15 | 10.1 | <0.25 | 2.22 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-26 | 64 | N/S | 640 | 55 | 18 | 14.37 | <0.25 | 2.76 | N/S | 144.89 | 0.7 | 44 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-27 | 102 | N/S | 660 | 98 | 24 | 17.17 | <0.25 | 3.77 | 2.08 | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.046 | <0.002 | <0.004 | 0.055 | 0.85 | 0.003 | 0.056 | <0.5 | 0.007 | <0.004 | <0.004 | 0.092 | <0.002 | <0.002 | <0.002 | <3 | 0.17 | N/S
2021-07-28 | 119 | N/S | 664 | 172 | 24 | 14.75 | <0.25 | 4.35 | N/S | N/S | N/S | N/S | 26 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-29 | 128 | N/S | 610 | 126 | T/X | 11.98 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-30 | 145 | N/S | T/X | T/X | 23 | N/S | N/S | 3.69 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-31 | 94 | N/S | 680 | 114 | 26 | N/S | N/S | 4.08 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-01 | 155 | 105 | 672 | 142 | 25 | 18.45 | <0.25 | 4.87 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 92
2021-08-02 | 132 | 85 | 698 | 140 | 23 | 18.83 | <0.25 | 3.5 | N/S | 128.86 | 0.7 | 28 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 81
2021-08-03 | 102 | 62 | 634 | 96 | 24 | 16.85 | <0.25 | 3.54 | 1.97 | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.039 | <0.002 | <0.004 | 0.036 | 0.75 | 0.003 | 0.046 | <0.5 | 0.005 | <0.004 | <0.004 | 0.079 | <0.002 | <0.002 | <0.002 | <3 | 0.17 | 66
2021-08-04 | 120 | 76 | 648 | 124 | 24 | 17.34 | <0.25 | 4.3 | N/S | N/S | N/S | N/S | 32 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 75
2021-08-05 | 200 | N/S | 818 | 192 | 24 | 18.9 | <0.25 | 4.34 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 111
2021-08-06 | 129 | N/S | 818 | 298 | 34 | N/S | N/S | 5.94 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 79
2021-08-07 | 146 | S/X | 732 | 210 | T/X | S/X | S/X | T/X | S/X | S/X | S/X | N/S | N/S | N/S | N/S | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | N/S | S/X | 87
2021-08-08 | 94 | N/S | 640 | 102 | T/X | 17.76 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 62
2021-08-09 | 204 | N/S | 732 | 304 | 25 | 13.13 | <0.25 | 4.24 | N/S | 100.98 | 0.5 | 27 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 113
2021-08-10 | T/X | T/X | 744 | 308 | T/X | 10.24 | <0.25 | T/X | T/X | N/S | N/S | N/S | N/S | <0.005 | <0.005 | 0.002 | 0.068 | <0.002 | <0.004 | 0.106 | 2.37 | 0.016 | 0.105 | <0.5 | 0.008 | <0.004 | <0.004 | 0.189 | 0.002 | <0.002 | <0.002 | <3 | 0.12 | T/X
2021-08-11 | T/X | T/X | 512 | 84 | T/X | 8.3 | 0.48 | T/X | N/S | N/S | N/S | N/S | <5 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | T/X
2021-08-12 | T/X | T/X | 592 | 70 | T/X | 13.43 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | T/X
2021-08-13 | 89 | N/S | 608 | 110 | 21 | N/S | N/S | 2.96 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 59
2021-08-14 | 92 | N/S | 616 | 74 | 23 | N/S | N/S | 2.98 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 61
2021-08-15 | 73 | N/S | 594 | 64 | 20 | 16.33 | <0.25 | 3.16 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 51
2021-08-16 | 90 | N/S | 654 | 80 | 24 | 17.33 | <0.25 | 3.18 | N/S | 127.07 | 0.6 | 28 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 60
2021-08-17 | 93 | 55 | 626 | 98 | 25 | 17.53 | <0.25 | 3.49 | 1.86 | N/S | N/S | N/S | N/S | 0.007 | <0.005 | <0.002 | 0.046 | <0.002 | <0.004 | 0.042 | 0.82 | 0.003 | 0.054 | <0.5 | 0.005 | <0.004 | <0.004 | 0.082 | <0.002 | <0.002 | <0.002 | <3 | 0.17 | 62
2021-08-18 | 160 | 108 | 816 | 187 | 35 | 23.66 | <0.25 | 5.2 | N/S | N/S | N/S | N/S | 37 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 94
2021-08-19 | 191 | 135 | 690 | 188 | 26 | 19.18 | <0.25 | 4.86 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 107
2021-08-20 | 135 | 87 | 664 | 102 | 24 | N/S | N/S | 3.6 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 82
2021-08-21 | 99 | 59 | 644 | 102 | 21 | N/S | N/S | 3.76 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 64
2021-08-22 | 94 | 56 | 604 | 98 | 18 | 15.23 | <0.25 | 3.03 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 62
2021-08-23 | 81 | 46 | 614 | 86 | 23 | 17.31 | <0.25 | 3.13 | N/S | 116.27 | 0.5 | 28 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 55
2021-08-24 | 129 | 83 | 648 | 84 | 24 | 17.08 | <0.25 | 3.24 | 1.89 | N/S | N/S | N/S | N/S | 0.006 | <0.005 | <0.002 | 0.035 | <0.002 | <0.004 | 0.033 | 0.56 | 0.003 | 0.042 | <0.5 | 0.005 | <0.004 | <0.004 | 0.07 | 0.002 | <0.002 | <0.002 | <3 | 0.18 | 79
2021-08-25 | 30 | 13 | 662 | 90 | 14 | 8.74 | 1.46 | 1.98 | N/S | N/S | N/S | N/S | <5 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 25
2021-08-26 | 56 | 29 | 574 | 72 | 16 | 10.95 | <0.25 | 2.37 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 41
2021-08-27 | 70 | 39 | 656 | 108 | 22 | N/S | N/S | 4.06 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 49
2021-08-28 | 103 | 62 | 680 | 138 | 24 | N/S | N/S | 3.73 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 66
2021-08-29 | 99 | 59 | 638 | 140 | 21 | 13.66 | <0.25 | 3.1 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 64
2021-08-30 | 68 | 37 | 586 | 59 | 21 | 15.03 | <0.25 | 2.61 | N/S | 127.77 | 0.6 | 22 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 48
2021-08-31 | 106 | 65 | 656 | 128 | 30 | 20.4 | <0.25 | 4.43 | 2.07 | N/S | N/S | N/S | N/S | 0.01 | <0.005 | <0.002 | 0.052 | <0.002 | <0.004 | 0.051 | 1.07 | 0.003 | 0.065 | <0.5 | 0.007 | <0.004 | <0.004 | 0.103 | <0.002 | <0.002 | <0.002 | <3 | 0.18 | 68
2021-09-01 | 110 | 68 | 642 | 114 | 23 | 17.46 | <0.25 | 3.95 | N/S | N/S | N/S | N/S | 31 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 70
2021-09-02 | 97 | 58 | 598 | 62 | 23 | 16.9 | <0.25 | 3.26 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 63
2021-09-03 | 72 | 40 | 644 | 78 | 23 | N/S | N/S | 3.63 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 50
2021-09-04 | 126 | 81 | 690 | 110 | 24 | N/S | N/S | 3.57 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 78
2021-09-05 | 123 | 78 | 680 | 118 | 27 | 20.73 | <0.25 | 4.19 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 76
2021-09-06 | 101 | 61 | 634 | 140 | 29 | 20.8 | <0.25 | 4.6 | N/S | 120.02 | 0.6 | 22 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 66
2021-09-07 | 164 | 112 | 746 | 182 | 22 | 16.92 | <0.25 | 3.31 | 1.89 | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.048 | <0.002 | <0.004 | 0.06 | 1.33 | 0.009 | 0.059 | <0.5 | 0.006 | <0.004 | <0.004 | 0.172 | <0.002 | <0.002 | <0.002 | <3 | 0.19 | 96
2021-09-08 | 139 | 91 | 668 | 174 | T/X | 16.22 | <0.25 | T/X | N/S | N/S | N/S | N/S | 27 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 84
2021-09-09 | 105 | 64 | 610 | 84 | T/X | 16.49 | <0.25 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 68
2021-09-10 | 106 | 65 | 678 | 150 | 29 | N/S | N/S | 4.5 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 68
2021-09-11 | 133 | 86 | 678 | 152 | 30 | N/S | N/S | 4.47 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 81
2021-09-12 | 87 | 51 | 576 | 85 | 23 | 16 | <0.25 | 3.04 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 58
2021-09-13 | 134 | 87 | 602 | 94 | 27 | 18.95 | <0.25 | 3.62 | N/S | 102.38 | 0.7 | 32 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 82
2021-09-14 | 139 | 91 | 634 | 138 | 32 | 21.73 | <0.25 | 4.63 | 2.45 | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.047 | <0.002 | <0.004 | 0.042 | 0.87 | 0.003 | 0.057 | <0.5 | 0.015 | <0.004 | <0.004 | 0.094 | <0.002 | <0.002 | <0.002 | <3 | 0.16 | 84
2021-09-15 | 131 | 84 | 650 | 116 | 31 | 21.23 | <0.25 | 4.3 | N/S | N/S | N/S | N/S | 52 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 80
2021-09-16 | 163 | 111 | 674 | 280 | 30 | 21.88 | <0.25 | 4.88 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 95
2021-09-17 | 152 | 102 | 630 | 150 | 29 | N/S | N/S | 4.51 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 90
2021-09-18 | 101 | 61 | 680 | 248 | 28 | N/S | N/S | 4.64 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 66
2021-09-19 | 100 | 60 | 616 | 130 | 26 | 19.36 | <0.25 | 3.99 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 65
2021-09-20 | 150 | 100 | 664 | 192 | 33 | 21.83 | <0.25 | 4.91 | N/S | 107.01 | 0.7 | 31 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 89
2021-09-21 | 122 | 78 | 568 | 146 | 22 | 13.56 | <0.25 | 3.45 | 1.67 | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.036 | <0.002 | <0.004 | 0.044 | 1.13 | 0.007 | 0.048 | <0.5 | 0.013 | <0.004 | <0.004 | 0.109 | 0.002 | <0.002 | <0.002 | <3 | 0.17 | 76
2021-09-22 | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | N/S | 20 | N/S | N/S | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | S/X | N/S | S/X | S/X
2021-09-23 | 63 | 34 | 586 | 62 | 22 | 15.44 | <0.25 | 2.79 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 45
2021-09-24 | 108 | 66 | 664 | 196 | 32 | N/S | N/S | 5.09 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 69
2021-09-25 | 80 | 45 | 572 | 158 | 25 | N/S | N/S | 3.85 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 54
2021-09-26 | 126 | 81 | 626 | 140 | 29 | 18.67 | <0.25 | 4.07 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 78
2021-09-27 | 109 | 67 | 628 | 112 | 27 | 18.89 | <0.25 | 4.19 | N/S | 107.34 | 0.6 | 14 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 69
2021-09-28 | 168 | 116 | 710 | 256 | 30 | 20.65 | <0.25 | 4.38 | 2.43 | N/S | N/S | N/S | N/S | <0.005 | <0.005 | <0.002 | 0.052 | <0.002 | <0.004 | 0.048 | 0.95 | 0.004 | 0.088 | <0.5 | 0.007 | <0.004 | <0.004 | 0.148 | <0.002 | <0.002 | <0.002 | <3 | 0.17 | 98
2021-09-29 | 128 | 82 | 640 | 148 | 30 | 21.43 | <0.25 | 4.57 | N/S | N/S | N/S | N/S | 34 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 79
2021-09-30 | 185 | 130 | 692 | 164 | 34 | 22.27 | <0.25 | 5.31 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 105
Reporting Limit | 2 | 2 | 25 | 2 | 1 | 0.3 | 0.25 | 0.15 | 0.15 | 0.5 | 0.1 | 5 | 5 | 0.005 | 0.005 | 0.001 | 0.001 | 0.001 | 0.002 | 0.001 | 0.01 | 0.001 | 0.001 | 0.5 | 0.001 | 0.002 | 0.002 | 0.005 | 0.001 | 0.001 | 0.001 | 3 | 0.01 | 5
Observations | 253 | 48 | 131 | 265 | 144 | 140 | 140 | 144 | 18 | 39 | 39 | 37 | 38 | 38 | 38 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 26 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 57
Minimum | 30 | 13 | 478 | 37 | 6 | 5.07 | <0.25 | 0.99 | 0.84 | 100.98 | 0.4 | 8 | <5 | <0.005 | <0.005 | <0.002 | 0.033 | <0.002 | <0.004 | 0.025 | 0.43 | <0.002 | 0.037 | <0.5 | 0.004 | <0.004 | <0.004 | 0.047 | <0.002 | <0.002 | <0.002 | <3 | 0.09 | 25
Mean | 107.5336 | 73.1458 | 686.855 | 126.1208 | 24.2917 | 16.0201 | <0.30 | 3.711 | 2.0006 | 277.241 | 0.59744 | 26.3784 | <21 | <0.007 | <0.004 | <0.002 | 0.047538 | <0.001 | <0.003 | 0.042487 | 0.88231 | <0.004 | 0.056538 | <0.4 | 0.010487 | <0.003 | <0.003 | 0.091256 | <0.002 | <0.001 | <0.001 | <2 | 0.14795 | 72.7193
Maximum | 289 | 135 | 982 | 417 | 36 | 23.66 | 2.69 | 7.58 | 2.72 | 2019.69 | 0.9 | 54 | 52 | 0.02 | 0.008 | 0.003 | 0.076 | <0.002 | 0.004 | 0.106 | 3.01 | 0.016 | 0.126 | <0.5 | 0.087 | <0.004 | <0.004 | 0.189 | 0.002 | <0.002 | <0.002 | <3 | 0.19 | 113
*Effective 1/1/21, means are no longer calculated using the Reporting Limit value in place of non-detect/<LOQ results and are now calculated by replacing any non-detect/<LOQ results with the Reporting Limit/(SQRT2).
**Effective 8/1/21. BOD5 and CBOD5 calculated from TOC.
January-April 2021, TS, NH3, NO2+NO3, T/X: Minimal staffing due to COVID-19.
January-March 2021, Tot Hg, T/X: Calibration expired for thermocouple used to track digestion.
January 11, 2021, FOG, S/X: Sample duplicate failure.
January 20, 2021, All analyses, S/X: Plant shutdown.
March 5, 2021, BOD5, T/X: Dilution water blank failure.
March 19-22, 2021, BOD5, T/X: Incubator malfunction outside temperature range.
April 4, 2021, All analyses, S/X: Sample did not meet thermal preservation requirements when delivered to lab.
April 12, 2021, FOG, T/X: LCS failure.
April 21, 2021, Phenol, S/X: Sample container broken in laboratory prior to analysis.
May 2, 2021, All analyses, S/X: Sample did not meet thermal preservation requirements when delivered to lab.
May 5, 2021, All analyses, S/X: Plant shutdown.
May 9, 12, 2021, NH3, NO2+NO3, T/X: Sample not chemically preserved.
May 17-23, 2021, BOD5, CBOD5, T/X: Temperature of incubator outside of acceptable range.
June 3, 2021, TKN, TOT PHOS, T/X: Thermal preservation lost due to cooler malfunction.
June 4, 2021, TS, SS, T/X: Thermal preservation lost due to cooler malfunction.
June 8, 2021, CN, CN AM, T/X: Holding time expired while the instrument was out of service.
June 22, 2021, TS, SS, T/X: Sample was non-representative containing excessive debris.
July 6, 2021, Cr+6, S/X: Sample never arrived at laboratory.
July 29, 2021, TKN, P-TOT, T/X: Thermal presevation lost due to cooler malfunction.
July 30, 2021, TS, SS, T/X: Thermal presevation lost due to cooler malfunction.
August 7, 2021, Various Tests, S/X: Test logged in by mistake.
August 7-8, 10-12 2021, TKN, P-TOT, T/X: Thermal presevation lost due to cooler malfunction.
August 10, 2021, P-SOL, T/X: Thermal presevation lost due to cooler malfunction.
August 10-12, 2021, BOD5, CBOD5, TOC, T/X: Thermal presevation lost due to cooler malfunction.
September 8-9, 2021, TKN, P-TOT, T/X: Thermal presevation lost due to cooler malfunction.
September 22, 2021, All Tests, S/X: Plant shutdown.