## Southwest Raw 2021
| FLOW | SS | VSS | TS | TVS | TKN | NH3-N | NO2+NO3-N | P-TOT | P-SOL | BOD5 | CBOD5 | CN (GRAB) | PHENOL | FOG | CN AM | F | SO4 | As | Ba | Cd | Cr | Cu | Fe | Pb | Mn | Hg | Ni | Se | Ag | Zn | Sb | Be | Tl | Cr6+ | Fe Sol | TOC
Date | MGD | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | mg/L
2021-01-01 | 438 | 416 | 308 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 327 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-02 | 438 | 373 | 273 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 269 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-03 | 437 | 385 | 300 | T/X | T/X | 35 | 12.6 | <0.25 | 7.74 | N/S | 299 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-04 | 406 | 340 | 253 | T/X | T/X | T/X | 14.8 | <0.25 | T/X | N/S | 251 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-01-05 | 223 | 473 | 353 | T/X | T/X | 40 | 14.7 | <0.25 | 9.34 | N/S | 327 | N/S | N/S | 7 | N/S | N/S | 0.7 | 131 | 0.004 | 0.085 | <0.002 | 0.02 | 0.09 | 2.43 | 0.012 | 0.157 | T/X | 0.032 | <0.004 | <0.004 | 0.196 | 0.002 | <0.002 | <0.002 | N/S | 0.13 | N/S
2021-01-06 | 221 | 520 | 390 | T/X | T/X | T/X | 16.5 | <0.25 | T/X | N/S | 369 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-07 | 136 | 507 | 400 | T/X | T/X | 27 | 16 | <0.25 | 7.43 | N/S | 311 | N/S | 0.01 | N/S | 12 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-08 | 219 | 4640 | 3460 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 1941 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-09 | 223 | 8320 | 6280 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-10 | 222 | 5880 | 4560 | T/X | T/X | T/X | 24.2 | <0.25 | T/X | N/S | 2363 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-11 | 222 | 7650 | 5800 | T/X | T/X | T/X | 25.5 | <0.25 | T/X | N/S | 2691 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-01-12 | 205 | 4300 | 3140 | T/X | T/X | 164 | 25.9 | <0.25 | 48.67 | N/S | 1863 | N/S | N/S | 7 | N/S | N/S | 0.5 | 97 | 0.019 | 0.632 | 0.004 | 0.184 | 1.053 | 24.89 | 0.104 | 1.089 | T/X | 0.125 | 0.009 | 0.014 | 1.573 | 0.005 | <0.002 | <0.002 | N/S | 1.87 | N/S
2021-01-13 | 212 | 1060 | 870 | T/X | T/X | T/X | 27 | <0.25 | T/X | N/S | 444 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-14 | 205 | 490 | 380 | T/X | T/X | 49 | 24.4 | <0.25 | 9.64 | N/S | 391 | N/S | 0.01 | N/S | 11 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-15 | 205 | 2390 | 1910 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 1164 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-16 | 206 | 1690 | 1420 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 890 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-17 | 205 | 525 | 410 | T/X | T/X | 48 | 17 | <0.25 | 10.84 | N/S | 381 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-18 | 204 | 330 | 250 | T/X | T/X | 42 | 18.4 | <0.25 | 8.77 | N/S | 286 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-19 | 205 | 425 | 330 | T/X | T/X | 28 | 22.8 | <0.25 | 6.71 | N/S | 275 | N/S | N/S | 7 | N/S | N/S | 0.7 | 123 | 0.003 | 0.074 | <0.002 | 0.012 | 0.071 | 1.85 | 0.008 | 0.128 | T/X | 0.013 | <0.004 | <0.004 | 0.148 | 0.002 | <0.002 | <0.002 | <3 | 0.12 | N/S
2021-01-20 | 204 | 345 | 265 | T/X | T/X | T/X | 21 | <0.25 | T/X | N/S | 274 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-21 | 205 | 465 | 375 | T/X | T/X | 50 | 22.1 | <0.25 | 10.54 | N/S | 325 | N/S | 0.007 | N/S | 13 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-22 | 206 | 676 | 532 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 517 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-23 | 206 | 380 | 310 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 361 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-24 | 210 | 370 | 300 | T/X | T/X | T/X | 18.5 | <0.25 | T/X | N/S | 300 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-25 | 209 | 613 | 487 | T/X | T/X | T/X | 23.5 | <0.25 | T/X | N/S | 296 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-01-26 | 210 | 460 | 380 | T/X | T/X | 53 | 23.1 | <0.25 | 12.02 | N/S | 377 | N/S | N/S | 9 | N/S | N/S | 0.7 | 146 | 0.002 | 0.075 | <0.002 | 0.01 | 0.064 | 1.73 | 0.007 | 0.138 | T/X | 0.027 | <0.004 | <0.004 | 0.175 | 0.002 | <0.002 | <0.002 | N/S | 0.18 | N/S
2021-01-27 | 207 | 467 | 393 | T/X | T/X | T/X | 23.6 | <0.25 | T/X | N/S | 365 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-28 | 206 | 473 | 393 | T/X | T/X | 49 | 21.6 | <0.25 | 10.82 | N/S | 393 | N/S | 0.017 | N/S | 16 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-29 | 208 | 520 | 430 | T/X | T/X | T/X | 25.1 | <0.25 | T/X | N/S | 401 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-30 | 208 | 470 | 390 | T/X | T/X | 56 | T/X | T/X | 13.42 | N/S | 374 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-31 | 208 | 513 | 427 | T/X | T/X | 53 | 25.2 | <2.50 | 12.31 | N/S | 379 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-01 | 207 | 405 | 305 | T/X | T/X | T/X | 24.7 | <0.25 | T/X | N/S | 603 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-02-02 | 204 | 500 | 375 | T/X | T/X | 51 | 24.2 | <0.25 | 10.63 | N/S | 682 | N/S | N/S | 8 | N/S | N/S | 0.8 | 163 | 0.002 | 0.088 | <0.002 | 0.01 | 0.067 | 1.96 | 0.006 | 0.159 | T/X | 0.014 | <0.004 | <0.004 | 0.148 | 0.002 | <0.002 | <0.002 | N/S | 0.23 | N/S
2021-02-03 | 204 | 830 | 660 | T/X | T/X | T/X | 26.1 | <0.25 | T/X | N/S | 502 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-04 | 201 | 693 | 527 | T/X | T/X | 65 | 26.9 | <0.25 | 14.52 | N/S | 569 | N/S | 0.018 | N/S | <5 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-05 | 203 | 580 | 430 | T/X | T/X | T/X | 24.8 | <0.25 | T/X | N/S | 438 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-06 | 203 | 400 | 295 | T/X | T/X | 53 | T/X | T/X | 10.64 | N/S | 366 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-07 | 204 | 493 | 400 | T/X | T/X | 57 | 28.2 | <0.25 | 12 | N/S | 400 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-08 | 205 | 567 | 460 | T/X | T/X | T/X | 25 | <0.25 | T/X | N/S | 402 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-02-09 | 204 | 430 | 360 | T/X | T/X | 49 | 27.4 | <0.25 | 10.01 | N/S | 385 | N/S | N/S | 13 | N/S | N/S | 0.7 | 134 | 0.003 | 0.076 | <0.002 | 0.007 | 0.057 | 1.74 | 0.006 | 0.129 | T/X | 0.292 | <0.004 | <0.004 | 0.166 | 0.002 | <0.002 | <0.002 | N/S | 0.11 | N/S
2021-02-10 | 203 | 345 | 280 | T/X | T/X | T/X | 25.4 | <0.25 | T/X | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-11 | 203 | 485 | 390 | T/X | T/X | 55 | 27.1 | <0.25 | 11.53 | N/S | 414 | N/S | 0.022 | N/S | 8 | 0.007 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-12 | 204 | 315 | 235 | T/X | T/X | T/X | 18.5 | <0.25 | T/X | N/S | 325 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-13 | 204 | 244 | 212 | T/X | T/X | 28 | T/X | T/X | 5.13 | N/S | 309 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-14 | 205 | 235 | 205 | T/X | T/X | 38 | 23.1 | <0.25 | 7.45 | N/S | 298 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-15 | 205 | 355 | 305 | T/X | T/X | T/X | 24.7 | <0.25 | T/X | N/S | 337 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-16 | 204 | 335 | 290 | T/X | T/X | 39 | 21.5 | <0.25 | 8.1 | N/S | 363 | N/S | N/S | 18 | N/S | N/S | 0.7 | 139 | 0.002 | 0.059 | 0.002 | 0.007 | 0.052 | 1.3 | 0.004 | 0.101 | T/X | 0.021 | <0.004 | <0.004 | 0.119 | <0.002 | <0.002 | <0.002 | T/X | 0.13 | N/S
2021-02-17 | 204 | 320 | 250 | T/X | T/X | T/X | 22.5 | <0.25 | T/X | N/S | 438 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-18 | 204 | 450 | 340 | T/X | T/X | 46 | 21.3 | <0.25 | 8.39 | N/S | 300 | N/S | 0.017 | N/S | 21 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-19 | 205 | 453 | 367 | T/X | T/X | T/X | 22.4 | <0.25 | T/X | N/S | 385 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-20 | 205 | 405 | 335 | T/X | T/X | 48 | T/X | T/X | 9.11 | N/S | 323 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-21 | 204 | 240 | 180 | T/X | T/X | 37 | 22.6 | <0.25 | 7.06 | N/S | 223 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-22 | 315 | 740 | 590 | T/X | T/X | T/X | 17 | <0.25 | T/X | N/S | 515 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-02-23 | 201 | 680 | 507 | T/X | T/X | 54 | 15.7 | <0.25 | 12.26 | N/S | 409 | N/S | N/S | <5 | N/S | N/S | 0.6 | 130 | 0.004 | 0.13 | <0.002 | 0.016 | 0.112 | 2.76 | 0.011 | 0.184 | T/X | 0.025 | <0.004 | <0.004 | 0.251 | 0.002 | <0.002 | <0.002 | N/S | 0.09 | N/S
2021-02-24 | 206 | 507 | 360 | T/X | T/X | T/X | 18.3 | 0.46 | T/X | N/S | 346 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-25 | 381 | 620 | 447 | T/X | T/X | 48 | 12.8 | 0.54 | 12.3 | N/S | 351 | N/S | 0.008 | N/S | 7 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-26 | 294 | 340 | 268 | T/X | T/X | T/X | 14.3 | 0.26 | T/X | N/S | 232 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-27 | 471 | 236 | 188 | T/X | T/X | 28 | T/X | T/X | 5.67 | N/S | 188 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-28 | 665 | 440 | 320 | T/X | T/X | 31 | 8.8 | 0.53 | 10.01 | N/S | 235 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-01 | 577 | 470 | 370 | T/X | T/X | T/X | 7.7 | 0.58 | T/X | N/S | 252 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-03-02 | 359 | 665 | 485 | T/X | T/X | 49 | 12.1 | <0.25 | 13.75 | N/S | 379 | N/S | N/S | <5 | N/S | N/S | 0.6 | 132 | 0.006 | 0.131 | <0.002 | 0.023 | 0.101 | 2.78 | 0.013 | 0.22 | T/X | 0.025 | <0.004 | <0.004 | 0.232 | 0.002 | <0.002 | <0.002 | N/S | 0.08 | N/S
2021-03-03 | 294 | 420 | 310 | T/X | T/X | T/X | 15.6 | <0.25 | T/X | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-04 | 270 | 245 | 200 | T/X | T/X | 34 | 16.3 | <0.25 | 6.51 | N/S | 194 | N/S | 0.013 | N/S | 15 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-05 | 512 | 172 | 132 | T/X | T/X | T/X | 12.1 | <0.25 | T/X | N/S | 156 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-06 | 341 | 244 | 196 | T/X | T/X | 29 | T/X | T/X | 6.64 | N/S | 193 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-07 | 467 | 400 | 312 | T/X | T/X | 31 | 12 | <0.25 | 7.54 | N/S | 227 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-08 | 447 | 212 | T/X | T/X | T/X | 25 | 12.2 | <0.25 | 5.66 | N/S | 199 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-03-09 | 664 | 156 | 128 | T/X | T/X | 22 | 10.8 | <0.25 | 4.34 | N/S | 123 | N/S | N/S | 10 | N/S | N/S | 0.5 | 91 | 0.002 | 0.067 | <0.002 | 0.007 | 0.033 | 1.14 | 0.004 | 0.089 | T/X | 0.009 | <0.004 | <0.004 | 0.081 | <0.002 | <0.002 | <0.002 | N/S | 0.11 | N/S
2021-03-10 | 664 | 360 | 292 | T/X | T/X | T/X | 11 | <0.25 | T/X | N/S | 232 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-11 | 447 | 410 | 350 | T/X | T/X | 46 | 15.6 | <0.25 | 10.41 | N/S | 337 | N/S | 0.017 | N/S | 17 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-12 | 205 | 730 | 580 | T/X | T/X | T/X | 22.4 | <0.25 | T/X | N/S | 458 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-13 | 205 | 640 | 520 | T/X | T/X | 51 | T/X | T/X | 13.26 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-14 | 204 | 550 | 420 | T/X | T/X | 35 | 15.8 | <0.25 | 8.38 | N/S | 334 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-15 | 204 | 513 | 400 | T/X | T/X | T/X | 20.8 | <0.25 | T/X | N/S | 402 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-03-16 | 204 | 507 | 400 | T/X | T/X | 44 | 15.7 | <0.25 | 10.14 | N/S | 428 | N/S | N/S | 8 | N/S | N/S | 0.6 | 136 | 0.004 | 0.095 | <0.002 | 0.016 | 0.076 | 2.47 | 0.011 | 0.182 | T/X | 0.015 | <0.004 | <0.004 | 0.199 | 0.002 | <0.002 | <0.002 | N/S | 0.32 | N/S
2021-03-17 | 293 | 710 | 570 | T/X | T/X | T/X | 17.5 | <0.25 | T/X | N/S | 617 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-18 | 573 | 2140 | 1520 | T/X | T/X | 87 | 13.8 | <0.25 | 22.17 | N/S | 810 | N/S | 0.022 | N/S | 7 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-19 | 334 | 580 | 487 | T/X | T/X | T/X | 16 | <0.25 | T/X | N/S | 407 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-20 | 334 | 264 | 192 | T/X | T/X | 26 | T/X | T/X | 6.29 | N/S | 260 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-21 | 399 | 392 | 308 | T/X | T/X | 31 | 12.5 | <0.25 | 6.99 | N/S | 271 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-22 | 267 | 453 | 353 | T/X | T/X | T/X | 15.7 | <0.25 | T/X | N/S | 379 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-03-23 | 203 | 536 | 408 | T/X | T/X | 49 | 19.4 | <0.25 | 10.15 | N/S | 399 | N/S | N/S | 13 | N/S | N/S | 0.7 | 137 | 0.004 | 0.109 | <0.002 | 0.015 | 0.099 | 2.75 | 0.014 | 0.172 | T/X | 0.016 | <0.004 | <0.004 | 0.234 | 0.003 | <0.002 | <0.002 | N/S | 0.27 | N/S
2021-03-24 | 202 | 264 | 200 | T/X | T/X | T/X | 18.7 | <0.25 | T/X | N/S | 263 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-25 | 203 | 238 | 184 | T/X | T/X | 40 | 26 | <0.25 | 6.38 | N/S | 290 | N/S | 0.01 | N/S | 11 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-26 | 331 | 440 | 336 | T/X | T/X | T/X | 13 | <0.25 | T/X | N/S | 315 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-27 | 203 | 300 | 240 | T/X | T/X | 30 | T/X | T/X | 7.46 | N/S | 290 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-28 | 203 | 380 | 310 | T/X | T/X | 33 | 14.2 | <0.25 | 8.79 | N/S | 335 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-29 | 203 | 610 | 430 | T/X | T/X | T/X | 16.3 | <0.25 | T/X | N/S | 388 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-03-30 | 204 | 700 | 530 | T/X | T/X | 64 | 18.1 | <0.25 | 17.74 | N/S | 483 | N/S | N/S | 7 | N/S | N/S | 0.7 | 142 | 0.006 | 0.131 | <0.002 | 0.025 | 0.141 | 3.16 | 0.019 | 0.264 | T/X | 0.021 | <0.004 | <0.004 | 0.281 | 0.003 | <0.002 | <0.002 | N/S | 0.27 | N/S
2021-03-31 | 202 | 630 | 530 | T/X | T/X | T/X | 14.4 | <0.25 | T/X | N/S | 429 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-01 | 203 | 408 | 320 | T/X | T/X | 45 | 18.2 | <0.25 | 11.31 | N/S | 303 | N/S | 0.012 | N/S | 11 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-02 | 204 | 460 | 368 | T/X | T/X | T/X | 23.3 | <0.25 | T/X | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-03 | 205 | 315 | 290 | T/X | T/X | 43 | T/X | T/X | 8.65 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-04 | 204 | 296 | 216 | T/X | T/X | 40 | 21.4 | <0.25 | 8.45 | N/S | 281 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-05 | 202 | 340 | 275 | T/X | T/X | T/X | 21.9 | <0.25 | T/X | N/S | 305 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-04-06 | 203 | 325 | 260 | T/X | T/X | 42 | 19.1 | <0.25 | 8.77 | N/S | 331 | N/S | N/S | 37 | N/S | N/S | 0.7 | 149 | 0.003 | 0.073 | <0.002 | 0.01 | 0.064 | 1.95 | 0.009 | 0.136 | <0.5 | 0.015 | <0.004 | <0.004 | 0.142 | 0.002 | <0.002 | <0.002 | N/S | 0.17 | N/S
2021-04-07 | 203 | 324 | 232 | T/X | T/X | T/X | 19.2 | <0.25 | T/X | N/S | 325 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-08 | 354 | 540 | 413 | T/X | T/X | 45 | 17.6 | <0.25 | 10.01 | N/S | 361 | N/S | 0.009 | N/S | 31 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-09 | 291 | 660 | 500 | T/X | T/X | T/X | 12.5 | <0.25 | T/X | N/S | 387 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-10 | 203 | 580 | 430 | T/X | T/X | 45 | 15.5 | <0.25 | 11.22 | N/S | 390 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-11 | 204 | 872 | 608 | T/X | T/X | 58 | 13.5 | <0.25 | 17.51 | N/S | 303 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-12 | 203 | 440 | 313 | T/X | T/X | T/X | 17.4 | <0.25 | T/X | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-04-13 | 204 | 255 | 195 | T/X | T/X | 63 | 17.1 | <0.25 | 18.84 | N/S | 523 | N/S | N/S | 9 | N/S | N/S | 0.7 | 174 | 0.005 | 0.148 | <0.002 | 0.031 | 0.168 | 5.12 | 0.034 | 0.284 | <0.5 | 0.026 | <0.004 | <0.004 | 0.381 | <0.002 | <0.002 | <0.002 | N/S | 0.1 | N/S
2021-04-14 | 204 | 670 | 510 | T/X | T/X | T/X | 21.4 | <0.25 | T/X | N/S | 378 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-15 | 204 | 420 | 305 | T/X | T/X | 46 | 18 | <0.25 | 10.8 | N/S | 352 | N/S | 0.007 | N/S | 7 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-16 | 205 | 610 | 400 | T/X | T/X | T/X | 17.7 | <0.25 | T/X | N/S | 368 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-17 | 204 | 527 | 380 | T/X | T/X | 47 | T/X | T/X | 12.67 | N/S | 338 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-18 | 331 | 473 | 360 | T/X | T/X | 44 | 17.3 | <0.25 | 10.9 | N/S | 364 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-19 | 266 | 410 | 335 | T/X | T/X | T/X | 14.8 | <0.25 | T/X | N/S | 262 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-04-20 | 269 | 387 | 293 | T/X | T/X | 35 | 13.8 | <0.25 | 8.52 | N/S | 379 | N/S | N/S | 6 | N/S | N/S | 0.6 | 106 | 0.004 | 0.093 | <0.002 | 0.016 | 0.11 | 3.19 | 0.015 | 0.152 | <0.5 | 0.015 | <0.004 | <0.004 | 0.22 | 0.002 | <0.002 | <0.002 | N/S | 0.37 | N/S
2021-04-21 | 269 | 345 | 200 | T/X | T/X | T/X | 57.7 | <0.25 | T/X | N/S | 303 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-22 | 205 | 540 | 413 | T/X | T/X | 62 | 31.6 | <0.25 | 12.36 | N/S | 443 | N/S | 0.014 | N/S | 15 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-23 | 203 | 1110 | 840 | T/X | T/X | T/X | 23.1 | <0.25 | T/X | N/S | 539 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-24 | 203 | 450 | 355 | T/X | T/X | 46 | N/S | N/S | 10.78 | N/S | 332 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-25 | 203 | 453 | 333 | T/X | T/X | 46 | 23.4 | <0.25 | 10.29 | N/S | 331 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-26 | 203 | 407 | 313 | T/X | T/X | T/X | 22.3 | <0.25 | T/X | N/S | 292 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-04-27 | 209 | 490 | 370 | T/X | T/X | 53 | 22.8 | <0.25 | 12.86 | N/S | 367 | N/S | N/S | 5 | N/S | N/S | 0.7 | 134 | 0.003 | 0.096 | <0.002 | 0.014 | 0.069 | 2.3 | 0.012 | 0.178 | <0.5 | 0.02 | <0.004 | <0.004 | 0.21 | 0.002 | <0.002 | <0.002 | N/S | 0.16 | N/S
2021-04-28 | 292 | 560 | 420 | T/X | T/X | T/X | 17.7 | <0.25 | T/X | N/S | 426 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-29 | 292 | 520 | 360 | T/X | T/X | 45 | 19 | <0.25 | 10.74 | N/S | 328 | N/S | 0.024 | N/S | 19 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-30 | 268 | 390 | 300 | T/X | T/X | T/X | 18.7 | <0.25 | T/X | N/S | 276 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-01 | 395 | 250 | 200 | T/X | T/X | 38 | 21.7 | <0.25 | 7.57 | N/S | 259 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-02 | 200 | 453 | 347 | T/X | T/X | 44 | 18.6 | <0.25 | 9.9 | N/S | 334 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-03 | 199 | 670 | 510 | T/X | T/X | 77 | 3.5 | <0.25 | 18.43 | N/S | 440 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-05-04 | 202 | 730 | 630 | T/X | T/X | 67 | 27.6 | <0.25 | 17.67 | N/S | 383 | N/S | N/S | <5 | N/S | N/S | 0.7 | 141 | 0.006 | 0.14 | 0.002 | 0.027 | 0.143 | 4.24 | 0.029 | 0.257 | <0.5 | 0.022 | <0.004 | <0.004 | 0.366 | 0.002 | <0.002 | <0.002 | N/S | 0.14 | N/S
2021-05-05 | 267 | 493 | 353 | T/X | T/X | 60 | 34.4 | <0.25 | 12.28 | N/S | 350 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-06 | 268 | 467 | 360 | T/X | T/X | 48 | 24 | <0.25 | 9.76 | N/S | 331 | N/S | 0.015 | N/S | 17 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-07 | 205 | 460 | 337 | T/X | T/X | 54 | 24.9 | <0.25 | 11.36 | N/S | 361 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-08 | 314 | 380 | 287 | T/X | T/X | 48 | 26.9 | <0.25 | 11.28 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-09 | 489 | 740 | 510 | T/X | T/X | 27 | 15.7 | <0.25 | 6.72 | N/S | 374 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-10 | 203 | 260 | 204 | T/X | T/X | 37 | 56.8 | <0.25 | 6.88 | N/S | 188 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-05-11 | 202 | 310 | 245 | T/X | T/X | 45 | 27.1 | <0.25 | 8.29 | N/S | 270 | N/S | N/S | 8 | N/S | N/S | 0.8 | 146 | 0.004 | 0.077 | <0.002 | 0.011 | 0.071 | 2 | 0.01 | 0.114 | <0.5 | 0.013 | <0.004 | <0.004 | 0.163 | 0.002 | <0.002 | <0.002 | N/S | 0.23 | N/S
2021-05-12 | 205 | 210 | 175 | T/X | T/X | 44 | 28 | <0.25 | 8.48 | N/S | 214 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-13 | 205 | 407 | 320 | 1328 | 480 | 47 | 23.8 | <0.25 | 11.45 | N/S | 340 | N/S | 0.031 | N/S | 6 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-14 | 207 | 693 | 500 | 1668 | 720 | 56 | 23.2 | <0.25 | 16.32 | N/S | 406 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-15 | 203 | 310 | 235 | 1140 | 412 | 36 | 18.3 | <0.25 | 7.36 | N/S | 236 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-16 | 202 | 413 | 307 | 1360 | 536 | 46 | 23.7 | <0.25 | 9.9 | N/S | 273 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-17 | 204 | 277 | 200 | 1260 | 444 | 41 | 26.3 | <0.25 | 6.95 | N/S | 282 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-05-18 | 206 | 316 | 252 | 1308 | 492 | 38 | 21.8 | <0.25 | 7.59 | N/S | 276 | N/S | N/S | 17 | N/S | N/S | 0.7 | 154 | 0.003 | 0.066 | <0.002 | 0.009 | 0.049 | 1.8 | 0.01 | 0.099 | <0.5 | 0.015 | <0.004 | <0.004 | 0.161 | 0.002 | <0.002 | <0.002 | N/S | 0.15 | N/S
2021-05-19 | 267 | 440 | 332 | 1396 | 492 | 45 | 25.8 | <0.25 | 8.69 | N/S | 313 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-20 | 203 | 308 | 224 | 1268 | 440 | 45 | 24.9 | <0.25 | 9.22 | N/S | 294 | N/S | 0.017 | N/S | 9 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-21 | 203 | 660 | 470 | 1425 | 515 | 57 | 24.6 | <0.25 | 14.01 | N/S | 419 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-22 | 205 | 150 | 117 | 1152 | 408 | 52 | 37.3 | <0.25 | 12.06 | N/S | 287 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-23 | 205 | 487 | 367 | 1348 | 536 | 53 | 29.3 | <0.25 | 11.82 | N/S | 392 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-24 | 270 | 340 | 280 | 1156 | 428 | 52 | 32.2 | <0.25 | 9.67 | N/S | 269 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-05-25 | 206 | 320 | 260 | 1232 | 416 | 13 | 32.4 | <0.25 | 2.72 | N/S | 288 | N/S | N/S | 6 | N/S | N/S | 0.8 | 142 | 0.003 | 0.068 | <0.002 | 0.009 | 0.052 | 1.8 | 0.009 | 0.127 | <0.5 | 0.022 | <0.004 | <0.004 | 0.168 | <0.002 | <0.002 | <0.002 | N/S | 0.17 | N/S
2021-05-26 | 433 | 520 | 375 | 1252 | 472 | 66 | 17.1 | <0.25 | 10.6 | N/S | 359 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-27 | 316 | 232 | 172 | 964 | 332 | 33 | 16.8 | <0.25 | 7.07 | N/S | 223 | N/S | 0.017 | N/S | 10 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-28 | 702 | 368 | 272 | 1060 | 344 | 39 | 16.9 | <0.25 | 8.87 | N/S | 294 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-29 | 577 | 310 | 170 | 808 | 248 | 24 | 12.3 | <0.25 | 5.54 | N/S | 177 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-30 | 487 | 192 | 144 | 816 | 296 | 25 | 13 | <0.25 | 5.62 | N/S | 201 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-31 | 334 | 228 | 126 | 1232 | 506 | 51 | 22.7 | <0.25 | 12.79 | N/S | 305 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-01 | 528 | 308 | 216 | 1032 | 396 | 39 | 18 | <0.25 | 9.22 | N/S | 256 | N/S | N/S | 23 | N/S | N/S | 0.6 | 86 | 0.003 | 0.076 | <0.002 | 0.011 | 0.07 | 2.31 | 0.012 | 0.135 | <0.5 | 0.009 | <0.004 | <0.004 | 0.151 | <0.002 | <0.002 | <0.002 | <3 | 0.11 | N/S
2021-06-02 | 528 | 210 | 155 | 904 | 304 | 32 | 21.9 | <0.25 | 6.38 | N/S | 185 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-03 | 266 | 147 | 113 | 904 | 276 | 32 | 22.3 | <0.25 | 7.15 | N/S | 201 | N/S | 0.013 | N/S | 40 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-04 | 205 | 548 | N/S | 1336 | N/S | 51 | 26.1 | <0.25 | 11.86 | N/S | 336 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-05 | 229 | 280 | 205 | 1192 | 444 | 45 | 27.5 | <0.25 | 11.6 | N/S | 280 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-06 | 276 | 440 | 300 | 1272 | 460 | 43 | 24.2 | <0.25 | 11.84 | N/S | 276 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-07 | 252 | 556 | 392 | 1296 | 512 | 49 | 21.8 | <0.25 | 14.33 | N/S | 320 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-06-08 | 228 | 544 | 392 | 1320 | 544 | 46 | 22.3 | <0.25 | 13.35 | N/S | 332 | N/S | N/S | <5 | N/S | N/S | 0.7 | 109 | 0.004 | 0.098 | <0.002 | 0.014 | 0.093 | 2.94 | 0.019 | 0.154 | <0.5 | 0.012 | <0.004 | <0.004 | 0.23 | 0.002 | <0.002 | <0.002 | N/S | 0.18 | N/S
2021-06-09 | 275 | 500 | 348 | 1308 | 544 | 51 | 23.1 | <0.25 | 12.76 | N/S | 517 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-10 | 341 | 264 | 200 | 1164 | 384 | 44 | 23.2 | 0.34 | 10.19 | N/S | 266 | N/S | <0.005 | N/S | 17 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-11 | 471 | 1190 | 660 | 1968 | 916 | 68 | 25.4 | <0.25 | 17.5 | N/S | 446 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-12 | 382 | 203 | 137 | 816 | 264 | 36 | 22.9 | <0.25 | 6.83 | N/S | 176 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-13 | 382 | 348 | 216 | 900 | 335 | 31 | 14.2 | <0.25 | 7.04 | N/S | 245 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-14 | 341 | 172 | 116 | 940 | 440 | 32 | 16.6 | <0.25 | 6.49 | N/S | 208 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-06-15 | 276 | 156 | 100 | 940 | 324 | 36 | 21.7 | <0.25 | 7.13 | N/S | 197 | N/S | N/S | 25 | N/S | N/S | 0.6 | 89 | 0.003 | 0.052 | <0.002 | 0.005 | 0.038 | 1.51 | 0.007 | 0.09 | <0.5 | 0.009 | <0.004 | <0.004 | 0.109 | <0.002 | <0.002 | <0.002 | N/S | 0.14 | N/S
2021-06-16 | 341 | 228 | 175 | 980 | 328 | 36 | 21.9 | <0.25 | 9.15 | N/S | 239 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-17 | 271 | 508 | 340 | 1276 | 484 | 71 | 50.8 | <0.25 | 11.63 | N/S | 385 | N/S | 0.014 | N/S | 25 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-18 | 359 | 1570 | 1020 | 2195 | 1150 | 121 | 52.6 | <0.25 | 27.26 | N/S | 811 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-19 | 471 | 580 | 410 | 1270 | 640 | 49 | 21.8 | <0.25 | 11.91 | N/S | 372 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-20 | 447 | 400 | 272 | 1020 | 384 | 38 | 18.4 | <0.25 | 7.64 | N/S | 261 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-21 | 512 | 460 | 276 | 1012 | 416 | 34 | 13.6 | <0.25 | 9.19 | N/S | 241 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-06-22 | 425 | 412 | 296 | 1088 | 428 | 42 | 21.1 | <0.25 | 10.34 | N/S | 303 | N/S | N/S | 11 | N/S | N/S | 0.5 | 77 | 0.004 | 0.086 | <0.002 | 0.018 | 0.083 | 3.34 | 0.02 | 0.144 | <0.5 | 0.014 | <0.004 | <0.004 | 0.255 | <0.002 | <0.002 | <0.002 | N/S | 0.13 | N/S
2021-06-23 | 488 | 370 | 270 | 1044 | 456 | 34 | 15.3 | <0.25 | 9.8 | N/S | 215 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-24 | 423 | 1260 | 810 | 1960 | 990 | 77 | 19.3 | <0.25 | 25.65 | N/S | 208 | N/S | 0.014 | N/S | 9 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-25 | 641 | 1000 | 610 | 1532 | 740 | 60 | 13.2 | 0.44 | 22.02 | N/S | 362 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-26 | 768 | 444 | 284 | 924 | 396 | 27 | 5.3 | 1.25 | 9.16 | N/S | 186 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-27 | 728 | 292 | 184 | 824 | 300 | 23 | 9.7 | <0.25 | 8.89 | N/S | 166 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-28 | 794 | 551 | 320 | 1176 | 500 | 27 | 6.8 | 0.46 | 9.24 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-06-29 | 703 | 242 | 154 | 788 | 200 | 18 | 6.8 | 0.42 | 4.76 | N/S | 134 | N/S | N/S | <5 | N/S | N/S | 0.4 | 71 | 0.004 | 0.071 | <0.002 | <0.004 | 0.05 | 2.21 | 0.017 | 0.097 | <0.5 | 0.008 | <0.004 | <0.004 | 0.148 | 0.002 | <0.002 | <0.002 | N/S | 0.06 | N/S
2021-06-30 | 564 | 220 | 136 | 776 | 252 | 18 | 7.6 | 0.28 | 5.16 | N/S | 109 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-01 | 662 | 208 | 140 | 792 | 240 | 17 | 7.8 | <0.25 | 5.31 | N/S | 177 | N/S | 0.008 | N/S | <5 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-02 | 662 | 183 | 127 | 764 | 140 | 15 | 8.4 | <0.25 | 5.46 | N/S | 151 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-03 | 338 | 247 | 193 | 940 | 460 | 20 | 8.1 | <0.25 | 5.94 | N/S | 153 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-04 | 534 | 220 | 173 | 744 | 540 | 18 | 7.8 | <0.25 | 6.57 | N/S | 115 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-05 | 534 | 120 | 84 | 544 | 136 | 16 | 8.3 | <0.25 | 4.73 | N/S | 83 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-06 | 470 | 158 | 106 | 616 | 268 | 17 | 8.5 | 0.28 | 4.57 | N/S | T/X | N/S | N/S | <5 | N/S | N/S | 0.3 | 51 | 0.002 | 0.05 | <0.002 | 0.006 | 0.04 | 1.68 | 0.01 | 0.1 | <0.5 | 0.006 | <0.004 | <0.004 | 0.101 | <0.002 | <0.002 | <0.002 | <3 | 0.18 | N/S
2021-07-07 | 598 | 164 | 102 | 552 | 152 | 17 | 7 | <0.25 | 4.63 | N/S | 100 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-08 | 663 | 240 | 176 | 656 | 228 | 21 | 6.6 | <0.25 | 5.8 | N/S | 126 | N/S | 0.006 | N/S | 8 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-09 | 663 | 277 | 188 | 844 | 276 | 28 | 12.3 | <0.25 | 6 | N/S | 176 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-10 | 661 | 295 | 200 | 880 | 336 | 30 | 12 | <0.25 | 7.51 | N/S | 177 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-11 | 664 | 148 | 100 | 708 | 300 | 18 | 8.4 | 0.27 | 4.66 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-12 | 597 | 324 | 212 | 848 | 328 | 27 | 9.3 | <0.25 | 7.01 | N/S | 128 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-07-13 | 294 | 460 | 320 | 1072 | 404 | 46 | 15.4 | <0.25 | 12.97 | N/S | 240 | N/S | N/S | 7 | N/S | N/S | 0.5 | 98 | 0.006 | 0.128 | <0.002 | 0.023 | 0.119 | 4.99 | 0.029 | 0.253 | <0.5 | 0.015 | <0.004 | <0.004 | 0.329 | 0.002 | <0.002 | <0.002 | N/S | 0.11 | N/S
2021-07-14 | 204 | 527 | 347 | 1300 | 496 | 50 | 21.4 | <0.25 | 12.73 | N/S | 275 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-15 | 206 | 428 | 300 | 1316 | 520 | 41 | 17.1 | <0.25 | 11.18 | N/S | 320 | N/S | 0.009 | N/S | 12 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-16 | 206 | 3280 | 1940 | 4080 | 2380 | 128 | 24.9 | <0.25 | 42.12 | N/S | 918 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-17 | 202 | 627 | 413 | 1368 | 604 | 48 | 12.1 | <0.25 | 17.79 | N/S | 296 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-18 | 206 | 527 | 387 | 1280 | 512 | 41 | 14.6 | <0.25 | 13.39 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-19 | 203 | 553 | 413 | 1272 | 544 | 21 | 14.5 | <0.25 | 11.17 | N/S | 297 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-07-20 | 269 | 2770 | 1690 | 3547 | 1927 | 140 | 18.5 | <0.25 | 44.51 | N/S | 1003 | N/S | N/S | 5 | N/S | N/S | 0.8 | 90 | 0.02 | 0.503 | 0.009 | 0.13 | 0.666 | 20.58 | 0.136 | 0.951 | <0.5 | 0.068 | <0.004 | 0.005 | 1.483 | 0.004 | <0.002 | <0.002 | N/S | 0.42 | N/S
2021-07-21 | 268 | 400 | 287 | 1116 | 444 | 39 | 15.6 | <0.25 | 10.22 | N/S | 282 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-22 | 267 | 460 | 320 | 1256 | 492 | 39 | 16 | <0.25 | 11.34 | N/S | T/X | N/S | 0.009 | N/S | 5 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-23 | 202 | 370 | 280 | 1244 | 520 | 37 | 16.7 | <0.25 | 9.75 | N/S | 287 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-24 | 356 | 480 | 313 | 1124 | 468 | 34 | 13.3 | <0.25 | 9.44 | N/S | 281 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-25 | 397 | 620 | 400 | 996 | 472 | 28 | 10.8 | <0.25 | 8.48 | N/S | 226 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-26 | 401 | 4820 | 2340 | 5360 | 2390 | 133 | 25.6 | <0.25 | 43.27 | N/S | 856 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-07-27 | 272 | 413 | 260 | 1148 | 528 | 42 | 14.1 | <0.25 | 12.21 | N/S | 277 | N/S | N/S | 8 | N/S | N/S | 0.6 | 73 | 0.005 | 0.113 | <0.002 | 0.023 | 0.116 | 4.09 | 0.023 | 0.2 | <0.5 | 0.017 | <0.004 | <0.004 | 0.286 | 0.002 | <0.002 | <0.002 | N/S | 0.11 | N/S
2021-07-28 | 334 | 363 | 256 | 1036 | 416 | 30 | 12.6 | <0.25 | 7.04 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-29 | 399 | 360 | 227 | 1430 | 610 | 34 | 16.7 | <0.25 | 9.82 | N/S | 242 | N/S | 0.007 | N/S | 10 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-30 | 202 | 750 | 480 | 1532 | 660 | 55 | 25.8 | <0.25 | 16.03 | N/S | 403 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-31 | 202 | 273 | 213 | 1064 | 380 | 34 | 15.6 | <0.25 | 9.28 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-01 | 195 | 255 | 205 | 1028 | 352 | 31 | 16.3 | <0.25 | 8.58 | N/S | 231 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-02 | 194 | 260 | 180 | 1072 | 356 | 36 | 17.3 | 0.25 | 9.17 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-08-03 | 194 | 336 | 232 | 1128 | 436 | 39 | 17.2 | <0.25 | 9.22 | N/S | 278 | N/S | N/S | 19 | N/S | N/S | 0.8 | 138 | 0.003 | 0.091 | <0.002 | 0.013 | 0.085 | 4.04 | 0.015 | 0.145 | <0.5 | 0.019 | <0.004 | <0.004 | 0.235 | <0.002 | <0.002 | <0.002 | N/S | 0.22 | N/S
2021-08-04 | 259 | 484 | 340 | 1184 | 472 | 46 | 18.4 | <0.25 | 11.56 | N/S | 344 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-05 | 259 | 380 | 272 | 1180 | 396 | 37 | 14 | <0.25 | 9.86 | N/S | T/X | N/S | 0.007 | N/S | <5 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-06 | 194 | 810 | 500 | 1980 | 900 | 56 | 24.8 | <0.25 | 15.05 | N/S | 423 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-07 | 325 | 208 | 184 | 1056 | 468 | 33 | 17.6 | <0.25 | 6.89 | N/S | 192 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-08 | 259 | 280 | 200 | 976 | 368 | 35 | 18.8 | <0.25 | 7.14 | N/S | 231 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-09 | 259 | 212 | 204 | 980 | 300 | 30 | 16.6 | <0.25 | 7.18 | N/S | 200 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-08-10 | 413 | 890 | 580 | 1480 | N/S | N/S | 17.1 | <0.25 | N/S | N/S | T/X | N/S | N/S | 10 | N/S | N/S | 0.6 | 88 | 0.008 | 0.206 | 0.002 | 0.047 | 0.292 | 14.79 | 0.057 | 0.314 | <0.5 | 0.04 | <0.004 | <0.004 | 0.626 | 0.002 | <0.002 | <0.002 | N/S | 0.61 | N/S
2021-08-11 | 412 | 216 | 156 | 744 | N/S | 24 | 10.8 | <0.25 | 5.88 | N/S | 187 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-12 | 323 | 1550 | 750 | T/X | T/X | 66 | 22.1 | <0.25 | 20.51 | N/S | 670 | N/S | 0.011 | N/S | 8 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-13 | 524 | 235 | 150 | 712 | N/S | 27 | 13.1 | <0.25 | 7.14 | N/S | 204 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-14 | 460 | 114 | 92 | 580 | N/S | 18 | 8.3 | <0.25 | 4.63 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-15 | 372 | 240 | 175 | 776 | N/S | 27 | 13.2 | <0.25 | 6.44 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-16 | 259 | 1070 | 650 | N/S | N/S | 62 | 22.4 | <0.25 | 17.04 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-08-17 | 195 | 275 | 190 | N/S | N/S | 37 | 19 | <0.25 | 8.2 | N/S | T/X | N/S | N/S | 19 | N/S | N/S | 0.8 | 119 | 0.003 | 0.07 | <0.002 | 0.014 | 0.071 | 2.4 | 0.009 | 0.107 | <0.5 | 0.024 | <0.004 | <0.004 | 0.163 | <0.002 | <0.002 | <0.002 | N/S | 0.17 | N/S
2021-08-18 | 194 | 3660 | 1800 | N/S | N/S | 131 | 36.5 | <0.25 | 39.31 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-19 | 193 | 630 | 415 | N/S | N/S | 54 | 25.6 | <0.25 | 15.16 | N/S | 382 | N/S | 0.017 | N/S | 7 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-20 | 193 | 580 | 340 | N/S | N/S | 43 | 16.5 | <0.25 | 12.63 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-21 | 194 | 284 | 192 | N/S | N/S | 35 | 18.4 | <0.25 | 9.05 | N/S | 258 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-22 | 259 | 380 | 225 | N/S | N/S | 38 | 19.2 | <0.25 | 10.52 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-23 | 451 | 207 | 167 | N/S | N/S | 28 | 15.2 | <0.25 | 5.7 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-08-24 | 347 | 570 | 430 | N/S | N/S | 44 | 18.8 | <0.25 | 10.29 | N/S | 602 | N/S | N/S | 20 | N/S | N/S | 0.7 | 102 | 0.004 | 0.093 | <0.002 | 0.019 | 0.043 | 3.48 | 0.022 | 0.145 | <0.5 | 0.035 | <0.004 | <0.004 | 0.28 | 0.002 | <0.002 | <0.002 | N/S | 0.27 | N/S
2021-08-25 | 459 | 780 | 450 | N/S | N/S | 44 | 11.5 | <0.25 | 11.78 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-26 | 393 | 660 | 325 | N/S | N/S | 32 | 11.5 | <0.25 | 8.39 | N/S | 272 | N/S | 0.007 | N/S | <5 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-27 | 460 | 4560 | 1880 | N/S | N/S | 156 | 35.8 | <0.25 | 38.92 | N/S | 783 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-28 | 460 | 6220 | 2860 | N/S | N/S | 213 | 31.3 | <0.25 | 56.39 | N/S | 1119 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-29 | 524 | 355 | 215 | N/S | N/S | 22 | 8.3 | <0.25 | 6.33 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-30 | 652 | 315 | 175 | N/S | N/S | 25 | 10.1 | <0.25 | 6.1 | N/S | 182 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-08-31 | 412 | 345 | 215 | N/S | N/S | 29 | 11.8 | 1.25 | 7.68 | N/S | T/X | N/S | N/S | 12 | N/S | N/S | 0.4 | 64 | 0.003 | 0.084 | <0.002 | 0.02 | 0.087 | 3.64 | 0.029 | 0.144 | <0.5 | 0.014 | <0.004 | <0.004 | 0.249 | 0.002 | <0.002 | <0.002 | N/S | 0.16 | N/S
2021-09-01 | 259 | 365 | 225 | N/S | N/S | 33 | 15.2 | <0.25 | 9.3 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-02 | 192 | 395 | 275 | N/S | N/S | 39 | 17 | <0.25 | 10.93 | N/S | T/X | N/S | 0.008 | N/S | T/X | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-03 | 194 | 840 | 440 | N/S | N/S | 47 | 17.4 | <0.25 | 13.05 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-04 | 195 | 385 | 260 | N/S | N/S | 48 | 28.4 | <0.25 | 13.64 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-05 | 193 | 157 | 98 | N/S | N/S | 54 | 44 | 0.25 | 9.91 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-06 | 324 | 376 | 220 | N/S | N/S | 35 | 21.2 | <0.25 | 8.37 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-07 | 194 | 132 | 84 | N/S | N/S | 29 | 23.3 | 0.36 | 6.74 | N/S | T/X | N/S | N/S | 6 | N/S | N/S | 0.6 | 91 | 0.002 | 0.044 | <0.002 | 0.005 | 0.045 | 1.53 | 0.008 | 0.105 | <0.5 | 0.01 | <0.004 | <0.004 | 0.151 | <0.002 | <0.002 | <0.002 | <3 | 0.15 | N/S
2021-09-08 | 195 | 376 | 232 | N/S | N/S | 44 | 27 | <0.25 | 12.38 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-09 | 194 | 264 | 196 | N/S | N/S | 36 | 21.1 | <0.25 | 8.44 | N/S | T/X | N/S | <0.005 | N/S | 8 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-10 | 198 | 320 | 230 | N/S | N/S | 37 | 17.7 | <0.25 | 8.84 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-11 | 195 | 310 | 250 | N/S | N/S | 39 | 19.3 | <0.25 | 9.03 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-12 | 194 | 68 | 64 | N/S | N/S | 34 | 23.4 | <0.25 | 9.58 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-13 | 195 | 310 | 250 | N/S | N/S | 55 | 37.6 | 0.3 | 17.3 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-09-14 | 195 | 300 | 210 | N/S | N/S | 71 | 60.2 | <0.25 | 11.77 | N/S | 293 | N/S | N/S | 25 | N/S | N/S | 0.8 | 58 | 0.003 | 0.087 | <0.002 | 0.01 | 0.057 | 3.97 | 0.016 | 0.156 | <0.5 | 0.031 | <0.004 | <0.004 | 0.223 | <0.002 | <0.002 | <0.002 | N/S | 0.27 | N/S
2021-09-15 | 201 | 340 | 320 | N/S | N/S | 51 | 31.6 | <0.25 | 13.68 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-16 | 194 | 250 | 180 | N/S | N/S | 42 | 26.2 | <0.25 | 9.02 | N/S | 254 | N/S | 0.005 | N/S | 7 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-17 | 197 | 424 | 264 | N/S | N/S | 49 | 24.2 | <0.25 | 12.42 | N/S | 287 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-18 | 195 | 360 | 300 | N/S | N/S | 44 | 19.4 | <0.25 | 11.68 | N/S | 278 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-19 | 193 | 200 | 164 | N/S | N/S | 40 | 25.7 | <0.25 | 9.92 | N/S | 223 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-20 | 194 | 4000 | 2540 | N/S | N/S | 192 | 34.4 | 0.33 | 49.52 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-09-21 | 194 | 432 | 308 | N/S | N/S | 45 | 17.3 | <0.25 | 13.29 | N/S | 312 | N/S | N/S | 7 | N/S | N/S | 0.7 | 112 | 0.004 | 0.106 | <0.002 | 0.017 | 0.117 | 4.41 | 0.024 | 0.19 | 0.57 | 0.026 | <0.004 | <0.004 | 0.299 | 0.002 | <0.002 | <0.002 | N/S | 0.15 | N/S
2021-09-22 | 326 | 440 | 280 | N/S | N/S | 40 | 15.6 | <0.25 | 10.3 | N/S | 453 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-23 | 324 | 195 | 160 | N/S | N/S | 35 | 18.5 | <0.25 | 6.08 | N/S | 192 | N/S | 0.005 | N/S | <5 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-24 | 389 | 155 | 95 | N/S | N/S | 30 | 17.3 | <0.25 | 5.74 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-25 | 388 | 104 | 74 | N/S | N/S | 33 | 22 | <0.25 | 7.75 | N/S | 174 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-26 | 388 | 300 | 140 | N/S | N/S | 52 | 33.5 | 0.5 | 16.02 | N/S | 367 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-27 | 389 | 1300 | 700 | N/S | N/S | 66 | 26 | <0.25 | 16.68 | N/S | 501 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-09-28 | 195 | 304 | 232 | N/S | N/S | 42 | 22.9 | <0.25 | 10.2 | N/S | T/X | N/S | N/S | 14 | N/S | N/S | 0.7 | 95 | 0.003 | 0.073 | <0.002 | 0.013 | 0.061 | 3.5 | 0.016 | 0.132 | <0.5 | 0.018 | <0.004 | <0.004 | 0.194 | <0.002 | <0.002 | <0.002 | N/S | 0.32 | N/S
2021-09-29 | 194 | 800 | 680 | N/S | N/S | 73 | 27.3 | <0.25 | 22.36 | N/S | 557 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-30 | 192 | 407 | 300 | N/S | N/S | 48 | 24 | <0.25 | 11.82 | N/S | 366 | N/S | 0.005 | N/S | <5 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
RL effective 1/1/21 |  | 4 | 4 | 25 |  | 1 | 0.3 | 0.25 | 0.15 | 0.15 | 2 | 2 | 0.005 | 5 | 5 | 0.005 | 0.1 | 1 | 0.001 | 0.001 | 0.001 | 0.002 | 0.001 | 0.01 | 0.001 | 0.001 | 0.5 | 0.001 | 0.002 | 0.002 | 0.005 | 0.001 | 0.001 | 0.001 | 3 | 0.01 | 5
Observations | 273 | 273 | 271 | 94 | 88 | 216 | 253 | 252 | 216 | 0 | 227 | 0 | 39 | 39 | 38 | 38 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 26 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 38 | 39 | 0
Minimum | 136 | 68 | 64 | 544 | 136 | 13 | 3.5 | <0.25 | 2.72 |  | 83 |  | <0.005 | <5 | <5 | <0.005 | 0.3 | 51 | 0.002 | 0.044 | <0.002 | <0.003 | 0.033 | 1.14 | 0.004 | 0.089 | <0.5 | 0.006 | <0.004 | <0.004 | 0.081 | <0.002 | <0.002 | <0.002 | <3 | 0.06
Mean | 302 | 655 | 458 | 1220 | 506 | 46 | 20 | <0.20 | 11.49 |  | 373 |  | <0.012 | <11 | <12 | <0.004 | 0.6 | 114 | 0.005 | 0.117 | <0.002 | <0.022 | 0.125 | 4.07 | 0.021 | 0.203 | <0.4 | 0.03 | <0.003 | <0.003 | 0.285 | <0.002 | <0.001 | <0.001 | <2 | 0.23
Maximum | 794 | 8320 | 6280 | 5360 | 2390 | 213 | 60.2 | 1.25 | 56.39 |  | 2691 |  | 0.031 | 37 | 40 | 0.007 | 0.8 | 174 | 0.02 | 0.632 | 0.009 | 0.184 | 1.053 | 24.89 | 0.136 | 1.089 | 0.57 | 0.292 | 0.009 | 0.014 | 1.573 | 0.005 | <0.002 | <0.002 | <3 | 1.87
*Effective 1/1/21, means are no longer calculated using the Reporting Limit value in place of non-detect/<LOQ results and are now calculated by replacing any non-detect/<LOQ results with the Reporting Limit/(SQRT2).
January 9, 2021, BOD5, T/X: Duplicate failure.
February 10, 2021, BOD5, T/X: Support pH analysis not reportable. BOD not re portable.
February 16, 2021, CR6+, T/X: LCS failure.
March 3, 2021, BOD5, T/X: Duplicate failure.
March 8, 2021, VSS, T/X: Retest did not confirm origianal result.
March 13, 2021, BOD5, T/X: Dilution water blank failure.
January-March 2021, TKN, NH3, NO2+NO3, P-TOT, T/X: Minimum staffting due to COVID-19.
January-March 2021, Hg, T/X: Digestion thermometer out of calibration.
April 2, 2021, BOD5, T/X: pH duplicate failure, BOD5 not reportable.
April 3, 2021, BOD5, T/X: LCS failure.
April 3, 17, 2021, NH3, NO2+NO3, T/X: Minimal staffing due to COVID-19.
April 12, 2021, BOD5, T/X: Duplicate failure.
April 2021, TKN, TOT-P, T/X: Minimum staffing due to COVID-19.
January-May 12, 2021, TS, TVS, T/X: Minimum staffing due to COVID-19.
May 8, 2021, BOD5, T/X: Duplicate failure.
June 10, 2021, CN_AM, T/X: Instrument out of service.
June 28, 2021, BOD5, T/X: Dilution water blank failure.
July 6, 2021, BOD5, T/X: Blank failure.
July 11, 18, 22, 28, 31, 2021, BOD5, T/X: LCS failure.
August 2, 10, 15, 17, 18, 20, 22, 23, 29, 31, 2021, BOD5, T/X: LCS failure.
August 5, 14, 16, 25, 2021, BOD5, T/X: Blank failure.
August 12, 2021, TS, TVS, T/X: Test assigned by mistake.
September 1-12, 15, 20, 24, 28, 2021, BOD5, T/X: LCS failure.
September 2, 2021, FOG, T/X: Aliquot leak deemed sample unrepresentative.
September 13, 2021, BOD5, T/X: Blank failure.