## West Side Raw 2021
| FLOW | SS | VSS | TS | TVS | TKN | NH3-N | NO2+NO3-N | P-TOT | P-SOL | BOD5 | CBOD5 | CN (GRAB) | PHENOL | FOG | CN AM | F | SO4 | As | Ba | Cd | Cr | Cu | Fe | Pb | Mn | Hg | Ni | Se | Ag | Zn | Sb | Be | Tl | Cr+6 | Fe Sol | TOC
Date | MGD | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | ug/L | mg/L | mg/L
2021-01-01 | 247 | 232 | 192 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 259 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-02 | 410 | 192 | 164 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 177 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-03 | 410 | 220 | 180 | T/X | T/X | 28 | 15 | 0.89 | 5.06 | N/S | 216 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-04 | 243 | 276 | 220 | T/X | T/X | T/X | 18.2 | 0.8 | T/X | N/S | 228 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-01-05 | 297 | 200 | 148 | T/X | T/X | 30 | 17 | 0.61 | 5.3 | N/S | 223 | N/S | N/S | 12 | N/S | N/S | 0.7 | 69 | 0.002 | 0.05 | <0.002 | 0.009 | 0.048 | 1.27 | 0.005 | 0.08 | T/X | 0.024 | <0.004 | <0.004 | 0.088 | 0.002 | <0.002 | <0.002 | N/S | 0.08 | N/S
2021-01-06 | 239 | 265 | 220 | T/X | T/X | T/X | 19.1 | 0.44 | T/X | N/S | 243 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-07 | 130 | 295 | 245 | T/X | T/X | 29 | 24.8 | 0.47 | 6.21 | N/S | 249 | N/S | 0.009 | N/S | 19 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-08 | 277 | 228 | 188 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 217 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-09 | 356 | 160 | 144 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 194 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-10 | 355 | 168 | 140 | T/X | T/X | T/X | 17.5 | 0.86 | T/X | N/S | 182 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-11 | 180 | 260 | 190 | T/X | T/X | T/X | 23.3 | 0.91 | T/X | N/S | 218 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-01-12 | 245 | 305 | 210 | T/X | T/X | 34 | 23.1 | <0.25 | 6.99 | N/S | 260 | N/S | N/S | 28 | N/S | N/S | 0.7 | 65 | 0.004 | 0.052 | <0.002 | 0.012 | 0.059 | 1.43 | 0.006 | 0.089 | T/X | 0.015 | <0.004 | <0.004 | 0.112 | <0.002 | <0.002 | <0.002 | N/S | 0.11 | N/S
2021-01-13 | 232 | 185 | 145 | T/X | T/X | T/X | 27.1 | <0.25 | T/X | N/S | 202 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-14 | 406 | 200 | 163 | T/X | T/X | 33 | 21.8 | <0.25 | 5.46 | N/S | 172 | N/S | 0.007 | N/S | 18 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-15 | 321 | 183 | 167 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 173 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-16 | 322 | 174 | 154 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 215 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-17 | 300 | 176 | 136 | T/X | T/X | 32 | 21.7 | <0.25 | 5.67 | N/S | 217 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-18 | 452 | 133 | 103 | T/X | T/X | 30 | 17.6 | <0.25 | 5.14 | N/S | 203 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-19 | 281 | 170 | 145 | T/X | T/X | 32 | 18.8 | <0.25 | 5.32 | N/S | 194 | N/S | N/S | 17 | N/S | N/S | 0.7 | 67 | 0.002 | 0.046 | <0.002 | 0.006 | 0.05 | 1.12 | 0.004 | 0.072 | T/X | 0.013 | <0.004 | <0.004 | 0.089 | 0.002 | <0.002 | <0.002 | <3 | 0.1 | N/S
2021-01-20 | 215 | 290 | 217 | T/X | T/X | T/X | 25.3 | <0.25 | T/X | N/S | 250 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-21 | 302 | 216 | 184 | T/X | T/X | 41 | 23.7 | <0.25 | 7.24 | N/S | 217 | N/S | 0.007 | N/S | 18 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-22 | 344 | 209 | 163 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 214 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-23 | 216 | 292 | 240 | T/X | T/X | T/X | T/X | T/X | T/X | N/S | 304 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-24 | 194 | 184 | 172 | T/X | T/X | T/X | 28.2 | <0.25 | T/X | N/S | 252 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-25 | 195 | 245 | 210 | T/X | T/X | T/X | 26.7 | <0.25 | T/X | N/S | 229 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-01-26 | 215 | 171 | 129 | T/X | T/X | 35 | 24.7 | <0.25 | 6.86 | N/S | 202 | N/S | N/S | 19 | N/S | N/S | 0.7 | 75 | 0.002 | 0.056 | <0.002 | 0.008 | 0.04 | 1.1 | 0.004 | 0.088 | T/X | 0.011 | <0.004 | <0.004 | 0.076 | <0.002 | <0.002 | <0.002 | N/S | 0.15 | N/S
2021-01-27 | 257 | 405 | 280 | T/X | T/X | T/X | 21.9 | <0.25 | T/X | N/S | 240 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-28 | 300 | 171 | 157 | T/X | T/X | 36 | 24.1 | <0.25 | 6.53 | N/S | 208 | N/S | 0.014 | N/S | 20 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-29 | 343 | 211 | 160 | T/X | T/X | T/X | 24 | <0.25 | T/X | N/S | 233 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-30 | 387 | 132 | 114 | T/X | T/X | 34 | T/X | T/X | 5.79 | N/S | 177 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-01-31 | 321 | 60 | 48 | T/X | T/X | 22 | 15.7 | <0.25 | 3.46 | N/S | 100 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-01 | 433 | 280 | 183 | T/X | T/X | T/X | 16.5 | <0.25 | T/X | N/S | 194 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-02-02 | 257 | 223 | 160 | T/X | T/X | 31 | 18.4 | <0.25 | 6.08 | N/S | 191 | N/S | N/S | 12 | N/S | N/S | 0.6 | 80 | <0.002 | 0.062 | <0.002 | 0.007 | 0.037 | 1.03 | 0.003 | 0.077 | T/X | 0.008 | <0.004 | <0.004 | 0.082 | <0.002 | <0.002 | <0.002 | N/S | 0.12 | N/S
2021-02-03 | 343 | 243 | 187 | T/X | T/X | T/X | 20.7 | <0.25 | T/X | N/S | 169 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-04 | 386 | 251 | 180 | T/X | T/X | 34 | 22.9 | <0.25 | 6.07 | N/S | 164 | N/S | 0.007 | N/S | 6 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-05 | 302 | 240 | 175 | T/X | T/X | T/X | T/X | <0.25 | T/X | N/S | 190 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-06 | 258 | 83 | 57 | T/X | T/X | 32 | T/X | T/X | 5.55 | N/S | 127 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-07 | 303 | 133 | 120 | T/X | T/X | 29 | 19.4 | <0.25 | 4.8 | N/S | 153 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-08 | 386 | 123 | 100 | T/X | T/X | T/X | 17.9 | <0.25 | T/X | N/S | 133 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-02-09 | 257 | 224 | 168 | T/X | T/X | 33 | 22.7 | <0.25 | 6.08 | N/S | 177 | N/S | N/S | 17 | N/S | N/S | 0.8 | 75 | 0.003 | 0.059 | <0.002 | 0.008 | 0.054 | 1.57 | 0.004 | 0.08 | T/X | 0.015 | <0.004 | <0.004 | 0.104 | 0.002 | <0.002 | <0.002 | N/S | 0.09 | N/S
2021-02-10 | 302 | 174 | 126 | T/X | T/X | T/X | 22.8 | <0.25 | T/X | N/S | 161 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-11 | 282 | 140 | 113 | T/X | T/X | 33 | 23.6 | <0.25 | 5.77 | N/S | 138 | N/S | 0.007 | N/S | 20 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-12 | 194 | 128 | 104 | T/X | T/X | T/X | 28.2 | <0.25 | T/X | N/S | 138 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-13 | 236 | 140 | 118 | T/X | T/X | 31 | T/X | T/X | 5.03 | N/S | 175 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-14 | 321 | 53 | 46 | T/X | T/X | 25 | 18.3 | <0.25 | 3.43 | N/S | 103 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-15 | 312 | 110 | 93 | T/X | T/X | T/X | 22.8 | <0.25 | T/X | N/S | 122 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-16 | 258 | 123 | 97 | T/X | T/X | 27 | 18.7 | <0.25 | 4.91 | N/S | 178 | N/S | N/S | 21 | N/S | N/S | 0.7 | 73 | 0.002 | 0.046 | 0.003 | 0.007 | 0.043 | 0.98 | 0.003 | 0.054 | T/X | 0.012 | <0.004 | <0.004 | 0.088 | <0.002 | <0.002 | <0.002 | T/X | 0.09 | N/S
2021-02-17 | 193 | 355 | 225 | T/X | T/X | T/X | 17.9 | <0.25 | T/X | N/S | 191 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-18 | 194 | 180 | 147 | T/X | T/X | 35 | 22.6 | <0.25 | 6.54 | N/S | 152 | N/S | 0.014 | N/S | 22 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-19 | 195 | 177 | 133 | T/X | T/X | T/X | 25.6 | <0.25 | T/X | N/S | 150 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-20 | 409 | 325 | 280 | T/X | T/X | 37 | T/X | T/X | 5.35 | N/S | 167 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-21 | 150 | 235 | 170 | T/X | T/X | 45 | 32.5 | <0.25 | 6.44 | N/S | 146 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-22 | 386 | 255 | 210 | T/X | T/X | T/X | 21.7 | <0.25 | T/X | N/S | 177 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-02-23 | 322 | 216 | 148 | T/X | T/X | 29 | 18 | <0.25 | 5.11 | N/S | 119 | N/S | N/S | 8 | N/S | N/S | 0.6 | 72 | 0.003 | 0.081 | 0.002 | 0.015 | 0.06 | 1.62 | 0.009 | 0.076 | T/X | 0.014 | <0.004 | <0.004 | 0.159 | 0.002 | <0.002 | <0.002 | N/S | 0.07 | N/S
2021-02-24 | 429 | 215 | 140 | T/X | T/X | T/X | 16.7 | 0.75 | T/X | N/S | 112 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-25 | 580 | 130 | 110 | T/X | T/X | 21 | 12.2 | 1.07 | 3.67 | N/S | 82 | N/S | 0.009 | N/S | 11 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-26 | 580 | 82 | 60 | T/X | T/X | T/X | 13.1 | 1.57 | T/X | N/S | 61 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-27 | 580 | 87 | 68 | T/X | T/X | 18 | T/X | T/X | 2.42 | N/S | 77 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-02-28 | 580 | 80 | 59 | T/X | T/X | 11 | 7.7 | 0.86 | 2.23 | N/S | 51 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-01 | 580 | 90 | 60 | T/X | T/X | T/X | 10 | 1 | T/X | N/S | 58 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 4 | N/S | N/S
2021-03-02 | 580 | 138 | 100 | T/X | T/X | 20 | 11 | 0.65 | 3.85 | N/S | 113 | N/S | N/S | 7 | N/S | N/S | 0.6 | 86 | 0.002 | 0.066 | <0.002 | 0.008 | 0.052 | 1.05 | 0.004 | 0.063 | T/X | 0.009 | <0.004 | <0.004 | 0.126 | 0.002 | <0.002 | <0.002 | N/S | 0.03 | N/S
2021-03-03 | 537 | 98 | 80 | T/X | T/X | T/X | 11.8 | 0.63 | T/X | N/S | 62 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-04 | 472 | 74 | 58 | T/X | T/X | 19 | 12.5 | 0.41 | 2.99 | N/S | 67 | N/S | 0.007 | N/S | 10 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-05 | 516 | 77 | 75 | T/X | T/X | T/X | 14.8 | <0.25 | T/X | N/S | 86 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-06 | 515 | 98 | 76 | T/X | T/X | 22 | T/X | T/X | 3.29 | N/S | 81 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-07 | 408 | 83 | 57 | T/X | T/X | 17 | 11.1 | 0.38 | 2.56 | N/S | 51 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-08 | 408 | 80 | 72 | T/X | T/X | 20 | 13.3 | <0.25 | 3.22 | N/S | 59 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-03-09 | 451 | 104 | 80 | T/X | T/X | 21 | 13.3 | <0.25 | 3.09 | N/S | 66 | N/S | N/S | 16 | N/S | N/S | 0.6 | 79 | <0.002 | 0.048 | <0.002 | 0.014 | 0.059 | 0.79 | 0.003 | 0.053 | T/X | 0.009 | <0.004 | <0.004 | 0.155 | <0.002 | <0.002 | <0.002 | N/S | 0.06 | N/S
2021-03-10 | 431 | 183 | 129 | T/X | T/X | T/X | 13.3 | <0.25 | T/X | N/S | 73 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-11 | 345 | 176 | 122 | T/X | T/X | 30 | 18.4 | <0.25 | 4.55 | N/S | 117 | N/S | 0.006 | N/S | 26 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-12 | 386 | 96 | 78 | T/X | T/X | T/X | 15.4 | <0.25 | T/X | N/S | 114 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-13 | 343 | 100 | 80 | T/X | T/X | 19 | T/X | T/X | 3.24 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-14 | 257 | 122 | 105 | T/X | T/X | 25 | 16.7 | <0.25 | 3.96 | N/S | 103 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-15 | 279 | 105 | 85 | T/X | T/X | T/X | 17.3 | <0.25 | T/X | N/S | 121 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-03-16 | 365 | 140 | 103 | T/X | T/X | 24 | 15.3 | <0.25 | 3.98 | N/S | 165 | N/S | N/S | 19 | N/S | N/S | 0.6 | 69 | 0.002 | 0.055 | <0.002 | 0.008 | 0.061 | 1.06 | 0.006 | 0.063 | T/X | 0.008 | <0.004 | <0.004 | 0.151 | 0.002 | <0.002 | <0.002 | N/S | 0.13 | N/S
2021-03-17 | 451 | 192 | 160 | T/X | T/X | T/X | 16 | <0.25 | T/X | N/S | 210 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-18 | 346 | 472 | 316 | T/X | T/X | 27 | 11.8 | 0.31 | 4.89 | N/S | 204 | N/S | 0.007 | N/S | 13 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-19 | 324 | 142 | 117 | T/X | T/X | T/X | 11.2 | <0.25 | T/X | N/S | 111 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-20 | 407 | 93 | 76 | T/X | T/X | 18 | T/X | T/X | 3 | N/S | 90 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-21 | 387 | 104 | 72 | T/X | T/X | 23 | 14.2 | <0.25 | 3.6 | N/S | 79 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-22 | 279 | 72 | 55 | T/X | T/X | T/X | 17.6 | <0.25 | T/X | N/S | 84 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-03-23 | 344 | 164 | 122 | T/X | T/X | 33 | 24.8 | <0.25 | 5.53 | N/S | 108 | N/S | N/S | 18 | N/S | N/S | 0.7 | 77 | 0.002 | 0.058 | <0.002 | 0.008 | 0.05 | 1.19 | 0.005 | 0.07 | T/X | 0.011 | <0.004 | <0.004 | 0.104 | 0.003 | <0.002 | <0.002 | N/S | 0.1 | N/S
2021-03-24 | 388 | 276 | 172 | T/X | T/X | T/X | 25.5 | <0.25 | T/X | N/S | 153 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-25 | 322 | 237 | 135 | T/X | T/X | 31 | 19.5 | <0.25 | 4.66 | N/S | 112 | N/S | 0.006 | N/S | 12 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-26 | 409 | 214 | 176 | T/X | T/X | T/X | 19 | <0.25 | T/X | N/S | 149 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-27 | 321 | 123 | 107 | T/X | T/X | 32 | T/X | T/X | 5.38 | N/S | 121 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-28 | 389 | 45 | 39 | T/X | T/X | 29 | 23.7 | <0.25 | 4.03 | N/S | 112 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-03-29 | 302 | 330 | 240 | T/X | T/X | T/X | 28.7 | <0.25 | T/X | N/S | 146 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-03-30 | 259 | 265 | 215 | T/X | T/X | 51 | 34.2 | <0.25 | 9.19 | N/S | 253 | N/S | N/S | 17 | N/S | N/S | 0.7 | 80 | 0.003 | 0.071 | <0.002 | 0.015 | 0.071 | 1.61 | 0.008 | 0.11 | T/X | 0.013 | <0.004 | <0.004 | 0.145 | 0.002 | <0.002 | <0.002 | N/S | 0.16 | N/S
2021-03-31 | 259 | 1480 | 1060 | T/X | T/X | T/X | 23 | <0.25 | T/X | N/S | 241 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-01 | 259 | 230 | 144 | T/X | T/X | 41 | 30.9 | <0.25 | 7.18 | N/S | 162 | N/S | 0.007 | N/S | 12 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-02 | 302 | 308 | 224 | T/X | T/X | T/X | 28.4 | <0.25 | T/X | N/S | 175 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-03 | 386 | 175 | 160 | T/X | T/X | 37 | T/X | T/X | 5.74 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-04 | 386 | 170 | 124 | T/X | T/X | 33 | 24 | <0.25 | 4.96 | N/S | 152 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-05 | 259 | 106 | 97 | T/X | T/X | T/X | 17.1 | <0.25 | T/X | N/S | 84 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-04-06 | 257 | 166 | 129 | T/X | T/X | 32 | 22.4 | <0.25 | 4.82 | N/S | 202 | N/S | N/S | 68 | N/S | N/S | 0.7 | 75 | <0.002 | 0.075 | <0.002 | 0.008 | 0.096 | 1.07 | 0.011 | 0.061 | <0.5 | 0.014 | <0.004 | <0.004 | 0.296 | 0.002 | <0.002 | <0.002 | N/S | 0.13 | N/S
2021-04-07 | 257 | 367 | 267 | T/X | T/X | T/X | 29 | <0.25 | T/X | N/S | 220 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-08 | 433 | 600 | 470 | T/X | T/X | 49 | 27.1 | <0.25 | 9.48 | N/S | 539 | N/S | 0.007 | N/S | 26 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-09 | 495 | 550 | 380 | T/X | T/X | T/X | 21.8 | <0.25 | T/X | N/S | 295 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-10 | 388 | 250 | 200 | T/X | T/X | 44 | 29.4 | <0.25 | 7.57 | N/S | 172 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-11 | 302 | 187 | 113 | T/X | T/X | 37 | 21.7 | <0.25 | 7.53 | N/S | 274 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-12 | 346 | 165 | 135 | T/X | T/X | T/X | 16.4 | <0.25 | T/X | N/S | 130 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-04-13 | 194 | 480 | 360 | T/X | T/X | 49 | 26.2 | <0.25 | 11.13 | N/S | 224 | N/S | N/S | 14 | N/S | N/S | 0.7 | 66 | 0.003 | 0.103 | <0.002 | 0.022 | 0.126 | 3.18 | 0.017 | 0.162 | <0.5 | 0.018 | <0.004 | <0.004 | 0.298 | <0.002 | <0.002 | <0.002 | N/S | 0.09 | N/S
2021-04-14 | 194 | 670 | 450 | T/X | T/X | T/X | 30.3 | <0.25 | T/X | N/S | 365 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-15 | 258 | 453 | 327 | T/X | T/X | 56 | 30.5 | <0.25 | 11.44 | N/S | 283 | N/S | 0.008 | N/S | 10 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-16 | 238 | 160 | 132 | T/X | T/X | T/X | 29.8 | <0.25 | T/X | N/S | 158 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-17 | 194 | 233 | 193 | T/X | T/X | 25 | T/X | T/X | 4.36 | N/S | 187 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-18 | 194 | 156 | 124 | T/X | T/X | 38 | 30.8 | <0.25 | 6.56 | N/S | 126 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-19 | 194 | 157 | 123 | T/X | T/X | T/X | 27.8 | <0.25 | T/X | N/S | 109 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-04-20 | 194 | 316 | 260 | T/X | T/X | 35 | 24.7 | <0.25 | 6.46 | N/S | 279 | N/S | N/S | 18 | N/S | N/S | 0.7 | 73 | 0.002 | 0.057 | <0.002 | 0.011 | 0.054 | 1.41 | 0.007 | 0.077 | <0.5 | 0.01 | <0.004 | <0.004 | 0.116 | 0.002 | <0.002 | <0.002 | N/S | 0.16 | N/S
2021-04-21 | 216 | 236 | 140 | T/X | T/X | T/X | 18.8 | <0.25 | T/X | N/S | 139 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-22 | 237 | 236 | 172 | T/X | T/X | 38 | 26.8 | <0.25 | 6.37 | N/S | 196 | N/S | 0.007 | N/S | 31 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-23 | 194 | 355 | 275 | T/X | T/X | T/X | 34.5 | <0.25 | T/X | N/S | 231 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-24 | 194 | 320 | 293 | T/X | T/X | 61 | N/S | N/S | 10.53 | N/S | 244 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-25 | 194 | 280 | 213 | T/X | T/X | 58 | 38.7 | <0.25 | 9.37 | N/S | 189 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-26 | 194 | 340 | 240 | T/X | T/X | T/X | 41 | <0.25 | T/X | N/S | 206 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-04-27 | 190 | 333 | 240 | T/X | T/X | 56 | 37 | <0.25 | 9.42 | N/S | 207 | N/S | N/S | 23 | N/S | N/S | 0.7 | 57 | 0.005 | 0.089 | <0.002 | 0.02 | 0.083 | 2.17 | 0.01 | 0.101 | <0.5 | 0.021 | <0.004 | <0.004 | 0.199 | 0.002 | <0.002 | <0.002 | N/S | 0.11 | N/S
2021-04-28 | 302 | 370 | 255 | T/X | T/X | T/X | 34 | <0.25 | T/X | N/S | 217 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-29 | 259 | 236 | 192 | T/X | T/X | 35 | 25.1 | <0.25 | 6.41 | N/S | 200 | N/S | 0.01 | N/S | 38 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-04-30 | 237 | 313 | 227 | T/X | T/X | T/X | 29.7 | <0.25 | T/X | N/S | 210 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-01 | 260 | 175 | 125 | T/X | T/X | 37 | 27.6 | <0.25 | 6.5 | N/S | 131 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-02 | 300 | 230 | 190 | T/X | T/X | 35 | 24.6 | <0.25 | 6.26 | N/S | 139 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-03 | 388 | 248 | 180 | T/X | T/X | 27 | 13.6 | <0.25 | 4.91 | N/S | 170 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-05-04 | 215 | 340 | 287 | T/X | T/X | 33 | 15 | <0.25 | 7.04 | N/S | 221 | N/S | N/S | 17 | N/S | N/S | 0.7 | 55 | 0.004 | 0.077 | <0.002 | 0.016 | 0.089 | 2.19 | 0.015 | 0.11 | <0.5 | 0.014 | <0.004 | <0.004 | 0.178 | 0.002 | <0.002 | <0.002 | N/S | 0.1 | N/S
2021-05-05 | 194 | 190 | 147 | T/X | T/X | 28 | 16.2 | <0.25 | 4.68 | N/S | 158 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-06 | 257 | 216 | 172 | T/X | T/X | 29 | 14.9 | <0.25 | 5.11 | N/S | 173 | N/S | 0.008 | N/S | 30 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-07 | 259 | 205 | 143 | T/X | T/X | 34 | 23.2 | <0.25 | 6.05 | N/S | 197 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-08 | 324 | 156 | 116 | T/X | T/X | 31 | 18.2 | <0.25 | 4.99 | N/S | 140 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-09 | 516 | 285 | 215 | T/X | T/X | 47 | 11.1 | 0.41 | 9.12 | N/S | 147 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-10 | 345 | 120 | 72 | T/X | T/X | 27 | 18.2 | 0.29 | 4.59 | N/S | 88 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-05-11 | 345 | 116 | 80 | T/X | T/X | 26 | 17.6 | <0.25 | 3.98 | N/S | 99 | N/S | N/S | 19 | N/S | N/S | 0.6 | 59 | 0.003 | 0.045 | <0.002 | 0.006 | 0.031 | 0.91 | 0.005 | 0.054 | <0.5 | 0.008 | <0.004 | <0.004 | 0.069 | 0.002 | <0.002 | <0.002 | N/S | 0.09 | N/S
2021-05-12 | 237 | 180 | 128 | T/X | T/X | 31 | 21.6 | <0.25 | 4.97 | N/S | 113 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-13 | 129 | 265 | 235 | 948 | 352 | 36 | 22.8 | <0.25 | 7.64 | N/S | 196 | N/S | S/X | N/S | S/X | S/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-14 | 257 | 193 | 140 | 880 | 324 | 29 | 18.6 | <0.25 | 5.26 | N/S | 167 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-15 | 259 | 167 | 120 | 836 | 260 | 29 | 18.9 | <0.25 | 4.79 | N/S | 147 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-16 | 259 | 147 | 123 | 840 | 288 | 33 | 26.3 | <0.25 | 5.17 | N/S | 123 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-17 | 194 | 188 | 132 | 884 | 292 | 45 | 32.3 | <0.25 | 7.11 | N/S | 129 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-05-18 | 214 | 220 | 157 | 932 | 364 | 42 | 30 | 0.25 | 6.95 | N/S | 142 | N/S | N/S | 31 | N/S | N/S | 0.8 | 58 | 0.003 | 0.049 | 0.002 | 0.01 | 0.04 | 1.08 | 0.005 | 0.059 | <0.5 | 0.023 | <0.004 | <0.004 | 0.115 | 0.002 | <0.002 | <0.002 | N/S | 0.12 | N/S
2021-05-19 | 259 | 356 | 264 | 1056 | 420 | 38 | 23.8 | <0.25 | 7.32 | N/S | 227 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-20 | 259 | 162 | 128 | 876 | 316 | 36 | 27.1 | <0.25 | 5.85 | N/S | 136 | N/S | 0.008 | N/S | 16 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-21 | 258 | 172 | 124 | 872 | 260 | 46 | 29.4 | <0.25 | 7.52 | N/S | 156 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-22 | 302 | 184 | 140 | 872 | 296 | 38 | 27.1 | <0.25 | 6.43 | N/S | 131 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-23 | 302 | 156 | 132 | 840 | 304 | 36 | 26.1 | <0.25 | 5.86 | N/S | 140 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-24 | 386 | 164 | 136 | 852 | 292 | 34 | 24.7 | <0.25 | 5.57 | N/S | 125 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-05-25 | 237 | 210 | 170 | 880 | 320 | 20 | 28.1 | <0.25 | 3.62 | N/S | 156 | N/S | N/S | 27 | N/S | N/S | 0.8 | 56 | 0.003 | 0.059 | <0.002 | 0.01 | 0.054 | 1.41 | 0.008 | 0.074 | <0.5 | 0.01 | <0.004 | <0.004 | 0.137 | 0.002 | <0.002 | <0.002 | N/S | 0.14 | N/S
2021-05-26 | 229 | 420 | 290 | 1004 | 392 | 43 | 27.9 | <0.25 | 8.76 | N/S | 285 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-27 | 367 | 185 | 120 | 876 | 292 | 37 | 25.9 | 0.29 | 7.17 | N/S | 166 | N/S | 0.006 | N/S | 20 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-28 | 215 | 280 | 217 | 828 | 292 | 47 | 32.7 | <0.25 | 8.56 | N/S | 286 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-29 | 129 | 131 | 109 | 692 | 200 | 36 | 28.5 | 0.81 | 6.16 | N/S | 117 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-30 | 129 | 92 | 74 | 788 | 252 | 31 | 22.9 | <0.25 | 4.72 | N/S | 109 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-05-31 | 172 | 184 | 144 | 760 | 256 | 33 | 25.6 | <0.25 | 5.96 | N/S | 107 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-01 | 172 | 136 | 96 | 820 | 288 | 33 | 26.1 | <0.25 | 5.63 | N/S | 97 | N/S | N/S | 20 | N/S | N/S | 0.7 | 59 | 0.003 | 0.041 | <0.002 | 0.009 | 0.038 | 0.96 | 0.004 | 0.059 | <0.5 | 0.008 | <0.004 | <0.004 | 0.078 | <0.002 | <0.002 | <0.002 | <3 | 0.1 | N/S
2021-06-02 | 129 | 257 | 174 | 936 | 340 | 46 | 33.8 | <0.25 | 8.47 | N/S | 164 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-03 | 152 | 385 | 275 | 1052 | 408 | 52 | 34.2 | <0.25 | 11.06 | N/S | 210 | N/S | 0.005 | N/S | 22 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-04 | 129 | 300 | 244 | 932 | 392 | 60 | 40.1 | <0.25 | 11.26 | N/S | 191 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-05 | 173 | 168 | 140 | 836 | 320 | 52 | 36.4 | <0.25 | 9.4 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-06 | 173 | 264 | 208 | 852 | 344 | 51 | 34.3 | <0.25 | 9.58 | N/S | 155 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-07 | 129 | 400 | 312 | 1032 | 444 | 56 | 38.8 | <0.25 | 12.61 | N/S | 224 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-06-08 | 129 | 630 | 380 | 1280 | 490 | 70 | 44 | <0.25 | 15.77 | N/S | 285 | N/S | N/S | 27 | N/S | N/S | 0.7 | 55 | 0.007 | 0.121 | <0.002 | 0.029 | 0.144 | 3.93 | 0.023 | 0.155 | <0.5 | 0.021 | <0.004 | <0.004 | 0.337 | <0.002 | <0.002 | <0.002 | N/S | 0.09 | N/S
2021-06-09 | 193 | 520 | 356 | 1132 | 504 | 61 | 33.9 | <0.25 | 12.42 | N/S | 290 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-10 | 158 | 312 | 248 | 920 | 372 | 57 | 34.6 | <0.25 | 11.17 | N/S | 213 | N/S | <0.005 | N/S | 16 | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-11 | 88 | 245 | 195 | 884 | 396 | 53 | 33.2 | <0.25 | 9.99 | N/S | 199 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-12 | 237 | 268 | 196 | 744 | 292 | 43 | 25 | <0.25 | 7.39 | N/S | 253 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-13 | 258 | 269 | 183 | 835 | 340 | 36 | 23.8 | <0.25 | 6.79 | N/S | 172 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-14 | 171 | 158 | 110 | 740 | 412 | 46 | 30.4 | <1.00 | 7.7 | N/S | 137 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-06-15 | 129 | 243 | 147 | 852 | 268 | 46 | 28.7 | <0.25 | 6.75 | N/S | 128 | N/S | N/S | 23 | N/S | N/S | 0.7 | 53 | 0.004 | 0.051 | 0.003 | 0.01 | 0.05 | 1.34 | 0.007 | 0.071 | <0.5 | 0.012 | <0.004 | <0.004 | 0.113 | <0.002 | <0.002 | <0.002 | N/S | 0.1 | N/S
2021-06-16 | 365 | 204 | 168 | 848 | 232 | 29 | 18.3 | <0.25 | 5.16 | N/S | 137 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-17 | 151 | 292 | 224 | 940 | 368 | 61 | 40.2 | <0.25 | 10.79 | N/S | 255 | N/S | 0.011 | N/S | 26 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-18 | 322 | 340 | 233 | 864 | 320 | 35 | 22.1 | <0.25 | 6.51 | N/S | 262 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-19 | 281 | 155 | 130 | 744 | 232 | 33 | 23.6 | <0.25 | 5.63 | N/S | 132 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-20 | 215 | 172 | 138 | 724 | 280 | 35 | 27.4 | <0.25 | 6.05 | N/S | 124 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-21 | 64 | 400 | 232 | 952 | 376 | 30 | 41.9 | 1.09 | 5.93 | N/S | 214 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-06-22 | 108 | 232 | 180 | 900 | 308 | 32 | 18.2 | 0.48 | 6.18 | N/S | 145 | N/S | N/S | T/X | N/S | N/S | 0.7 | 51 | 0.004 | 0.056 | <0.002 | 0.014 | 0.068 | 1.73 | 0.012 | 0.078 | <0.5 | 0.012 | <0.004 | <0.004 | 0.141 | <0.002 | <0.002 | <0.002 | N/S | 0.13 | N/S
2021-06-23 | 322 | 157 | 108 | 948 | 372 | 26 | 16.1 | <0.25 | 4.66 | N/S | 137 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-24 | 365 | 198 | 150 | 844 | 316 | 30 | 18.9 | <0.25 | 5.78 | N/S | 151 | N/S | 0.005 | N/S | 17 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-25 | 581 | 223 | 140 | 636 | 244 | 17 | 8.8 | 1.02 | 3.5 | N/S | 109 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-26 | 510 | 222 | 136 | 724 | 244 | 16 | 7.6 | 1.54 | 3.61 | N/S | 102 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-27 | 453 | 164 | 112 | 988 | 332 | 16 | 8.9 | 2.73 | 3.36 | N/S | 79 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-06-28 | 472 | 174 | 126 | 888 | 308 | 17 | 9.6 | 1.3 | 3.54 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | 8 | N/S | N/S
2021-06-29 | 474 | 170 | 110 | 764 | 312 | 17 | 9.2 | 0.8 | 3.44 | N/S | 81 | N/S | N/S | <5 | N/S | N/S | 0.4 | 43 | 0.003 | 0.053 | <0.002 | 0.005 | 0.045 | 1.45 | 0.012 | 0.061 | <0.5 | 0.006 | <0.004 | <0.004 | 0.129 | 0.002 | <0.002 | <0.002 | N/S | 0.06 | N/S
2021-06-30 | 453 | 166 | 104 | 780 | 252 | 16 | 8.8 | 0.76 | 3.24 | N/S | 73 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-01 | 452 | 135 | 95 | 784 | 232 | 17 | 9.5 | 0.89 | 3.32 | N/S | 125 | N/S | <0.005 | N/S | 8 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-02 | 388 | 145 | 98 | 812 | 140 | 20 | 11.4 | 0.74 | 4.17 | N/S | 81 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-03 | 388 | 152 | 112 | 900 | 416 | 21 | 12.8 | 0.32 | 4.45 | N/S | 88 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-04 | 473 | 86 | 74 | 736 | 408 | 15 | 9.9 | 0.81 | 2.82 | N/S | 82 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-05 | 431 | 92 | 78 | 712 | 204 | 18 | 10.9 | 0.73 | 3.27 | N/S | 83 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-06 | 516 | 92 | 74 | 732 | 272 | 19 | 11.4 | <0.25 | 3.33 | N/S | T/X | N/S | N/S | 23 | N/S | N/S | 0.5 | 53 | <0.002 | 0.04 | <0.002 | <0.004 | 0.027 | 0.75 | 0.004 | 0.049 | <0.5 | 0.005 | <0.004 | <0.004 | 0.065 | <0.002 | <0.002 | <0.002 | <3 | 0.16 | N/S
2021-07-07 | 516 | 148 | 84 | 724 | 164 | 22 | 12.1 | <0.25 | 3.92 | N/S | 89 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-08 | 473 | 168 | 132 | 732 | 224 | 24 | 12.9 | 0.51 | 4.45 | N/S | 111 | N/S | 0.007 | N/S | 18 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-09 | 387 | 120 | 102 | 732 | 156 | 25 | 14.7 | <0.25 | 4.31 | N/S | 116 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-10 | 387 | 117 | 100 | 800 | 276 | 26 | 15.4 | 0.32 | 4.19 | N/S | 120 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-11 | 429 | 168 | 140 | 780 | 320 | 26 | 14.9 | <0.25 | 3.96 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-12 | 259 | 79 | 69 | 672 | 220 | 23 | 13.6 | <0.25 | 3.31 | N/S | 82 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-07-13 | 344 | 157 | 109 | 748 | 224 | 25 | 14.2 | 0.45 | 4.13 | N/S | 128 | N/S | N/S | 33 | N/S | N/S | 0.7 | 61 | 0.002 | 0.045 | <0.002 | 0.007 | 0.034 | 1.11 | 0.006 | 0.062 | <0.5 | 0.008 | <0.004 | <0.004 | 0.094 | <0.002 | <0.002 | <0.002 | N/S | 0.09 | N/S
2021-07-14 | 281 | 304 | 212 | 928 | 348 | 36 | 19 | <0.25 | 6.91 | N/S | 195 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-15 | 258 | 348 | 260 | 1016 | 464 | 46 | 26 | <0.25 | 8.54 | N/S | 271 | N/S | 0.008 | N/S | 23 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-16 | 258 | 540 | 425 | 1080 | 552 | 20 | 14.8 | <0.25 | 5.78 | N/S | 318 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-17 | 386 | 387 | 307 | 984 | 448 | 34 | 15.5 | <0.25 | 7.46 | N/S | 251 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-18 | 386 | 275 | 215 | 936 | 372 | 32 | 17.3 | <0.25 | 6.84 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-19 | 388 | 332 | 260 | 992 | 420 | 35 | 17.7 | <0.25 | 7.63 | N/S | 225 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-07-20 | 301 | 340 | 250 | 968 | 420 | 37 | 23.4 | <0.25 | 8.17 | N/S | 265 | N/S | N/S | 52 | N/S | N/S | 0.7 | 56 | 0.003 | 0.082 | <0.002 | 0.014 | 0.104 | 2.41 | 0.012 | 0.124 | <0.5 | 0.013 | <0.004 | <0.004 | 0.187 | 0.002 | <0.002 | <0.002 | N/S | 0.14 | N/S
2021-07-21 | 301 | 315 | 250 | 960 | 408 | 42 | 24.8 | <0.25 | 8.28 | N/S | 229 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-22 | 237 | 270 | 230 | 940 | 404 | 38 | 22.7 | <0.25 | 7.79 | N/S | T/X | N/S | 0.009 | N/S | 20 | 0.009 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-23 | 150 | 490 | 390 | 1160 | 608 | 56 | 32.3 | <0.25 | 11.43 | N/S | 331 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-24 | 323 | 413 | 294 | 1012 | 468 | 42 | 25.5 | <0.25 | 9.01 | N/S | 313 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-25 | 582 | 284 | 208 | 740 | 296 | 21 | 10.9 | <0.25 | 4.17 | N/S | 210 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-26 | 452 | 212 | 144 | 808 | 312 | 28 | 17.2 | <0.25 | 5.81 | N/S | 172 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-07-27 | 343 | 304 | 224 | 952 | 416 | 40 | 22.1 | <0.25 | 8.51 | N/S | 240 | N/S | N/S | 19 | N/S | N/S | 0.7 | 51 | 0.003 | 0.077 | <0.002 | 0.015 | 0.091 | 2.57 | 0.014 | 0.127 | <0.5 | 0.01 | 0.004 | <0.004 | 0.179 | <0.002 | <0.002 | <0.002 | N/S | 0.11 | N/S
2021-07-28 | 258 | 627 | 467 | 1188 | 600 | 50 | 24.5 | <0.25 | 12.67 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-29 | 345 | 192 | 140 | 700 | 268 | 32 | 22.8 | <0.25 | 7.29 | N/S | 163 | N/S | 0.018 | N/S | 19 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-30 | 258 | 513 | 380 | 1076 | 512 | 48 | 26.1 | <0.25 | 11.08 | N/S | 333 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-07-31 | 216 | 330 | 260 | 952 | 412 | 50 | 28.1 | <0.25 | 10.04 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-01 | 195 | 367 | 307 | 920 | 432 | 41 | 22.4 | 0.85 | 9.67 | N/S | 274 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-02 | 302 | 344 | 272 | 856 | 372 | 34 | 18.7 | 0.78 | 8.2 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-08-03 | 258 | 344 | 268 | 880 | 380 | 36 | 23.6 | 1.19 | 8.68 | N/S | 237 | N/S | N/S | 33 | N/S | N/S | 0.7 | 56 | 0.004 | 0.077 | <0.002 | 0.014 | 0.105 | 2.29 | 0.012 | 0.118 | <0.5 | 0.018 | <0.004 | <0.004 | 0.192 | <0.002 | <0.002 | <0.002 | N/S | 0.07 | N/S
2021-08-04 | 301 | 340 | 260 | 868 | 356 | 39 | 22.8 | <0.25 | 9.03 | N/S | 286 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-05 | 356 | 295 | 230 | 868 | 348 | 34 | 21.5 | <0.25 | 7.63 | N/S | T/X | N/S | 0.008 | N/S | 11 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-06 | 344 | 255 | 195 | 985 | 405 | 32 | 17.6 | <0.25 | 6.92 | N/S | 207 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-07 | 300 | 340 | 232 | 1060 | 536 | 32 | 17.9 | <0.25 | 6.45 | N/S | 215 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-08 | 259 | 345 | 275 | 912 | 448 | 35 | 21 | <0.25 | 7.08 | N/S | 218 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-09 | 302 | 448 | 372 | 944 | 440 | 34 | 16.6 | 0.45 | 7.56 | N/S | 274 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-08-10 | 495 | 408 | 316 | 864 | N/S | 31 | 17.4 | 0.56 | 6.91 | N/S | T/X | N/S | N/S | 18 | N/S | N/S | 0.7 | 46 | 0.004 | 0.07 | <0.002 | 0.018 | 0.1 | 2.3 | 0.018 | 0.105 | <0.5 | 0.015 | <0.004 | <0.004 | 0.202 | <0.002 | <0.002 | <0.002 | N/S | 0.08 | N/S
2021-08-11 | 495 | 256 | 180 | 788 | N/S | 27 | 13.5 | <0.25 | 5.87 | N/S | 181 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-12 | 452 | 292 | 212 | T/X | T/X | 36 | 19.1 | <0.25 | 7.11 | N/S | 226 | N/S | 0.013 | N/S | 15 | 0.006 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-13 | 409 | 340 | 245 | 920 | N/S | 40 | 21.6 | <0.25 | 8.33 | N/S | 268 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-14 | 388 | 212 | 176 | 824 | N/S | 42 | 22.7 | <0.25 | 7.67 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-15 | 344 | 295 | 230 | 832 | N/S | 42 | 22.3 | <0.25 | 8.07 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-16 | 260 | 530 | 380 | N/S | N/S | 56 | 29 | <0.25 | 12.96 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-08-17 | 213 | 570 | 520 | N/S | N/S | 67 | 37.8 | <0.25 | 16.4 | N/S | T/X | N/S | N/S | 17 | N/S | N/S | 0.7 | 49 | 0.006 | 0.119 | <0.002 | 0.036 | 0.158 | 3.95 | 0.024 | 0.213 | <0.5 | 0.021 | <0.004 | <0.004 | 0.279 | 0.002 | <0.002 | <0.002 | N/S | 0.09 | N/S
2021-08-18 | 257 | 415 | 320 | N/S | N/S | 51 | 26.7 | <0.25 | 11.22 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-19 | 344 | 295 | 225 | N/S | N/S | 35 | 17.4 | <0.25 | 7.38 | N/S | 219 | N/S | 0.009 | N/S | 23 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-20 | 257 | 327 | 253 | N/S | N/S | 45 | 26.1 | <0.25 | 10.36 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-21 | 387 | 228 | 156 | N/S | N/S | 33 | 18.8 | <0.25 | 6.35 | N/S | 213 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-22 | 387 | 335 | 250 | N/S | N/S | 43 | 24 | <0.25 | 9.45 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-23 | 216 | 330 | 265 | N/S | N/S | 57 | 45.3 | <0.25 | 14.48 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-08-24 | 129 | 450 | 315 | N/S | N/S | 67 | 46.8 | <0.25 | 18.38 | N/S | 424 | N/S | N/S | 17 | N/S | N/S | 0.6 | 48 | 0.005 | 0.091 | <0.002 | 0.019 | 0.094 | 2.98 | 0.019 | 0.159 | <0.5 | 0.022 | <0.004 | <0.004 | 0.218 | 0.002 | <0.002 | <0.002 | N/S | 0.09 | N/S
2021-08-25 | 322 | 295 | 200 | N/S | N/S | 28 | 12.8 | <0.25 | 6.62 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-26 | 453 | 240 | 177 | N/S | N/S | 25 | 12.4 | <0.25 | 5.49 | N/S | 198 | N/S | 0.006 | N/S | 11 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-27 | 451 | 245 | 150 | N/S | N/S | 30 | 15 | <0.25 | 6.52 | N/S | 209 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-28 | 451 | 190 | 160 | N/S | N/S | 30 | 15.9 | <0.25 | 6.51 | N/S | 209 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-29 | 473 | 245 | 175 | N/S | N/S | 27 | 14.2 | <0.25 | 5.84 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-08-30 | 259 | 360 | 260 | N/S | N/S | 44 | 23.9 | <0.25 | 10.25 | N/S | 283 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-08-31 | 344 | 380 | 270 | N/S | N/S | 39 | 18.6 | 1.24 | 9.04 | N/S | T/X | N/S | N/S | 138 | N/S | N/S | 0.7 | 54 | 0.005 | 0.079 | <0.002 | 0.028 | 0.086 | 2.51 | 0.016 | 0.134 | <0.5 | 0.013 | <0.004 | <0.004 | 0.187 | 0.002 | <0.002 | <0.002 | N/S | 0.07 | N/S
2021-09-01 | 300 | 380 | 285 | N/S | N/S | 43 | 22 | <0.25 | 9.46 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-02 | 258 | 390 | 300 | N/S | N/S | 49 | 27.3 | <0.25 | 11.56 | N/S | T/X | N/S | 0.011 | N/S | 10 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-03 | 256 | 280 | 227 | N/S | N/S | 45 | 26.8 | <0.25 | 10.62 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-04 | 257 | 420 | 350 | N/S | N/S | 50 | 26.8 | <0.25 | 11.94 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-05 | 236 | 157 | 135 | N/S | N/S | 32 | 23.4 | <0.25 | 7.03 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-06 | 172 | 472 | 376 | N/S | N/S | 57 | 33.2 | <0.25 | 14.64 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-07 | 238 | 412 | 304 | N/S | N/S | 48 | 29.4 | <0.25 | 12.15 | N/S | T/X | N/S | N/S | 37 | N/S | N/S | 0.7 | 46 | 0.004 | 0.099 | <0.002 | 0.016 | 0.138 | 2.9 | 0.017 | 0.155 | <0.5 | 0.015 | <0.004 | <0.004 | 0.255 | <0.002 | <0.002 | <0.002 | <3 | 0.09 | N/S
2021-09-08 | 195 | 544 | 408 | N/S | N/S | 48 | 28.4 | <0.25 | 12.65 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-09 | 216 | 488 | 372 | N/S | N/S | 53 | 28.7 | <0.25 | 12.43 | N/S | T/X | N/S | 0.005 | N/S | 8 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-10 | 254 | 400 | 300 | N/S | N/S | 46 | 23.3 | <0.25 | 9.9 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-11 | 256 | 273 | 233 | N/S | N/S | 38 | 24.9 | <0.25 | 8.82 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-12 | 214 | 275 | 215 | N/S | N/S | 44 | 28.5 | <0.25 | 9.95 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-13 | 257 | 400 | 300 | N/S | N/S | 38 | 25.3 | <0.25 | 9.33 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-09-14 | 192 | 170 | 130 | N/S | N/S | 34 | 26.7 | 0.35 | 7.35 | N/S | 153 | N/S | N/S | 48 | N/S | N/S | 0.8 | 44 | 0.003 | 0.045 | <0.002 | 0.012 | 0.054 | 1.25 | 0.008 | 0.071 | <0.5 | 0.009 | <0.004 | <0.004 | 0.107 | <0.002 | <0.002 | <0.002 | N/S | 0.09 | N/S
2021-09-15 | 206 | 168 | 140 | N/S | N/S | 34 | 24 | <0.25 | 7.43 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-16 | 258 | 127 | 110 | N/S | N/S | 30 | 22.2 | <0.25 | 5.89 | N/S | 121 | N/S | 0.007 | N/S | 25 | 0.007 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-17 | 254 | 140 | 112 | N/S | N/S | 36 | 25.3 | <0.25 | 7.2 | N/S | 153 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-18 | 257 | 325 | 260 | N/S | N/S | 36 | 23.2 | <0.25 | 7.75 | N/S | 163 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-19 | 258 | 240 | 180 | N/S | N/S | 33 | 23.8 | <0.25 | 6.3 | N/S | 151 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-20 | 257 | 244 | 184 | N/S | N/S | 42 | 26.1 | <0.25 | 8.15 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-09-21 | 429 | 240 | 188 | N/S | N/S | 32 | 17.3 | <0.25 | 6.23 | N/S | 173 | N/S | N/S | 31 | N/S | N/S | 0.7 | 42 | 0.002 | 0.051 | <0.002 | 0.015 | 0.072 | 1.85 | 0.015 | 0.066 | <0.5 | 0.014 | <0.004 | <0.004 | 0.175 | 0.002 | <0.002 | <0.002 | N/S | 0.15 | N/S
2021-09-22 | 255 | 550 | 420 | N/S | N/S | 42 | 21.5 | <0.25 | 10.34 | N/S | 308 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-23 | 129 | 730 | 500 | N/S | N/S | 85 | 42.9 | <0.25 | 18 | N/S | 912 | N/S | 0.007 | N/S | 7 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-24 | 129 | 640 | 440 | N/S | N/S | 78 | 41.7 | <0.25 | 16.08 | N/S | T/X | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-25 | 258 | 380 | 310 | N/S | N/S | 51 | 26.2 | <0.25 | 9.61 | N/S | 311 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-26 | 131 | 420 | 440 | N/S | N/S | 68 | 36.6 | <0.25 | 13.32 | N/S | 430 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-27 | 131 | 307 | 153 | N/S | N/S | 56 | 37 | <0.25 | 10.68 | N/S | 225 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | <3 | N/S | N/S
2021-09-28 | 130 | 572 | 396 | N/S | N/S | 61 | 33.1 | <0.25 | 12.29 | N/S | T/X | N/S | N/S | 32 | N/S | N/S | 0.7 | 44 | 0.006 | 0.099 | <0.002 | 0.017 | 0.141 | 4.03 | 0.018 | 0.177 | <0.5 | 0.019 | <0.004 | <0.004 | 0.267 | <0.002 | <0.002 | <0.002 | N/S | 0.16 | N/S
2021-09-29 | 172 | 390 | 300 | N/S | N/S | 65 | 36.7 | <0.25 | 12.71 | N/S | 340 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
2021-09-30 | 195 | 293 | 240 | N/S | N/S | 65 | 42.3 | <0.25 | 14.17 | N/S | 285 | N/S | 0.005 | N/S | 18 | <0.005 | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S | N/S
RL effective 1/1/21 |  | 4 | 4 | 25 |  | 1 | 0.3 | 0.25 | 0.15 | 0.15 | 2 | 2 | 0.005 | 5 | 5 | 0.005 | 0.1 | 1 | 0.001 | 0.001 | 0.001 | 0.002 | 0.001 | 0.01 | 0.001 | 0.001 | 0.5 | 0.001 | 0.002 | 0.002 | 0.005 | 0.001 | 0.001 | 0.001 | 3 | 0.01 | 5
Observations | 273 | 273 | 273 | 94 | 89 | 217 | 252 | 252 | 217 | 0 | 232 | 0 | 38 | 38 | 38 | 37 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 26 | 39 | 39 | 39 | 39 | 39 | 39 | 39 | 38 | 39 | 0
Minimum | 64 | 45 | 39 | 636 | 140 | 11 | 7.6 | <0.25 | 2.23 |  | 51 |  | <0.005 | <5 | 6 | <0.005 | 0.4 | 42 | <0.002 | 0.04 | <0.002 | <0.003 | 0.027 | 0.75 | 0.003 | 0.049 | <0.5 | 0.005 | <0.004 | <0.004 | 0.065 | <0.002 | <0.002 | <0.002 | <3 | 0.03
Mean | 302 | 256 | 194 | 880 | 344 | 37 | 22.8 | <0.28 | 7.16 |  | 183 |  | <0.008 | <26 | 18 | <0.004 | 0.7 | 61 | <0.003 | 0.067 | <0.002 | <0.016 | 0.072 | 1.78 | 0.01 | 0.094 | <0.4 | 0.013 | <0.003 | <0.003 | 0.156 | <0.002 | <0.001 | <0.001 | <2 | 0.11
Maximum | 582 | 1480 | 1060 | 1280 | 608 | 85 | 46.8 | 2.73 | 18.38 |  | 912 |  | 0.018 | 138 | 38 | 0.009 | 0.8 | 86 | 0.007 | 0.121 | 0.003 | 0.036 | 0.158 | 4.03 | 0.024 | 0.213 | <0.5 | 0.024 | 0.004 | <0.004 | 0.337 | 0.003 | <0.002 | <0.002 | 8 | 0.16
*Effective 1/1/21, means are no longer calculated using the Reporting Limit value in place of non-detect/<LOQ results and are now calculated by replacing any non-detect/<LOQ results with the Reporting Limit/(SQRT2).
February 5, 2021, NH3, T/X: Duplicate failure.
February 16, 2021, CR6+, T/X: LCS failure.
March 13, 2021, BOD, T/X: Dilution water blank failure.
January-March 2021, TKN, NH3, NO2+NO3, P-TOT, ALL OTHER T/X: Minimal staffing due to COVID-19.
January-March 2021, Hg, T/X: Digestion thermometer not calibrated.
April 3, 2021, BOD5, T/X: LCS failure.
April 3, 17, 2021, NH3, NO2+NO3, T/X: Minimal staffing due to COVID-19.
April 16, 18, 2021, NH3: Sample MS recovery failed but LCS passed.
April 2021, TKN, TOT-P, T/X: Minimum staffing due to COVID-19.
January-May 12, 2021, TS, TSV, T/X: Minimal staffing due to COVID-19.
May 13, 2021, CN, CN-AM, FOG, S/X: West side pumps out of service.
June 5, 2021, BOD5, T/X: None of the dilutions met acceptance criteria.
June 10, 2021, CN, T/X: Instrument out of service.
June 22, 2021, PHENOL, T/X: Process or sampling point out of service.
June 28, 2021, BOD5, T/X: Dilution water blank failure.
July 6, 2021, BOD5, T/X: Blank failure.
July 11, 18, 22, 28, 31, 2021, BOD5, T/X: LCS failure.
August 2, 10, 15, 17, 18, 20, 22, 23, 29, 31, 2021, BOD5, T/X: LCS failure.
August 5, 14, 16, 25, 2021, BOD5, T/X: Blank failure.
August 12, 2021, TS, TVS, T/X: Test assigned by mistake.
September 1-12, 15, 20, 24, 28, 2021, BOD5, T/X: LCS failure.
September 7, 2021, Hg: Spike not added correctly, but LCS passed.
September 13, 2021, BOD5, T/X: Blank failure.